## Low PF
MIS Report of Distribution Transformer - Jun19
Jun19 ALL (Complete Report)
Sn. | Study Period |  | Division Name | Zone | Div Code | Sap Code | Sap Function Code | DT Name | DT Code | Meter Serial No. | KVA Rating | MF | VOLTAGE | POWER FACTOR | Peak Loading Conditions | [8 empty] | Reactive Demand (KVAR) |  | Highest Phase Current |  | % Relative Phase Unbalance |  |  | %Unbalance | % Voltage Unbalance (%Time of total study period) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) | [5 empty] | LF | UF
[15 empty] | Peak KVA | R Phase |  | Y Phase |  | B Phase |  | Neutral Current (AMP) | Date and Time
[16 empty] | KVA | I (AMP) | KVA | I (AMP) | KVA | I (AMP) |  |  | MAX | MIN | Current(AMP) | Phase | R-Ph | Y-Ph | B-Ph | {I(Max)-I(Min)} / I(Average) | >3% | <=3% and >2% | <=2% and >1% | <=1% | < 20% |  |  |  | 20%-40% |  |  |  | 40%-80% |  |  |  | 80%-100% |  |  |  | >100% |  |  |  | ON ( in HH:MI) | OFF ( in HH:MI)
[36 empty] | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer
13 | 2019-06-01 | 2019-06-30 23:30 | CHANDNI CHOWK | HAMILTON ROAD | 1110 | HAM012 | 1S-DL-YP-CTC-DCCK-0105-HAM012 | VALLO DRUM | TG-HAM012A-1 | 19504799 | 100 | 40 | 238 | 0.73 | 61 | 20 | 82 | 25 | 107 | 16 | 66 | 35 | 2019-06-16 05:30 | 47.9 | -0.1 | 114 | Y | 85 | 139 | 76 | 63 | 0.3 | 17.5 | 32.2 | 50.1 | 360.41 | 353.41 | 358.11 | 356.11 | 212.21 | 4.3 | 4.3 | 79.21 | 145.58 | 360.49 | 83.3 | 283.28 | [8 empty] | 719 | 1 | 0.4 | 0.61
198 | 2019-06-01 | 2019-06-30 23:30 | DARYA GANG | DARYAGANJ | 1120 | DRY077 | 1S-DL-YP-CTC-DDRG-0102-DRY077 | S/STN NO-1 VELODROME ROAD | TG-DRY077A-1 | 19506628 | 100 | 40 | 249 | 0.71 | 16 | 0 | 0 | 7 | 30 | 8 | 32 | 31 | 2019-06-01 19:00 | 7.4 | -6 | 32 | Y | 5 | 121 | 174 | 169 |  |  | 2.5 | 97.5 | 704.33 | 695.33 | 671.03 | 704.33 |  | 9 | 9 | [13 empty] | 704.33 | 15.27 | 0.19 | 0.16
199 | 2019-06-01 | 2019-06-30 23:30 | DARYA GANG | DARYAGANJ | 1120 | DRY078 | 1S-DL-YP-CTC-DDRG-0102-DRY078 | S/STN NO-2 VELODROME ROAD | TG-DRY078A-1 | 19506859 | 100 | 40 | 247 | 0.73 | 56 | 28 | 113 | 27 | 109 | 0 | 0 | 111 | 2019-06-24 19:00 | 50.4 | 0 | 116 | Y | 142 | 158 | 0 | 158 |  | 0.2 | 43.5 | 56.2 | 396.14 | 390.14 | 706.14 | 390.14 | 0.3 |  |  | 240.3 | 308 | 313.3 |  | 75.3 | 1.3 | 2.3 | [6 empty] | 706.14 | 13.46 | 0.31 | 0.56
202 | 2019-06-01 | 2019-06-30 23:30 | DARYA GANG | DARYAGANJ | 1120 | DRY083 | 1S-DL-YP-CTC-DDRG-0102-DRY083 | ROSE BIRD-II | TG-DRY083A-1 | 19504690 | 100 | 40 | 245 | 0.71 | 83 | 28 | 115 | 29 | 118 | 25 | 102 | 15 | 2019-06-06 19:00 | 74.6 | -0.1 | 124 | Y | 100 | 116 | 84 | 32 |  |  | 2.1 | 97.9 | 401.11 | 401.11 | 402.11 | 401.11 | 1 | 1 | 1 | 1 | 311.56 | 304.56 | 286.56 | 314.26 | 4 | 11 |  | 1.3 |  |  |  |  | 718.07 | 1.53 | 0.28 | 0.83
314 | 2019-06-01 | 2019-06-30 23:30 | DARYA GANG | MINTO ROAD | 1120 | MRD024 | 1S-DL-YP-CTC-DDRG-0107-MRD024 | RAJENDRA BHAWAN:ID | TG-MRD024A-1 | 19501682 | 990 | 320 | 243 | 0.8 | 150 | 43 | 180 | 52 | 217 | 55 | 227 | 43 | 2019-06-17 16:00 | 33.1 | -27.2 | 227 | B | 87 | 106 | 106 | 19 |  | 0.1 |  | 99.9 | 719.29 | 719.29 | 719.29 | 719.29 | [16 empty] | 719.29 | 0.31 | 0.33 | 0.15
734 | 2019-06-01 | 2019-06-30 23:30 | SHANKAR ROAD | R BLOCK NEW RAJENDER NAGAR | 1140 | RJN069 | 1S-DL-YP-CTC-DSRD-1403-RJN069 | ST LT NO. 2 (WATER TANK):PM | TG-RJN069A-1 | 19506748 | 100 | 40 | 243 | 0.83 | 81 | 20 | 82 | 33 | 139 | 28 | 118 | 51 | 2019-06-27 19:30 | 61.6 | -2.4 | 139 | Y | 68 | 114 | 117 | 49 |  | 0.7 | 45.2 | 54.1 | 406.48 | 406.18 | 407.51 | 407.18 | 294.51 | 3.56 | 3.56 | 58.26 | 5.12 | 293.55 | 298.25 | 240.55 |  | 2.42 | 0.12 | 0.12 |  |  |  |  | 706.51 | 13.09 | 0.29 | 0.81
919 | 2019-06-01 | 2019-06-30 23:30 | PATEL NAGAR | SARAI ROHILLA | 1141 | PNR098 | 1S-DL-YP-CTC-DPNR-1451-PNR098 | DOOGARMAL G. NO. 6/7 A. PBT.:PL | TG-PNR098A-1 | 19502851 | 990 | 320 | 250 | 0.71 | 640 | 206 | 867 | 225 | 938 | 209 | 879 | 65 | 2019-06-29 14:30 | -13.2 | -257.6 | 938 | Y | 99 | 98 | 103 | 5 |  |  | 21.5 | 78.5 | 143 | 308.3 | 192.3 | 233.3 | 364 | 158 | 158 | 248.3 | 210.3 | 251 | 245.3 | 235.3 | [8 empty] | 717.3 | 2.3 | 0.48 | 0.65
942 | 2019-06-01 | 2019-06-30 23:30 | PATEL NAGAR | SARAI ROHILLA | 1141 | PNR119 | 1S-DL-YP-CTC-DPNR-1451-PNR119 | GALI NO.5 K.PAHAR:PL | TG-PNR119A-1 | 19502595 | 990 | 320 | 243 | 0.84 | 314 | 115 | 482 | 99 | 413 | 100 | 416 | 68 | 2019-06-15 16:00 | 18.4 | -96.4 | 484 | R | 105 | 96 | 100 | 9 |  |  | 4.9 | 95.1 | 423.23 | 448.23 | 428.23 | 430.53 | 296 | 271 | 271 | 288.3 | [12 empty] | 719.23 | 0.37 | 0.52 | 0.32
956 | 2019-06-01 | 2019-06-30 23:30 | PATEL NAGAR | SARAI ROHILLA | 1141 | PNR139 | 1S-DL-YP-CTC-DPNR-1451-PNR139 | POST OFFICE P/M GALI NO-2 | TG-PNR139A-1 | 19502809 | 400 | 120 | 243 | 0.84 | 335 | 120 | 524 | 111 | 477 | 103 | 442 | 71 | 2019-06-26 16:00 | 11.6 | -107.9 | 541 | R | 102 | 105 | 93 | 12 | 0.8 | 9.5 | 54.5 | 35.2 | 241.04 | 63 | 262.34 | 183.34 | 180.3 | 347.04 | 347.04 | 238.3 | 232.24 | 294.48 | 284.18 | 282.18 | 63.54 | 13 | 0.3 | 13.3 |  |  |  |  | 717.52 | 2.08 | 0.48 | 0.84
1236 | 2019-06-01 | 2019-06-30 23:30 | KARKARDOOMA | SAINI ENCLAVE | 1210 | VNG139 | 1S-DL-YP-ETC-DJLM-2201-VNG139 | H BLK CBD GROUND I/D | TG-VNG139A-1 | 19503697 | 400 | 120 | 245 | 0.8 | 19 | 18 | 71 | 1 | 3 | 0 | 0 | 69 | 2019-06-03 19:00 | 12.7 | 0.3 | 71 | R | 262 | 38 | 0 | 262 | 0.1 | 0.3 | 42.1 | 57.6 | 571.21 | 571.21 | 571.21 | 571.21 | [16 empty] | 571.21 | 4.39 | 0.34 | 0.05
1281 | 2019-06-01 | 2019-06-30 23:30 | GT ROAD | E&F DILSHAD GARDEN | 1211 | DGN076 | 1S-DL-YP-ETC-DDGN-2251-DGN076 | SSR MILL:ID | TG-DGN076A-2 | 19505064 | 630 | 200 | 249 | 0.63 | 498 | 162 | 652 | 172 | 687 | 164 | 657 | 33 | 2019-06-30 12:00 | -0.9 | -215.7 | 687 | Y | 96 | 102 | 102 | 6 |  |  | 0.3 | 99.7 | 324.2 | 305.5 | 307.5 | 313.2 | 128.23 | 137.23 | 137.23 | 132.23 | 266.57 | 275.57 | 275.57 | 273.57 |  | 0.3 | [6 empty] | 719.4 | 0.2 | 0.41 | 0.79
1282 | 2019-06-01 | 2019-06-30 23:30 | GT ROAD | E&F DILSHAD GARDEN | 1211 | DGN077 | 1S-DL-YP-ETC-DDGN-2251-DGN077 | SANSAR:K | TG-DGN077A-1 | 19500679 | 990 | 320 | 241 | 0.76 | 803 | 269 | 1113 | 273 | 1126 | 262 | 1081 | 40 | 2019-06-28 11:00 | 5.2 | -244.4 | 1139 | Y | 100 | 103 | 96 | 7 |  |  | 0.4 | 99.6 | 77.3 | 68.3 | 83 | 76 | 75 | 83 | 83 | 78 | 119.3 | 119 | 117 | 117.3 | 0.3 | 2 |  | 1 |  |  |  |  | 719.33 | 0.27 | 0.49 | 0.81
1368 | 2019-06-01 | 2019-06-30 23:30 | GT ROAD | E&F DILSHAD GARDEN | 1211 | DGN122 | 1S-DL-YP-ETC-DDGN-2251-DGN122 | B-BLK DSIDC SHED JLM IA NO-1:ID | TG-DGN122A-2 | 19501374 | 990 | 320 | 243 | 0.84 | 495 | 165 | 683 | 160 | 661 | 169 | 692 | 27 | 2019-06-29 12:30 | 54.5 | -160.4 | 725 | B | 97 | 100 | 102 | 5 |  |  | 18.3 | 81.7 | 393.11 | 394.11 | 375.11 | 382.41 | 268.53 | 260.28 | 260.28 | 262.58 | 57.24 | 64.49 | 99.49 | 73.49 | [8 empty] | 719.28 | 0.32 | 0.47 | 0.5
38 | 2019-06-01 | 2019-06-30 23:30 | GT ROAD | GT ROAD SHAHDRA | 1211 | DGN110 | 1S-DL-YP-ETC-DDGN-2251-DGN110 | VERMA CASTLE:PL | TG-DGN110A-4 | 19506339 | 630 | 200 | 237.9138 | 0.80146 | 700.3905 | 232.099 | 966.9584 | 243.274 | 1008.6405 | 225.0174 | 926.6077 | 71.0456 | 2019-06-03 10:30 | [15 empty] | 242.5 |  |  |  | 244 |  |  |  | 214.5 |  |  |  | 6.5 |  |  |  | 1 | 708.5 |  | 0.27238 | 1.1117
1494 | 2019-06-01 | 2019-06-30 23:30 | GT ROAD | GT ROAD SHAHDRA | 1211 | DGN127 | 1S-DL-YP-ETC-DDGN-2251-DGN127 | GALI NO.1B FRIENDS COLONY:PL | TG-DGN127A-4 | 19506340 | 630 | 200 | 244 | 0.5 | 448 | 149 | 632 | 144 | 607 | 154 | 646 | 35 | 2019-06-21 15:00 | 259.4 | -97.2 | 646 | B | 100 | 99 | 101 | 2 |  | 0.1 | 1.1 | 98.9 | 313.45 | 314.15 | 316.15 | 314.15 | 276.21 | 296.2 | 296.2 | 283.21 | 120.25 | 99.56 | 122.54 | 112.55 | [8 empty] | 710.31 | 9.29 | 0.34 | 0.71
1496 | 2019-06-01 | 2019-06-30 23:30 | GT ROAD | GT ROAD SHAHDRA | 1211 | DGN129 | 1S-DL-YP-ETC-DDGN-2251-DGN129 | FRIENDS COLONY GALI NO-5-6 NEAR RLY.LINE:PM | TG-DGN129A-1 | 19504943 | 990 | 320 | 253 | 0.74 | 708 | 234 | 981 | 240 | 1006 | 233 | 980 | 26 | 2019-06-13 11:00 | 15.5 | -237 | 1006 | Y | 101 | 101 | 97 | 4 |  |  |  | 100 | 368 | 374.3 | 384.32 | 378.29 | 116.09 | 102.52 | 102.52 | 106.15 | 233.23 | 240.1 | 225.01 | 232.48 | [8 empty] | 717.32 | 2.28 | 0.4 | 0.71
1507 | 2019-06-01 | 2019-06-30 23:30 | GT ROAD | GT ROAD SHAHDRA | 1211 | DGN186 | 1S-DL-YP-ETC-DDGN-2251-DGN186 | METRO STATION, SHAHDARA:PL | TG-DGN186A-2 | 19502940 | 630 | 200 | 242 | 0.5 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 2 | 2019-06-30 19:00 |  |  | 2 | Y | 0 | 300 | 0 | 300 | 0.1 | 0.1 | 26.1 | 73.8 | 718.06 | 718.06 | 718.06 | 718.06 | [16 empty] | 718.06 | 1.54 | 0.31 | 0
1772 | 2019-06-01 | 2019-06-30 23:30 | KRISHNA NAGAR | GEETA COLONY | 1220 | GCL042 | 1S-DL-YP-ETC-DKRN-2103-GCL042 | SWARG ASHARM:PM | TG-GCL042A-1 | 19505737 | 100 | 40 | 243 | 0.76 | 78 | 20 | 82 | 31 | 130 | 27 | 112 | 42 | 2019-06-03 19:00 | 9.6 | -24 | 137 | Y | 70 | 135 | 95 | 65 | 0.4 | 0.6 | 34.1 | 64.9 | 394.54 | 385.25 | 384.54 | 384.55 | 166.3 | 20.3 | 20.3 | 37.29 | 144 | 134.29 | 286.3 | 283.3 | 0.3 | 165.3 | 2 | [5 empty] | 705.54 | 14.06 | 0.33 | 0.78
1882 | 2019-06-01 | 2019-06-30 23:30 | LAXMI NAGAR | ANAND VIHAR ISBT | 1230 | LGR075 | 1S-DL-YP-ETC-DLNR-2501-LGR075 | DP ANAND VIHAR:PM | TG-LGR075A-1 | 19505783 | 100 | 40 | 249 | 0.74 | 78 | 16 | 67 | 15 | 61 | 47 | 193 | 130 | 2019-06-21 23:00 | 63.3 | 0 | 193 | B | 107 | 100 | 93 | 14 |  | 0.2 | 41 | 58.8 | 410.25 | 410.25 | 409.55 | 410.25 |  | 52.3 | 52.3 | 19 | 298.27 | 244.27 | 107.3 | 279.27 |  | 1.3 | 0.3 |  |  |  | 0.3 |  | 708.52 | 11.08 | 0.26 | 0.78
2090 | 2019-06-01 | 2019-06-30 23:30 | LAXMI NAGAR | ANAND VIHAR ISBT | 1230 | PVR030 | 1S-DL-YP-ETC-DLNR-2502-PVR030 | S/STN. NO.5 F.I.E., PPG:ID | TG-PVR030A-1 | 19500815 | 630 | 200 | 250 | 0.72 | 134 | 50 | 203 | 59 | 242 | 26 | 108 | 119 | 2019-06-27 11:30 | 34.5 | -46.9 | 250 | Y | 111 | 111 | 78 | 33 |  | 0.1 | 12.8 | 87.2 | 677.21 | 585.51 | 719.51 | 705.21 | 42.3 | 134 | 134 | 14.3 | [12 empty] | 719.51 | 0.09 | 0.43 | 0.21
2100 | 2019-06-01 | 2019-06-30 23:30 | LAXMI NAGAR | ANAND VIHAR ISBT | 1230 | PVR037 | 1S-DL-YP-ETC-DLNR-2502-PVR037 | S/STN. NO.12 F.I.E., PPG:ID | TG-PVR037A-2 | 19505476 | 990 | 320 | 251 | 0.78 | 427 | 158 | 630 | 135 | 538 | 135 | 536 | 93 | 2019-06-27 12:00 | 67.5 | -116.2 | 649 | R | 107 | 98 | 95 | 12 | 0.1 | 0.1 | 6.9 | 92.9 | 466.22 | 482.22 | 477.52 | 475.52 | 159 | 218.59 | 218.59 | 218.59 | 87.29 | 11.3 | 5 | 18 | [8 empty] | 712.51 | 7.09 | 0.43 | 0.43
2451 | 2019-06-01 | 2019-06-30 23:30 | LAXMI NAGAR | PREET VIHAR | 1230 | PVR078 | 1S-DL-YP-ETC-DLNR-2502-PVR078 | SAGAR PLAZA D.C. LNR | TG-PVR078A-1 | 19504512 | 400 | 120 | 245 | 0.81 | 78 | 19 | 82 | 29 | 124 | 29 | 124 | 42 | 2019-06-06 14:30 | 14.6 | -11.6 | 160 | Y | 103 | 119 | 77 | 42 |  |  |  | 100 | 718.47 | 676.17 | 719.17 | 719.47 | 1 | 43.3 | 43.3 | [13 empty] | 719.47 | 0.13 | 0.35 | 0.19
2585 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR I & II | SADAR APPARTMENTS | 1240 | MV1027 | 1S-DL-YP-ETC-DMVR-2301-MV1027 | DDA PUMP HOUSE PKT-IV MVR PH-1:PM | TG-MV1027A-1 | 19502574 | 400 | 120 | 237 | 0.61 | 61 | 20 | 82 | 22 | 90 | 19 | 79 | 10 | 2019-06-29 19:30 | 56.3 | -42.2 | 90 | Y | 99 | 103 | 99 | 4 |  | 0.1 | 0.7 | 99.2 | 717.55 | 717.55 | 717.55 | 717.55 | [16 empty] | 717.55 | 2.05 | 0.21 | 0.15
2660 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR I & II | SADAR APPARTMENTS | 1240 | MV1088 | 1S-DL-YP-ETC-DMVR-2301-MV1088 | D.P. NO 1 NOIDA RD:PL | TG-MV1088A-1 | 19505815 | 100 | 40 | 246 | 0.78 | 60 | 14 | 57 | 31 | 128 | 14 | 58 | 70 | 2019-06-26 19:30 | 55.2 | -0.1 | 131 | Y | 67 | 169 | 64 | 105 |  | 1.7 | 46.1 | 52.2 | 467.45 | 402.15 | 415.15 | 402.15 | 232.49 |  |  | 275.19 | 4.28 | 286.49 | 8.3 | 27.28 |  | 15.58 | [6 empty] | 705.02 | 14.58 | 0.29 | 0.6
2662 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR I & II | SADAR APPARTMENTS | 1240 | MV1090 | 1S-DL-YP-ETC-DMVR-2301-MV1090 | D.P. NO 3 NOIDA RD:PM | TG-MV1090A-1 | 19504654 | 400 | 120 | 245 | 0.76 | 129 | 42 | 168 | 56 | 228 | 32 | 127 | 88 | 2019-06-06 19:00 | 106.3 | 0.3 | 228 | Y | 88 | 142 | 70 | 72 |  | 4.7 | 74.2 | 21.2 | 513.45 | 421.45 | 706.45 | 426.15 | 206 | 296.3 | 296.3 | 293.3 |  | 1.3 | [10 empty] | 719.45 | 0.15 | 0.32 | 0.32
2663 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR I & II | SADAR APPARTMENTS | 1240 | MV1091 | 1S-DL-YP-ETC-DMVR-2301-MV1091 | D.P. NO 4 NOIDA RD:PL | TG-MV1091A-1 | 19505529 | 100 | 40 | 245 | 0.8 | 78 | 20 | 81 | 31 | 127 | 27 | 111 | 41 | 2019-06-06 19:30 | 69 | -1.2 | 129 | Y | 85 | 118 | 97 | 33 | 5.3 | 8.3 | 41.7 | 44.7 | 397.18 | 410.15 | 409.15 | 410.15 | 267.27 |  |  |  | 46.3 | 287 | 294.3 | 301 |  | 14 | 6.3 | [5 empty] | 711.15 | 8.45 | 0.31 | 0.78
2698 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR I & II | TRILOKPURI | 1240 | TKP006 | 1S-DL-YP-ETC-DMVR-2304-TKP006 | 18 BLOCK TKP:PL:ID | TG-TKP006A-2 | 19506209 | 100 | 40 | 239 | 0.73 | 126 | 47 | 207 | 0 | 0 | 79 | 362 | 315 | 2019-06-09 19:30 | 68.2 | 14.2 | 362 | B | 133 | 0 | 167 | 167 | 12.3 | 27.6 | 19.3 | 40.8 | 390.22 | 707.52 | 392.52 | 390.22 | 15 |  |  | 300 | 302 |  | 297 | 17 |  |  | 10 |  | 0.3 |  | 0.3 | 0.3 | 707.52 | 12.08 | 0.12 | 1.26
2802 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | MVR-III | 1241 | VSE182 | 1S-DL-YP-ETC-DVSE-2351-VSE182 | CNG STN-1 (NAHAR) IFC PAPER MKT GAJIPUR. | TG-VSE182A-1 | 19506210 | 990 | 320 | 246 | 0.68 | 514 | 168 | 700 | 175 | 734 | 170 | 714 | 29 | 2019-06-05 13:30 | 495 | -139.2 | 734 | Y | 97 | 102 | 101 | 5 |  |  | 21.7 | 78.3 | 541.03 | 535.33 | 538.03 | 539.33 | 89 | 5.3 | 5.3 | 6.3 | 64.57 | 153.57 | 147.57 | 148.57 | [8 empty] | 695 | 25 | 0.41 | 0.52
2806 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | MVR-III | 1241 | VSE186 | 1S-DL-YP-ETC-DVSE-2351-VSE186 | SS-7 IFC PAPER MKT GAJIPUR MV-3 | TG-VSE186A-1 | 19506714 | 400 | 120 | 245 | 0.81 | 63 | 34 | 133 | 27 | 106 | 2 | 9 | 113 | 2019-06-14 19:00 | 55.4 | -0.2 | 140 | R | 150 | 108 | 42 | 108 | 33.3 | 4.7 | 18.5 | 43.5 | 697.35 | 716.05 | 719.05 | 719.05 | 21.3 | 3 | 3 | [13 empty] | 719.05 | 0.55 | 0.38 | 0.16
2808 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | MVR-III | 1241 | VSE188 | 1S-DL-YP-ETC-DVSE-2351-VSE188 | SS-9 IFC PAPER MKT GAJIPUR MV-3 | TG-VSE188A-1 | 19504939 | 400 | 120 | 247 | 0.82 | 80 | 26 | 104 | 25 | 100 | 30 | 120 | 18 | 2019-06-07 19:00 | 69.3 | -0.3 | 140 | R | 95 | 88 | 117 | 29 |  |  | 2.9 | 97.1 | 714.45 | 717.15 | 715.15 | 719.15 | 5 | 2.3 | 2.3 | 0.3 | [12 empty] | 719.45 | 0.15 | 0.33 | 0.2
2816 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | MVR-III | 1241 | VSE204 | 1S-DL-YP-ETC-DVSE-2351-VSE204 | DP MULLA COLONY,KIOSK | TG-VSE204A-1 | 19506225 | 400 | 120 | 248 | 0.77 | 12 | 5 | 18 | 4 | 18 | 3 | 11 | 7 | 2019-06-30 04:00 | 2.6 | -0.8 | 20 | R | 117 | 113 | 71 | 46 | 0.2 | 0.2 | 1.5 | 98.1 | 696.16 | 696.16 | 696.16 | 696.16 | [16 empty] | 696.16 | 23.44 | 0.51 | 0.03
2821 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | NEW ASHOK NAGAR | 1241 | VSE058 | 1S-DL-YP-ETC-DVSE-2351-VSE058 | S/S DALLUPURA GRID STREET LIGHT | TG-VSE058A-1 | 19505703 | 100 | 40 | 242 | 0.66 | 29 | 6 | 26 | 10 | 40 | 13 | 52 | 23 | 2019-06-06 18:30 | 26.9 | 0.8 | 52 | B | 51 | 88 | 162 | 111 |  |  | 10 | 90 | 706.4 | 692.14 | 376.45 | 691.14 | 1 | 15.26 | 15.26 | 16.26 | [12 empty] | 707.4 | 12.2 | 0.26 | 0.29
2845 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | NEW ASHOK NAGAR | 1241 | VSE096 | 1S-DL-YP-ETC-DVSE-2351-VSE096 | ANUPAM:ID | TG-VSE096A-1 | 19500992 | 630 | 200 | 241 | 0.84 | 94 | 27 | 116 | 40 | 166 | 27 | 112 | 52 | 2019-06-02 01:00 | 72.2 | -2.8 | 166 | Y | 90 | 104 | 107 | 17 |  |  | 52.9 | 47.1 | 719.26 | 719.26 | 719.26 | 719.26 | [16 empty] | 719.26 | 0.34 | 0.57 | 0.15
2881 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | NEW ASHOK NAGAR | 1241 | VSE129 | 1S-DL-YP-ETC-DVSE-2351-VSE129 | NAGARJUNA P/M:PM | TG-VSE129A-1 | 19506729 | 100 | 40 | 242 | 0.45 | 8 | 3 | 14 | 2 | 7 | 3 | 12 | 6 | 2019-06-15 19:00 | 6.9 | -7.6 | 26 | R | 55 | 113 | 132 | 77 | 0.1 | 1.4 | 22.4 | 76 | 707.05 | 707.05 | 707.05 | 707.05 | [16 empty] | 707.05 | 12.55 | 0.2 | 0.08
3247 | 2019-06-01 | 2019-06-30 23:30 | YAMUNA VIHAR | SHASTRI PARK | 1250 | SLM071 | 1S-DL-YP-ETC-DYVR-2401-SLM071 | CISF SHASTRI PARK | TG-SLM071A-1 | 19506249 | 100 | 40 | 246 | 0.54 | 77 | 33 | 131 | 29 | 117 | 15 | 60 | 65 | 2019-06-18 10:30 | 72 | -53.5 | 154 | Y | 91 | 136 | 73 | 63 | 0.2 | 2.5 | 50.6 | 46.7 | 530.19 | 433.49 | 584.13 | 557.49 | 68.43 | 143 | 143 | 35.24 | 91.43 | 57.3 | 86.43 | 98.32 | 1 | 54.56 | 1.3 |  |  | 2.3 |  |  | 691.45 | 28.15 | 0.22 | 0.77
3250 | 2019-06-01 | 2019-06-30 23:30 | YAMUNA VIHAR | SHASTRI PARK | 1250 | SLM085 | 1S-DL-YP-ETC-DYVR-2401-SLM085 | BELA FARM SHASTRI PARK:PM | TG-SLM085A-1 | 19506603 | 100 | 40 | 247 | 0.8 | 9 | 3 | 13 | 0 | 0 | 6 | 24 | 21 | 2019-06-08 09:00 | 3.7 | -0.4 | 34 | B | 9 | 0 | 291 | 291 |  | 0.3 | 47 | 52.7 | 696.08 | 696.08 | 695.38 | 696.08 | [16 empty] | 696.08 | 23.52 | 0.25 | 0.09
3271 | 2019-06-01 | 2019-06-30 23:30 | YAMUNA VIHAR | SHASTRI PARK | 1250 | SLM129 | 1S-DL-YP-ETC-DYVR-2401-SLM129 | Vijay Coat market Shastri Park:Pkg | TG-SLM129A-1 | 19506118 | 630 | 200 | 245 | 0.83 | 31 | 10 | 39 | 18 | 71 | 4 | 14 | 49 | 2019-06-25 18:30 | 23.8 | 0.2 | 90 | R | 95 | 151 | 54 | 97 |  |  | 46.3 | 53.7 | 701.58 | 701.58 | 701.58 | 701.58 | [16 empty] | 701.58 | 18.02 | 0.37 | 0.05
3314 | 2019-06-01 | 2019-06-30 23:30 | KARAWAL NAGAR | GOKUL PURI | 1251 | KWL103 | 1S-DL-YP-ETC-DKWL-2451-KWL103 | MAJOR MALHOTRA FARM HOUSE:PM | TG-KWL103A-1 | 19506634 | 100 | 40 | 250 | 0.84 | 85 | 11 | 44 | 30 | 122 | 44 | 182 | 120 | 2019-06-28 12:00 | 10 | -36.1 | 207 | B | 70 | 103 | 126 | 56 | 3.2 | 14.6 | 50.9 | 31.3 | 1.3 |  |  |  | 539.06 | 270.16 | 270.16 | 233.19 | 162.53 | 364.43 | 471.44 | 464.4 |  | 65 | 110.57 | 5.3 |  | 3.3 | 55 |  | 703.29 | 16.31 | 0.6 | 0.85
3319 | 2019-06-01 | 2019-06-30 23:30 | KARAWAL NAGAR | GOKUL PURI | 1251 | KWL241 | 1S-DL-YP-ETC-DKWL-2451-KWL241 | JOHRI PUR TUNDA NAGAR:PL | TG-KWL241A-1 | 19504974 | 400 | 120 | 235 | 0.76 | 36 | 9 | 39 | 6 | 26 | 21 | 91 | 60 | 2019-06-08 12:00 | 13 | -12.4 | 91 | B | 119 | 48 | 132 | 84 |  |  | 16.9 | 83.1 | 713.37 | 713.37 | 713.37 | 713.37 | [16 empty] | 713.37 | 6.23 | 0.17 | 0.09
3322 | 2019-06-01 | 2019-06-30 23:30 | KARAWAL NAGAR | GOKUL PURI | 1251 | KWL245 | 1S-DL-YP-ETC-DKWL-2451-KWL245 | CHAMAN PARK:PM | TG-KWL245A-1 | 19506572 | 100 | 40 | 242 | 0.83 | 49 | 2 | 8 | 24 | 99 | 23 | 99 | 91 | 2019-06-28 21:00 | 27.1 | -0.4 | 99 | Y | 114 | 101 | 85 | 29 | 0.9 | 6.3 | 78.2 | 14.7 | 553.28 | 568.46 | 629.04 | 596.55 | 126.09 | 119.4 | 119.4 | 93.31 | 11.49 | 3 | 1.3 | 1 | [8 empty] | 691.26 | 28.34 | 0.19 | 0.49
3399 | 2019-06-01 | 2019-06-30 23:30 | KARAWAL NAGAR | SONIA VIHAR | 1251 | KWL124 | 1S-DL-YP-ETC-DKWL-2451-KWL124 | JELE SINGH KOTHI TUKMEERPUR VILLAGE:PM | TG-KWL124A-1 | 19506720 | 400 | 120 | 248 | 0.84 | 350 | 108 | 466 | 126 | 548 | 116 | 500 | 71 | 2019-06-26 12:00 | 185.5 | -159 | 548 | Y | 102 | 100 | 97 | 5 |  | 0.1 | 12.8 | 87.1 |  |  |  |  | 305.51 | 336.06 | 336.06 | 329.36 | 387.57 | 354.12 | 335.15 | 363.12 | 1 | 4.3 | 1.3 | 2 |  |  |  |  | 694.48 | 25.12 | 0.48 | 0.88
3513 | 2019-06-01 | 2019-06-30 23:30 | NAND NAGARI | C-4 NANDNAGRI | 1260 | NGR053 | 1S-DL-YP-ETC-DNNG-2901-NGR053 | D1 SAFAI KARMCHARI NNG-2:ID | TG-NGR053A-1 | 19504504 | 400 | 120 | 244 | 0.27 | 8 | 0 | 0 | 8 | 31 | 0 | 0 | 31 | 2019-06-27 21:30 | -0.3 | -7.7 | 31 | Y | 0 | 300 | 0 | 300 |  |  | 62.7 | 37.3 | 719.43 | 719.43 | 719.43 | 719.43 | [16 empty] | 719.43 | 0.17 | 0.21 | 0.02
3629 | 2019-06-01 | 2019-06-30 23:30 | NAND NAGARI | SUDAMA PURI | 1260 | LO2044 | 1S-DL-YP-ETC-DNNG-2903-LO2044 | CNG STATION LONI ROAD:PM | TG-LO2044A-1 | 19503385 | 400 | 120 | 242 | 0.84 | 16 | 6 | 25 | 3 | 11 | 7 | 29 | 17 | 2019-06-14 03:30 | 5.8 | -9.1 | 31 | B | 91 | 85 | 124 | 39 |  | 0.1 | 50.7 | 49.2 | 719.4 | 719.4 | 719.4 | 719.4 | [16 empty] | 719.4 | 0.2 | 0.74 | 0.04
3630 | 2019-06-01 | 2019-06-30 23:30 | NAND NAGARI | SUDAMA PURI | 1260 | LO2044 | 1S-DL-YP-ETC-DNNG-2903-LO2044 | CNG STATION LONI ROAD:PM | TG-LO2044A-2 | 19506633 | 400 | 120 | 241 | 0.67 | 355 | 118 | 481 | 118 | 482 | 119 | 489 | 8 | 2019-06-04 06:00 | 334.2 | -121.2 | 518 | B | 99 | 100 | 102 | 3 |  |  | 0.9 | 99.1 | 16 | 15.3 | 15.3 | 15.3 | 456 | 455 | 455 | 455.3 | 194.56 | 195.26 | 187.56 | 193.56 | 27 | 28 | 36.3 | 29 |  |  |  |  | 693.56 | 26.04 | 0.44 | 0.89

## CCK
MIS Report of Distribution Transformer - Jun19
Jun19 ALL (Complete Report)
Sn. | Study Period |  | Division Name | Zone | Div Code | Sap Code | Sap Function Code | DT Name | DT Code | Meter Serial No. | KVA Rating | MF | VOLTAGE | POWER FACTOR | Peak Loading Conditions | [8 empty] | Reactive Demand (KVAR) |  | Highest Phase Current |  | % Relative Phase Unbalance |  |  | %Unbalance | % Voltage Unbalance (%Time of total study period) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) | [5 empty] | LF | UF
[15 empty] | Peak KVA | R Phase |  | Y Phase |  | B Phase |  | Neutral Current (AMP) | Date and Time
[16 empty] | KVA | I (AMP) | KVA | I (AMP) | KVA | I (AMP) |  |  | MAX | MIN | Current(AMP) | Phase | R-Ph | Y-Ph | B-Ph | {I(Max)-I(Min)} / I(Average) | >3% | <=3% and >2% | <=2% and >1% | <=1% | < 20% |  |  |  | 20%-40% |  |  |  | 40%-80% |  |  |  | 80%-100% |  |  |  | >100% |  |  |  | ON ( in HH:MI) | OFF ( in HH:MI)
[36 empty] | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer
1 | 2019-06-01 | 2019-06-30 23:30 | CHANDNI CHOWK | HAMILTON ROAD | 1110 | HAM012 | 1S-DL-YP-CTC-DCCK-0105-HAM012 | VALLO DRUM | TG-HAM012A-1 | 19504799 | 100 | 40 | 238 | 0.73 | 61 | 20 | 82 | 25 | 107 | 16 | 66 | 35 | 2019-06-16 05:30 | 47.9 | -0.1 | 114 | Y | 85 | 139 | 76 | 63 | 0.3 | 17.5 | 32.2 | 50.1 | 360.41 | 353.41 | 358.11 | 356.11 | 212.21 | 4.3 | 4.3 | 79.21 | 145.58 | 360.49 | 83.3 | 283.28 | [8 empty] | 719 | 1 | 0.4 | 0.61

## DRG
MIS Report of Distribution Transformer - Jun19
Jun19 ALL (Complete Report)
Sn. | Study Period |  | Division Name | Zone | Div Code | Sap Code | Sap Function Code | DT Name | DT Code | Meter Serial No. | KVA Rating | MF | VOLTAGE | POWER FACTOR | Peak Loading Conditions | [8 empty] | Reactive Demand (KVAR) |  | Highest Phase Current |  | % Relative Phase Unbalance |  |  | %Unbalance | % Voltage Unbalance (%Time of total study period) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) | [5 empty] | LF | UF
[15 empty] | Peak KVA | R Phase |  | Y Phase |  | B Phase |  | Neutral Current (AMP) | Date and Time
[16 empty] | KVA | I (AMP) | KVA | I (AMP) | KVA | I (AMP) |  |  | MAX | MIN | Current(AMP) | Phase | R-Ph | Y-Ph | B-Ph | {I(Max)-I(Min)} / I(Average) | >3% | <=3% and >2% | <=2% and >1% | <=1% | < 20% |  |  |  | 20%-40% |  |  |  | 40%-80% |  |  |  | 80%-100% |  |  |  | >100% |  |  |  | ON ( in HH:MI) | OFF ( in HH:MI)
[36 empty] | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer
1 | 2019-06-01 | 2019-06-30 23:30 | DARYA GANG | DARYAGANJ | 1120 | DRY077 | 1S-DL-YP-CTC-DDRG-0102-DRY077 | S/STN NO-1 VELODROME ROAD | TG-DRY077A-1 | 19506628 | 100 | 40 | 249 | 0.71 | 16 | 0 | 0 | 7 | 30 | 8 | 32 | 31 | 2019-06-01 19:00 | 7.4 | -6 | 32 | Y | 5 | 121 | 174 | 169 |  |  | 2.5 | 97.5 | 704.33 | 695.33 | 671.03 | 704.33 |  | 9 | 9 | [13 empty] | 704.33 | 15.27 | 0.19 | 0.16
2 | 2019-06-01 | 2019-06-30 23:30 | DARYA GANG | DARYAGANJ | 1120 | DRY078 | 1S-DL-YP-CTC-DDRG-0102-DRY078 | S/STN NO-2 VELODROME ROAD | TG-DRY078A-1 | 19506859 | 100 | 40 | 247 | 0.73 | 56 | 28 | 113 | 27 | 109 | 0 | 0 | 111 | 2019-06-24 19:00 | 50.4 | 0 | 116 | Y | 142 | 158 | 0 | 158 |  | 0.2 | 43.5 | 56.2 | 396.14 | 390.14 | 706.14 | 390.14 | 0.3 |  |  | 240.3 | 308 | 313.3 |  | 75.3 | 1.3 | 2.3 | [6 empty] | 706.14 | 13.46 | 0.31 | 0.56
3 | 2019-06-01 | 2019-06-30 23:30 | DARYA GANG | DARYAGANJ | 1120 | DRY083 | 1S-DL-YP-CTC-DDRG-0102-DRY083 | ROSE BIRD-II | TG-DRY083A-1 | 19504690 | 100 | 40 | 245 | 0.71 | 83 | 28 | 115 | 29 | 118 | 25 | 102 | 15 | 2019-06-06 19:00 | 74.6 | -0.1 | 124 | Y | 100 | 116 | 84 | 32 |  |  | 2.1 | 97.9 | 401.11 | 401.11 | 402.11 | 401.11 | 1 | 1 | 1 | 1 | 311.56 | 304.56 | 286.56 | 314.26 | 4 | 11 |  | 1.3 |  |  |  |  | 718.07 | 1.53 | 0.28 | 0.83
4 | 2019-06-01 | 2019-06-30 23:30 | DARYA GANG | MINTO ROAD | 1120 | MRD024 | 1S-DL-YP-CTC-DDRG-0107-MRD024 | RAJENDRA BHAWAN:ID | TG-MRD024A-1 | 19501682 | 990 | 320 | 243 | 0.8 | 150 | 43 | 180 | 52 | 217 | 55 | 227 | 43 | 2019-06-17 16:00 | 33.1 | -27.2 | 227 | B | 87 | 106 | 106 | 19 |  | 0.1 |  | 99.9 | 719.29 | 719.29 | 719.29 | 719.29 | [16 empty] | 719.29 | 0.31 | 0.33 | 0.15

## SRD
MIS Report of Distribution Transformer - Jun19
Jun19 ALL (Complete Report)
Sn. | Study Period |  | Division Name | Zone | Div Code | Sap Code | Sap Function Code | DT Name | DT Code | Meter Serial No. | KVA Rating | MF | VOLTAGE | POWER FACTOR | Peak Loading Conditions | [8 empty] | Reactive Demand (KVAR) |  | Highest Phase Current |  | % Relative Phase Unbalance |  |  | %Unbalance | % Voltage Unbalance (%Time of total study period) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) | [5 empty] | LF | UF
[15 empty] | Peak KVA | R Phase |  | Y Phase |  | B Phase |  | Neutral Current (AMP) | Date and Time
[16 empty] | KVA | I (AMP) | KVA | I (AMP) | KVA | I (AMP) |  |  | MAX | MIN | Current(AMP) | Phase | R-Ph | Y-Ph | B-Ph | {I(Max)-I(Min)} / I(Average) | >3% | <=3% and >2% | <=2% and >1% | <=1% | < 20% |  |  |  | 20%-40% |  |  |  | 40%-80% |  |  |  | 80%-100% |  |  |  | >100% |  |  |  | ON ( in HH:MI) | OFF ( in HH:MI)
[36 empty] | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer
1 | 2019-06-01 | 2019-06-30 23:30 | SHANKAR ROAD | R BLOCK NEW RAJENDER NAGAR | 1140 | RJN069 | 1S-DL-YP-CTC-DSRD-1403-RJN069 | ST LT NO. 2 (WATER TANK):PM | TG-RJN069A-1 | 19506748 | 100 | 40 | 243 | 0.83 | 81 | 20 | 82 | 33 | 139 | 28 | 118 | 51 | 2019-06-27 19:30 | 61.6 | -2.4 | 139 | Y | 68 | 114 | 117 | 49 |  | 0.7 | 45.2 | 54.1 | 406.48 | 406.18 | 407.51 | 407.18 | 294.51 | 3.56 | 3.56 | 58.26 | 5.12 | 293.55 | 298.25 | 240.55 |  | 2.42 | 0.12 | 0.12 |  |  |  |  | 706.51 | 13.09 | 0.29 | 0.81

## PNR
MIS Report of Distribution Transformer - Jun19
Jun19 ALL (Complete Report)
Sn. | Study Period |  | Division Name | Zone | Div Code | Sap Code | Sap Function Code | DT Name | DT Code | Meter Serial No. | KVA Rating | MF | VOLTAGE | POWER FACTOR | Peak Loading Conditions | [8 empty] | Reactive Demand (KVAR) |  | Highest Phase Current |  | % Relative Phase Unbalance |  |  | %Unbalance | % Voltage Unbalance (%Time of total study period) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) | [5 empty] | LF | UF
[15 empty] | Peak KVA | R Phase |  | Y Phase |  | B Phase |  | Neutral Current (AMP) | Date and Time
[16 empty] | KVA | I (AMP) | KVA | I (AMP) | KVA | I (AMP) |  |  | MAX | MIN | Current(AMP) | Phase | R-Ph | Y-Ph | B-Ph | {I(Max)-I(Min)} / I(Average) | >3% | <=3% and >2% | <=2% and >1% | <=1% | < 20% |  |  |  | 20%-40% |  |  |  | 40%-80% |  |  |  | 80%-100% |  |  |  | >100% |  |  |  | ON ( in HH:MI) | OFF ( in HH:MI)
[36 empty] | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer
1 | 2019-06-01 | 2019-06-30 23:30 | PATEL NAGAR | SARAI ROHILLA | 1141 | PNR098 | 1S-DL-YP-CTC-DPNR-1451-PNR098 | DOOGARMAL G. NO. 6/7 A. PBT.:PL | TG-PNR098A-1 | 19502851 | 990 | 320 | 250 | 0.71 | 640 | 206 | 867 | 225 | 938 | 209 | 879 | 65 | 2019-06-29 14:30 | -13.2 | -257.6 | 938 | Y | 99 | 98 | 103 | 5 |  |  | 21.5 | 78.5 | 143 | 308.3 | 192.3 | 233.3 | 364 | 158 | 158 | 248.3 | 210.3 | 251 | 245.3 | 235.3 | [8 empty] | 717.3 | 2.3 | 0.48 | 0.65
2 | 2019-06-01 | 2019-06-30 23:30 | PATEL NAGAR | SARAI ROHILLA | 1141 | PNR119 | 1S-DL-YP-CTC-DPNR-1451-PNR119 | GALI NO.5 K.PAHAR:PL | TG-PNR119A-1 | 19502595 | 990 | 320 | 243 | 0.84 | 314 | 115 | 482 | 99 | 413 | 100 | 416 | 68 | 2019-06-15 16:00 | 18.4 | -96.4 | 484 | R | 105 | 96 | 100 | 9 |  |  | 4.9 | 95.1 | 423.23 | 448.23 | 428.23 | 430.53 | 296 | 271 | 271 | 288.3 | [12 empty] | 719.23 | 0.37 | 0.52 | 0.32
3 | 2019-06-01 | 2019-06-30 23:30 | PATEL NAGAR | SARAI ROHILLA | 1141 | PNR139 | 1S-DL-YP-CTC-DPNR-1451-PNR139 | POST OFFICE P/M GALI NO-2 | TG-PNR139A-1 | 19502809 | 400 | 120 | 243 | 0.84 | 335 | 120 | 524 | 111 | 477 | 103 | 442 | 71 | 2019-06-26 16:00 | 11.6 | -107.9 | 541 | R | 102 | 105 | 93 | 12 | 0.8 | 9.5 | 54.5 | 35.2 | 241.04 | 63 | 262.34 | 183.34 | 180.3 | 347.04 | 347.04 | 238.3 | 232.24 | 294.48 | 284.18 | 282.18 | 63.54 | 13 | 0.3 | 13.3 |  |  |  |  | 717.52 | 2.08 | 0.48 | 0.84

## KKD
MIS Report of Distribution Transformer - Jun19
Jun19 ALL (Complete Report)
Sn. | Study Period |  | Division Name | Zone | Div Code | Sap Code | Sap Function Code | DT Name | DT Code | Meter Serial No. | KVA Rating | MF | VOLTAGE | POWER FACTOR | Peak Loading Conditions | [8 empty] | Reactive Demand (KVAR) |  | Highest Phase Current |  | % Relative Phase Unbalance |  |  | %Unbalance | % Voltage Unbalance (%Time of total study period) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) | [5 empty] | LF | UF
[15 empty] | Peak KVA | R Phase |  | Y Phase |  | B Phase |  | Neutral Current (AMP) | Date and Time
[16 empty] | KVA | I (AMP) | KVA | I (AMP) | KVA | I (AMP) |  |  | MAX | MIN | Current(AMP) | Phase | R-Ph | Y-Ph | B-Ph | {I(Max)-I(Min)} / I(Average) | >3% | <=3% and >2% | <=2% and >1% | <=1% | < 20% |  |  |  | 20%-40% |  |  |  | 40%-80% |  |  |  | 80%-100% |  |  |  | >100% |  |  |  | ON ( in HH:MI) | OFF ( in HH:MI)
[36 empty] | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer
1 | 2019-06-01 | 2019-06-30 23:30 | KARKARDOOMA | SAINI ENCLAVE | 1210 | VNG139 | 1S-DL-YP-ETC-DJLM-2201-VNG139 | H BLK CBD GROUND I/D | TG-VNG139A-1 | 19503697 | 400 | 120 | 245 | 0.8 | 19 | 18 | 71 | 1 | 3 | 0 | 0 | 69 | 2019-06-03 19:00 | 12.7 | 0.3 | 71 | R | 262 | 38 | 0 | 262 | 0.1 | 0.3 | 42.1 | 57.6 | 571.21 | 571.21 | 571.21 | 571.21 | [16 empty] | 571.21 | 4.39 | 0.34 | 0.05

## KNR
MIS Report of Distribution Transformer - Jun19
Jun19 ALL (Complete Report)
Sn. | Study Period |  | Division Name | Zone | Div Code | Sap Code | Sap Function Code | DT Name | DT Code | Meter Serial No. | KVA Rating | MF | VOLTAGE | POWER FACTOR | Peak Loading Conditions | [8 empty] | Reactive Demand (KVAR) |  | Highest Phase Current |  | % Relative Phase Unbalance |  |  | %Unbalance | % Voltage Unbalance (%Time of total study period) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) | [5 empty] | LF | UF
[15 empty] | Peak KVA | R Phase |  | Y Phase |  | B Phase |  | Neutral Current (AMP) | Date and Time
[16 empty] | KVA | I (AMP) | KVA | I (AMP) | KVA | I (AMP) |  |  | MAX | MIN | Current(AMP) | Phase | R-Ph | Y-Ph | B-Ph | {I(Max)-I(Min)} / I(Average) | >3% | <=3% and >2% | <=2% and >1% | <=1% | < 20% |  |  |  | 20%-40% |  |  |  | 40%-80% |  |  |  | 80%-100% |  |  |  | >100% |  |  |  | ON ( in HH:MI) | OFF ( in HH:MI)
[36 empty] | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer
1 | 2019-06-01 | 2019-06-30 23:30 | KRISHNA NAGAR | GEETA COLONY | 1220 | GCL042 | 1S-DL-YP-ETC-DKRN-2103-GCL042 | SWARG ASHARM:PM | TG-GCL042A-1 | 19505737 | 100 | 40 | 243 | 0.76 | 78 | 20 | 82 | 31 | 130 | 27 | 112 | 42 | 2019-06-03 19:00 | 9.6 | -24 | 137 | Y | 70 | 135 | 95 | 65 | 0.4 | 0.6 | 34.1 | 64.9 | 394.54 | 385.25 | 384.54 | 384.55 | 166.3 | 20.3 | 20.3 | 37.29 | 144 | 134.29 | 286.3 | 283.3 | 0.3 | 165.3 | 2 | [5 empty] | 705.54 | 14.06 | 0.33 | 0.78

## LNR
MIS Report of Distribution Transformer - Jun19
Jun19 ALL (Complete Report)
Sn. | Study Period |  | Division Name | Zone | Div Code | Sap Code | Sap Function Code | DT Name | DT Code | Meter Serial No. | KVA Rating | MF | VOLTAGE | POWER FACTOR | Peak Loading Conditions | [8 empty] | Reactive Demand (KVAR) |  | Highest Phase Current |  | % Relative Phase Unbalance |  |  | %Unbalance | % Voltage Unbalance (%Time of total study period) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) | [5 empty] | LF | UF
[15 empty] | Peak KVA | R Phase |  | Y Phase |  | B Phase |  | Neutral Current (AMP) | Date and Time
[16 empty] | KVA | I (AMP) | KVA | I (AMP) | KVA | I (AMP) |  |  | MAX | MIN | Current(AMP) | Phase | R-Ph | Y-Ph | B-Ph | {I(Max)-I(Min)} / I(Average) | >3% | <=3% and >2% | <=2% and >1% | <=1% | < 20% |  |  |  | 20%-40% |  |  |  | 40%-80% |  |  |  | 80%-100% |  |  |  | >100% |  |  |  | ON ( in HH:MI) | OFF ( in HH:MI)
[36 empty] | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer
1 | 2019-06-01 | 2019-06-30 23:30 | LAXMI NAGAR | ANAND VIHAR ISBT | 1230 | LGR075 | 1S-DL-YP-ETC-DLNR-2501-LGR075 | DP ANAND VIHAR:PM | TG-LGR075A-1 | 19505783 | 100 | 40 | 249 | 0.74 | 78 | 16 | 67 | 15 | 61 | 47 | 193 | 130 | 2019-06-21 23:00 | 63.3 | 0 | 193 | B | 107 | 100 | 93 | 14 |  | 0.2 | 41 | 58.8 | 410.25 | 410.25 | 409.55 | 410.25 |  | 52.3 | 52.3 | 19 | 298.27 | 244.27 | 107.3 | 279.27 |  | 1.3 | 0.3 |  |  |  | 0.3 |  | 708.52 | 11.08 | 0.26 | 0.78
2 | 2019-06-01 | 2019-06-30 23:30 | LAXMI NAGAR | ANAND VIHAR ISBT | 1230 | PVR030 | 1S-DL-YP-ETC-DLNR-2502-PVR030 | S/STN. NO.5 F.I.E., PPG:ID | TG-PVR030A-1 | 19500815 | 630 | 200 | 250 | 0.72 | 134 | 50 | 203 | 59 | 242 | 26 | 108 | 119 | 2019-06-27 11:30 | 34.5 | -46.9 | 250 | Y | 111 | 111 | 78 | 33 |  | 0.1 | 12.8 | 87.2 | 677.21 | 585.51 | 719.51 | 705.21 | 42.3 | 134 | 134 | 14.3 | [12 empty] | 719.51 | 0.09 | 0.43 | 0.21
3 | 2019-06-01 | 2019-06-30 23:30 | LAXMI NAGAR | ANAND VIHAR ISBT | 1230 | PVR037 | 1S-DL-YP-ETC-DLNR-2502-PVR037 | S/STN. NO.12 F.I.E., PPG:ID | TG-PVR037A-2 | 19505476 | 990 | 320 | 251 | 0.78 | 427 | 158 | 630 | 135 | 538 | 135 | 536 | 93 | 2019-06-27 12:00 | 67.5 | -116.2 | 649 | R | 107 | 98 | 95 | 12 | 0.1 | 0.1 | 6.9 | 92.9 | 466.22 | 482.22 | 477.52 | 475.52 | 159 | 218.59 | 218.59 | 218.59 | 87.29 | 11.3 | 5 | 18 | [8 empty] | 712.51 | 7.09 | 0.43 | 0.43
4 | 2019-06-01 | 2019-06-30 23:30 | LAXMI NAGAR | PREET VIHAR | 1230 | PVR078 | 1S-DL-YP-ETC-DLNR-2502-PVR078 | SAGAR PLAZA D.C. LNR | TG-PVR078A-1 | 19504512 | 400 | 120 | 245 | 0.81 | 78 | 19 | 82 | 29 | 124 | 29 | 124 | 42 | 2019-06-06 14:30 | 14.6 | -11.6 | 160 | Y | 103 | 119 | 77 | 42 |  |  |  | 100 | 718.47 | 676.17 | 719.17 | 719.47 | 1 | 43.3 | 43.3 | [13 empty] | 719.47 | 0.13 | 0.35 | 0.19

## MVR I&II
MIS Report of Distribution Transformer - Jun19
Jun19 ALL (Complete Report)
Sn. | Study Period |  | Division Name | Zone | Div Code | Sap Code | Sap Function Code | DT Name | DT Code | Meter Serial No. | KVA Rating | MF | VOLTAGE | POWER FACTOR | Peak Loading Conditions | [8 empty] | Reactive Demand (KVAR) |  | Highest Phase Current |  | % Relative Phase Unbalance |  |  | %Unbalance | % Voltage Unbalance (%Time of total study period) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) | [5 empty] | LF | UF
[15 empty] | Peak KVA | R Phase |  | Y Phase |  | B Phase |  | Neutral Current (AMP) | Date and Time
[16 empty] | KVA | I (AMP) | KVA | I (AMP) | KVA | I (AMP) |  |  | MAX | MIN | Current(AMP) | Phase | R-Ph | Y-Ph | B-Ph | {I(Max)-I(Min)} / I(Average) | >3% | <=3% and >2% | <=2% and >1% | <=1% | < 20% |  |  |  | 20%-40% |  |  |  | 40%-80% |  |  |  | 80%-100% |  |  |  | >100% |  |  |  | ON ( in HH:MI) | OFF ( in HH:MI)
[36 empty] | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer
1 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR I & II | SADAR APPARTMENTS | 1240 | MV1027 | 1S-DL-YP-ETC-DMVR-2301-MV1027 | DDA PUMP HOUSE PKT-IV MVR PH-1:PM | TG-MV1027A-1 | 19502574 | 400 | 120 | 237 | 0.61 | 61 | 20 | 82 | 22 | 90 | 19 | 79 | 10 | 2019-06-29 19:30 | 56.3 | -42.2 | 90 | Y | 99 | 103 | 99 | 4 |  | 0.1 | 0.7 | 99.2 | 717.55 | 717.55 | 717.55 | 717.55 | [16 empty] | 717.55 | 2.05 | 0.21 | 0.15
2 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR I & II | SADAR APPARTMENTS | 1240 | MV1088 | 1S-DL-YP-ETC-DMVR-2301-MV1088 | D.P. NO 1 NOIDA RD:PL | TG-MV1088A-1 | 19505815 | 100 | 40 | 246 | 0.78 | 60 | 14 | 57 | 31 | 128 | 14 | 58 | 70 | 2019-06-26 19:30 | 55.2 | -0.1 | 131 | Y | 67 | 169 | 64 | 105 |  | 1.7 | 46.1 | 52.2 | 467.45 | 402.15 | 415.15 | 402.15 | 232.49 |  |  | 275.19 | 4.28 | 286.49 | 8.3 | 27.28 |  | 15.58 | [6 empty] | 705.02 | 14.58 | 0.29 | 0.6
3 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR I & II | SADAR APPARTMENTS | 1240 | MV1090 | 1S-DL-YP-ETC-DMVR-2301-MV1090 | D.P. NO 3 NOIDA RD:PM | TG-MV1090A-1 | 19504654 | 400 | 120 | 245 | 0.76 | 129 | 42 | 168 | 56 | 228 | 32 | 127 | 88 | 2019-06-06 19:00 | 106.3 | 0.3 | 228 | Y | 88 | 142 | 70 | 72 |  | 4.7 | 74.2 | 21.2 | 513.45 | 421.45 | 706.45 | 426.15 | 206 | 296.3 | 296.3 | 293.3 |  | 1.3 | [10 empty] | 719.45 | 0.15 | 0.32 | 0.32
4 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR I & II | SADAR APPARTMENTS | 1240 | MV1091 | 1S-DL-YP-ETC-DMVR-2301-MV1091 | D.P. NO 4 NOIDA RD:PL | TG-MV1091A-1 | 19505529 | 100 | 40 | 245 | 0.8 | 78 | 20 | 81 | 31 | 127 | 27 | 111 | 41 | 2019-06-06 19:30 | 69 | -1.2 | 129 | Y | 85 | 118 | 97 | 33 | 5.3 | 8.3 | 41.7 | 44.7 | 397.18 | 410.15 | 409.15 | 410.15 | 267.27 |  |  |  | 46.3 | 287 | 294.3 | 301 |  | 14 | 6.3 | [5 empty] | 711.15 | 8.45 | 0.31 | 0.78
5 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR I & II | TRILOKPURI | 1240 | TKP006 | 1S-DL-YP-ETC-DMVR-2304-TKP006 | 18 BLOCK TKP:PL:ID | TG-TKP006A-2 | 19506209 | 100 | 40 | 239 | 0.73 | 126 | 47 | 207 | 0 | 0 | 79 | 362 | 315 | 2019-06-09 19:30 | 68.2 | 14.2 | 362 | B | 133 | 0 | 167 | 167 | 12.3 | 27.6 | 19.3 | 40.8 | 390.22 | 707.52 | 392.52 | 390.22 | 15 |  |  | 300 | 302 |  | 297 | 17 |  |  | 10 |  | 0.3 |  | 0.3 | 0.3 | 707.52 | 12.08 | 0.12 | 1.26

## MVR I&III
MIS Report of Distribution Transformer - Jun19
Jun19 ALL (Complete Report)
Sn. | Study Period |  | Division Name | Zone | Div Code | Sap Code | Sap Function Code | DT Name | DT Code | Meter Serial No. | KVA Rating | MF | VOLTAGE | POWER FACTOR | Peak Loading Conditions | [8 empty] | Reactive Demand (KVAR) |  | Highest Phase Current |  | % Relative Phase Unbalance |  |  | %Unbalance | % Voltage Unbalance (%Time of total study period) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) | [5 empty] | LF | UF
[15 empty] | Peak KVA | R Phase |  | Y Phase |  | B Phase |  | Neutral Current (AMP) | Date and Time
[16 empty] | KVA | I (AMP) | KVA | I (AMP) | KVA | I (AMP) |  |  | MAX | MIN | Current(AMP) | Phase | R-Ph | Y-Ph | B-Ph | {I(Max)-I(Min)} / I(Average) | >3% | <=3% and >2% | <=2% and >1% | <=1% | < 20% |  |  |  | 20%-40% |  |  |  | 40%-80% |  |  |  | 80%-100% |  |  |  | >100% |  |  |  | ON ( in HH:MI) | OFF ( in HH:MI)
[36 empty] | F | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer
1 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | MVR-III | 1241 | VSE182 | 1S-DL-YP-ETC-DVSE-2351-VSE182 | CNG STN-1 (NAHAR) IFC PAPER MKT GAJIPUR. | TG-VSE182A-1 | 19506210 | 990 | 320 | 246 | 0.68 | 514 | 168 | 700 | 175 | 734 | 170 | 714 | 29 | 2019-06-05 13:30 | 495 | -139.2 | 734 | Y | 97 | 102 | 101 | 5 |  |  | 21.7 | 78.3 | 541.03 | 535.33 | 538.03 | 539.33 | 89 | 5.3 | 5.3 | 6.3 | 64.57 | 153.57 | 147.57 | 148.57 | [8 empty] | 695 | 25 | 0.41 | 0.52
2 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | MVR-III | 1241 | VSE186 | 1S-DL-YP-ETC-DVSE-2351-VSE186 | SS-7 IFC PAPER MKT GAJIPUR MV-3 | TG-VSE186A-1 | 19506714 | 400 | 120 | 245 | 0.81 | 63 | 34 | 133 | 27 | 106 | 2 | 9 | 113 | 2019-06-14 19:00 | 55.4 | -0.2 | 140 | R | 150 | 108 | 42 | 108 | 33.3 | 4.7 | 18.5 | 43.5 | 697.35 | 716.05 | 719.05 | 719.05 | 21.3 | 3 | 3 | [13 empty] | 719.05 | 0.55 | 0.38 | 0.16
3 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | MVR-III | 1241 | VSE188 | 1S-DL-YP-ETC-DVSE-2351-VSE188 | SS-9 IFC PAPER MKT GAJIPUR MV-3 | TG-VSE188A-1 | 19504939 | 400 | 120 | 247 | 0.82 | 80 | 26 | 104 | 25 | 100 | 30 | 120 | 18 | 2019-06-07 19:00 | 69.3 | -0.3 | 140 | R | 95 | 88 | 117 | 29 |  |  | 2.9 | 97.1 | 714.45 | 717.15 | 715.15 | 719.15 | 5 | 2.3 | 2.3 | 0.3 | [12 empty] | 719.45 | 0.15 | 0.33 | 0.2
4 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | MVR-III | 1241 | VSE204 | 1S-DL-YP-ETC-DVSE-2351-VSE204 | DP MULLA COLONY,KIOSK | TG-VSE204A-1 | 19506225 | 400 | 120 | 248 | 0.77 | 12 | 5 | 18 | 4 | 18 | 3 | 11 | 7 | 2019-06-30 04:00 | 2.6 | -0.8 | 20 | R | 117 | 113 | 71 | 46 | 0.2 | 0.2 | 1.5 | 98.1 | 696.16 | 696.16 | 696.16 | 696.16 | [16 empty] | 696.16 | 23.44 | 0.51 | 0.03
5 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | NEW ASHOK NAGAR | 1241 | VSE058 | 1S-DL-YP-ETC-DVSE-2351-VSE058 | S/S DALLUPURA GRID STREET LIGHT | TG-VSE058A-1 | 19505703 | 100 | 40 | 242 | 0.66 | 29 | 6 | 26 | 10 | 40 | 13 | 52 | 23 | 2019-06-06 18:30 | 26.9 | 0.8 | 52 | B | 51 | 88 | 162 | 111 |  |  | 10 | 90 | 706.4 | 692.14 | 376.45 | 691.14 | 1 | 15.26 | 15.26 | 16.26 | [12 empty] | 707.4 | 12.2 | 0.26 | 0.29
6 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | NEW ASHOK NAGAR | 1241 | VSE096 | 1S-DL-YP-ETC-DVSE-2351-VSE096 | ANUPAM:ID | TG-VSE096A-1 | 19500992 | 630 | 200 | 241 | 0.84 | 94 | 27 | 116 | 40 | 166 | 27 | 112 | 52 | 2019-06-02 01:00 | 72.2 | -2.8 | 166 | Y | 90 | 104 | 107 | 17 |  |  | 52.9 | 47.1 | 719.26 | 719.26 | 719.26 | 719.26 | [16 empty] | 719.26 | 0.34 | 0.57 | 0.15
7 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | NEW ASHOK NAGAR | 1241 | VSE129 | 1S-DL-YP-ETC-DVSE-2351-VSE129 | NAGARJUNA P/M:PM | TG-VSE129A-1 | 19506729 | 100 | 40 | 242 | 0.45 | 8 | 3 | 14 | 2 | 7 | 3 | 12 | 6 | 2019-06-15 19:00 | 6.9 | -7.6 | 26 | R | 55 | 113 | 132 | 77 | 0.1 | 1.4 | 22.4 | 76 | 707.05 | 707.05 | 707.05 | 707.05 | [16 empty] | 707.05 | 12.55 | 0.2 | 0.08

## GTR
MIS Report of Distribution Transformer - Jun19
Jun19 ALL (Complete Report)
Sn. | Study Period |  | Division Name | Zone | Div Code | Sap Code | Sap Function Code | DT Name | DT Code | Meter Serial No. | KVA Rating | MF | VOLTAGE | POWER FACTOR | Peak Loading Conditions | [8 empty] | Reactive Demand (KVAR) |  | Highest Phase Current |  | % Relative Phase Unbalance |  |  | %Unbalance | % Voltage Unbalance (%Time of total study period) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) | [5 empty] | LF | UF
[15 empty] | Peak KVA | R Phase |  | Y Phase |  | B Phase |  | Neutral Current (AMP) | Date and Time
[16 empty] | KVA | I (AMP) | KVA | I (AMP) | KVA | I (AMP) |  |  | MAX | MIN | Current(AMP) | Phase | R-Ph | Y-Ph | B-Ph | {I(Max)-I(Min)} / I(Average) | >3% | <=3% and >2% | <=2% and >1% | <=1% | < 20% |  |  |  | 20%-40% |  |  |  | 40%-80% |  |  |  | 80%-100% |  |  |  | >100% |  |  |  | ON ( in HH:MI) | OFF ( in HH:MI)
[36 empty] | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer
1 | 2019-06-01 | 2019-06-30 23:30 | GT ROAD | E&F DILSHAD GARDEN | 1211 | DGN076 | 1S-DL-YP-ETC-DDGN-2251-DGN076 | SSR MILL:ID | TG-DGN076A-2 | 19505064 | 630 | 200 | 249 | 0.63 | 498 | 162 | 652 | 172 | 687 | 164 | 657 | 33 | 2019-06-30 12:00 | -0.9 | -215.7 | 687 | Y | 96 | 102 | 102 | 6 |  |  | 0.3 | 99.7 | 324.2 | 305.5 | 307.5 | 313.2 | 128.23 | 137.23 | 137.23 | 132.23 | 266.57 | 275.57 | 275.57 | 273.57 |  | 0.3 | [6 empty] | 719.4 | 0.2 | 0.41 | 0.79
2 | 2019-06-01 | 2019-06-30 23:30 | GT ROAD | E&F DILSHAD GARDEN | 1211 | DGN077 | 1S-DL-YP-ETC-DDGN-2251-DGN077 | SANSAR:K | TG-DGN077A-1 | 19500679 | 990 | 320 | 241 | 0.76 | 803 | 269 | 1113 | 273 | 1126 | 262 | 1081 | 40 | 2019-06-28 11:00 | 5.2 | -244.4 | 1139 | Y | 100 | 103 | 96 | 7 |  |  | 0.4 | 99.6 | 77.3 | 68.3 | 83 | 76 | 75 | 83 | 83 | 78 | 119.3 | 119 | 117 | 117.3 | 0.3 | 2 |  | 1 |  |  |  |  | 719.33 | 0.27 | 0.49 | 0.81
3 | 2019-06-01 | 2019-06-30 23:30 | GT ROAD | E&F DILSHAD GARDEN | 1211 | DGN122 | 1S-DL-YP-ETC-DDGN-2251-DGN122 | B-BLK DSIDC SHED JLM IA NO-1:ID | TG-DGN122A-2 | 19501374 | 990 | 320 | 243 | 0.84 | 495 | 165 | 683 | 160 | 661 | 169 | 692 | 27 | 2019-06-29 12:30 | 54.5 | -160.4 | 725 | B | 97 | 100 | 102 | 5 |  |  | 18.3 | 81.7 | 393.11 | 394.11 | 375.11 | 382.41 | 268.53 | 260.28 | 260.28 | 262.58 | 57.24 | 64.49 | 99.49 | 73.49 | [8 empty] | 719.28 | 0.32 | 0.47 | 0.5
4 | 2019-06-01 | 2019-06-30 23:30 | GT ROAD | GT ROAD SHAHDRA | 1211 | DGN110 | 1S-DL-YP-ETC-DDGN-2251-DGN110 | VERMA CASTLE:PL | TG-DGN110A-4 | 19506339 | 630 | 200 | 237.9138 | 0.80146 | 700.3905 | 232.099 | 966.9584 | 243.274 | 1008.6405 | 225.0174 | 926.6077 | 71.0456 | 2019-06-03 10:30 | [15 empty] | 242.5 |  |  |  | 244 |  |  |  | 214.5 |  |  |  | 6.5 |  |  |  | 1 | 708.5 |  | 0.27238 | 1.1117
5 | 2019-06-01 | 2019-06-30 23:30 | GT ROAD | GT ROAD SHAHDRA | 1211 | DGN127 | 1S-DL-YP-ETC-DDGN-2251-DGN127 | GALI NO.1B FRIENDS COLONY:PL | TG-DGN127A-4 | 19506340 | 630 | 200 | 244 | 0.5 | 448 | 149 | 632 | 144 | 607 | 154 | 646 | 35 | 2019-06-21 15:00 | 259.4 | -97.2 | 646 | B | 100 | 99 | 101 | 2 |  | 0.1 | 1.1 | 98.9 | 313.45 | 314.15 | 316.15 | 314.15 | 276.21 | 296.2 | 296.2 | 283.21 | 120.25 | 99.56 | 122.54 | 112.55 | [8 empty] | 710.31 | 9.29 | 0.34 | 0.71
6 | 2019-06-01 | 2019-06-30 23:30 | GT ROAD | GT ROAD SHAHDRA | 1211 | DGN129 | 1S-DL-YP-ETC-DDGN-2251-DGN129 | FRIENDS COLONY GALI NO-5-6 NEAR RLY.LINE:PM | TG-DGN129A-1 | 19504943 | 990 | 320 | 253 | 0.74 | 708 | 234 | 981 | 240 | 1006 | 233 | 980 | 26 | 2019-06-13 11:00 | 15.5 | -237 | 1006 | Y | 101 | 101 | 97 | 4 |  |  |  | 100 | 368 | 374.3 | 384.32 | 378.29 | 116.09 | 102.52 | 102.52 | 106.15 | 233.23 | 240.1 | 225.01 | 232.48 | [8 empty] | 717.32 | 2.28 | 0.4 | 0.71
7 | 2019-06-01 | 2019-06-30 23:30 | GT ROAD | GT ROAD SHAHDRA | 1211 | DGN186 | 1S-DL-YP-ETC-DDGN-2251-DGN186 | METRO STATION, SHAHDARA:PL | TG-DGN186A-2 | 19502940 | 630 | 200 | 242 | 0.5 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 2 | 2019-06-30 19:00 |  |  | 2 | Y | 0 | 300 | 0 | 300 | 0.1 | 0.1 | 26.1 | 73.8 | 718.06 | 718.06 | 718.06 | 718.06 | [16 empty] | 718.06 | 1.54 | 0.31 | 0

## YVR
MIS Report of Distribution Transformer - Jun19
Jun19 ALL (Complete Report)
Sn. | Study Period |  | Division Name | Zone | Div Code | Sap Code | Sap Function Code | DT Name | DT Code | Meter Serial No. | KVA Rating | MF | VOLTAGE | POWER FACTOR | Peak Loading Conditions | [8 empty] | Reactive Demand (KVAR) |  | Highest Phase Current |  | % Relative Phase Unbalance |  |  | %Unbalance | % Voltage Unbalance (%Time of total study period) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) | [5 empty] | LF | UF
[15 empty] | Peak KVA | R Phase |  | Y Phase |  | B Phase |  | Neutral Current (AMP) | Date and Time
[16 empty] | KVA | I (AMP) | KVA | I (AMP) | KVA | I (AMP) |  |  | MAX | MIN | Current(AMP) | Phase | R-Ph | Y-Ph | B-Ph | {I(Max)-I(Min)} / I(Average) | >3% | <=3% and >2% | <=2% and >1% | <=1% | < 20% |  |  |  | 20%-40% |  |  |  | 40%-80% |  |  |  | 80%-100% |  |  |  | >100% |  |  |  | ON ( in HH:MI) | OFF ( in HH:MI)
[36 empty] | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer
1 | 2019-06-01 | 2019-06-30 23:30 | YAMUNA VIHAR | SHASTRI PARK | 1250 | SLM071 | 1S-DL-YP-ETC-DYVR-2401-SLM071 | CISF SHASTRI PARK | TG-SLM071A-1 | 19506249 | 100 | 40 | 246 | 0.54 | 77 | 33 | 131 | 29 | 117 | 15 | 60 | 65 | 2019-06-18 10:30 | 72 | -53.5 | 154 | Y | 91 | 136 | 73 | 63 | 0.2 | 2.5 | 50.6 | 46.7 | 530.19 | 433.49 | 584.13 | 557.49 | 68.43 | 143 | 143 | 35.24 | 91.43 | 57.3 | 86.43 | 98.32 | 1 | 54.56 | 1.3 |  |  | 2.3 |  |  | 691.45 | 28.15 | 0.22 | 0.77
2 | 2019-06-01 | 2019-06-30 23:30 | YAMUNA VIHAR | SHASTRI PARK | 1250 | SLM085 | 1S-DL-YP-ETC-DYVR-2401-SLM085 | BELA FARM SHASTRI PARK:PM | TG-SLM085A-1 | 19506603 | 100 | 40 | 247 | 0.8 | 9 | 3 | 13 | 0 | 0 | 6 | 24 | 21 | 2019-06-08 09:00 | 3.7 | -0.4 | 34 | B | 9 | 0 | 291 | 291 |  | 0.3 | 47 | 52.7 | 696.08 | 696.08 | 695.38 | 696.08 | [16 empty] | 696.08 | 23.52 | 0.25 | 0.09
3 | 2019-06-01 | 2019-06-30 23:30 | YAMUNA VIHAR | SHASTRI PARK | 1250 | SLM129 | 1S-DL-YP-ETC-DYVR-2401-SLM129 | Vijay Coat market Shastri Park:Pkg | TG-SLM129A-1 | 19506118 | 630 | 200 | 245 | 0.83 | 31 | 10 | 39 | 18 | 71 | 4 | 14 | 49 | 2019-06-25 18:30 | 23.8 | 0.2 | 90 | R | 95 | 151 | 54 | 97 |  |  | 46.3 | 53.7 | 701.58 | 701.58 | 701.58 | 701.58 | [16 empty] | 701.58 | 18.02 | 0.37 | 0.05

## KWN
MIS Report of Distribution Transformer - Jun19
Jun19 ALL (Complete Report)
Sn. | Study Period |  | Division Name | Zone | Div Code | Sap Code | Sap Function Code | DT Name | DT Code | Meter Serial No. | KVA Rating | MF | VOLTAGE | POWER FACTOR | Peak Loading Conditions | [8 empty] | Reactive Demand (KVAR) |  | Highest Phase Current |  | % Relative Phase Unbalance |  |  | %Unbalance | % Voltage Unbalance (%Time of total study period) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) | [5 empty] | LF | UF
[15 empty] | Peak KVA | R Phase |  | Y Phase |  | B Phase |  | Neutral Current (AMP) | Date and Time
[16 empty] | KVA | I (AMP) | KVA | I (AMP) | KVA | I (AMP) |  |  | MAX | MIN | Current(AMP) | Phase | R-Ph | Y-Ph | B-Ph | {I(Max)-I(Min)} / I(Average) | >3% | <=3% and >2% | <=2% and >1% | <=1% | < 20% |  |  |  | 20%-40% |  |  |  | 40%-80% |  |  |  | 80%-100% |  |  |  | >100% |  |  |  | ON ( in HH:MI) | OFF ( in HH:MI)
[36 empty] | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer
1 | 2019-06-01 | 2019-06-30 23:30 | KARAWAL NAGAR | GOKUL PURI | 1251 | KWL103 | 1S-DL-YP-ETC-DKWL-2451-KWL103 | MAJOR MALHOTRA FARM HOUSE:PM | TG-KWL103A-1 | 19506634 | 100 | 40 | 250 | 0.84 | 85 | 11 | 44 | 30 | 122 | 44 | 182 | 120 | 2019-06-28 12:00 | 10 | -36.1 | 207 | B | 70 | 103 | 126 | 56 | 3.2 | 14.6 | 50.9 | 31.3 | 1.3 |  |  |  | 539.06 | 270.16 | 270.16 | 233.19 | 162.53 | 364.43 | 471.44 | 464.4 |  | 65 | 110.57 | 5.3 |  | 3.3 | 55 |  | 703.29 | 16.31 | 0.6 | 0.85
2 | 2019-06-01 | 2019-06-30 23:30 | KARAWAL NAGAR | GOKUL PURI | 1251 | KWL241 | 1S-DL-YP-ETC-DKWL-2451-KWL241 | JOHRI PUR TUNDA NAGAR:PL | TG-KWL241A-1 | 19504974 | 400 | 120 | 235 | 0.76 | 36 | 9 | 39 | 6 | 26 | 21 | 91 | 60 | 2019-06-08 12:00 | 13 | -12.4 | 91 | B | 119 | 48 | 132 | 84 |  |  | 16.9 | 83.1 | 713.37 | 713.37 | 713.37 | 713.37 | [16 empty] | 713.37 | 6.23 | 0.17 | 0.09
3 | 2019-06-01 | 2019-06-30 23:30 | KARAWAL NAGAR | GOKUL PURI | 1251 | KWL245 | 1S-DL-YP-ETC-DKWL-2451-KWL245 | CHAMAN PARK:PM | TG-KWL245A-1 | 19506572 | 100 | 40 | 242 | 0.83 | 49 | 2 | 8 | 24 | 99 | 23 | 99 | 91 | 2019-06-28 21:00 | 27.1 | -0.4 | 99 | Y | 114 | 101 | 85 | 29 | 0.9 | 6.3 | 78.2 | 14.7 | 553.28 | 568.46 | 629.04 | 596.55 | 126.09 | 119.4 | 119.4 | 93.31 | 11.49 | 3 | 1.3 | 1 | [8 empty] | 691.26 | 28.34 | 0.19 | 0.49
4 | 2019-06-01 | 2019-06-30 23:30 | KARAWAL NAGAR | SONIA VIHAR | 1251 | KWL124 | 1S-DL-YP-ETC-DKWL-2451-KWL124 | JELE SINGH KOTHI TUKMEERPUR VILLAGE:PM | TG-KWL124A-1 | 19506720 | 400 | 120 | 248 | 0.84 | 350 | 108 | 466 | 126 | 548 | 116 | 500 | 71 | 2019-06-26 12:00 | 185.5 | -159 | 548 | Y | 102 | 100 | 97 | 5 |  | 0.1 | 12.8 | 87.1 |  |  |  |  | 305.51 | 336.06 | 336.06 | 329.36 | 387.57 | 354.12 | 335.15 | 363.12 | 1 | 4.3 | 1.3 | 2 |  |  |  |  | 694.48 | 25.12 | 0.48 | 0.88

## NNG
MIS Report of Distribution Transformer - Jun19
Jun19 ALL (Complete Report)
Sn. | Study Period |  | Division Name | Zone | Div Code | Sap Code | Sap Function Code | DT Name | DT Code | Meter Serial No. | KVA Rating | MF | VOLTAGE | POWER FACTOR | Peak Loading Conditions | [8 empty] | Reactive Demand (KVAR) |  | Highest Phase Current |  | % Relative Phase Unbalance |  |  | %Unbalance | % Voltage Unbalance (%Time of total study period) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) | [5 empty] | LF | UF
[15 empty] | Peak KVA | R Phase |  | Y Phase |  | B Phase |  | Neutral Current (AMP) | Date and Time
[16 empty] | KVA | I (AMP) | KVA | I (AMP) | KVA | I (AMP) |  |  | MAX | MIN | Current(AMP) | Phase | R-Ph | Y-Ph | B-Ph | {I(Max)-I(Min)} / I(Average) | >3% | <=3% and >2% | <=2% and >1% | <=1% | < 20% |  |  |  | 20%-40% |  |  |  | 40%-80% |  |  |  | 80%-100% |  |  |  | >100% |  |  |  | ON ( in HH:MI) | OFF ( in HH:MI)
[36 empty] | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer
1 | 2019-06-01 | 2019-06-30 23:30 | NAND NAGARI | C-4 NANDNAGRI | 1260 | NGR053 | 1S-DL-YP-ETC-DNNG-2901-NGR053 | D1 SAFAI KARMCHARI NNG-2:ID | TG-NGR053A-1 | 19504504 | 400 | 120 | 244 | 0.27 | 8 | 0 | 0 | 8 | 31 | 0 | 0 | 31 | 2019-06-27 21:30 | -0.3 | -7.7 | 31 | Y | 0 | 300 | 0 | 300 |  |  | 62.7 | 37.3 | 719.43 | 719.43 | 719.43 | 719.43 | [16 empty] | 719.43 | 0.17 | 0.21 | 0.02
2 | 2019-06-01 | 2019-06-30 23:30 | NAND NAGARI | SUDAMA PURI | 1260 | LO2044 | 1S-DL-YP-ETC-DNNG-2903-LO2044 | CNG STATION LONI ROAD:PM | TG-LO2044A-1 | 19503385 | 400 | 120 | 242 | 0.84 | 16 | 6 | 25 | 3 | 11 | 7 | 29 | 17 | 2019-06-14 03:30 | 5.8 | -9.1 | 31 | B | 91 | 85 | 124 | 39 |  | 0.1 | 50.7 | 49.2 | 719.4 | 719.4 | 719.4 | 719.4 | [16 empty] | 719.4 | 0.2 | 0.74 | 0.04
3 | 2019-06-01 | 2019-06-30 23:30 | NAND NAGARI | SUDAMA PURI | 1260 | LO2044 | 1S-DL-YP-ETC-DNNG-2903-LO2044 | CNG STATION LONI ROAD:PM | TG-LO2044A-2 | 19506633 | 400 | 120 | 241 | 0.67 | 355 | 118 | 481 | 118 | 482 | 119 | 489 | 8 | 2019-06-04 06:00 | 334.2 | -121.2 | 518 | B | 99 | 100 | 102 | 3 |  |  | 0.9 | 99.1 | 16 | 15.3 | 15.3 | 15.3 | 456 | 455 | 455 | 455.3 | 194.56 | 195.26 | 187.56 | 193.56 | 27 | 28 | 36.3 | 29 |  |  |  |  | 693.56 | 26.04 | 0.44 | 0.89