## Underload DTs
MIS Report of Distribution Transformer - Jun19
Jun19 1110 CHANDNI CHOWK (Underload DTs)
Sn. | Study Period |  | Division Name | Zone | Div Code | Sap Code | Sap Function Code | DT Name | DT Code | Meter Serial No. | KVA Rating | MF | VOLTAGE | POWER FACTOR | Peak Loading Conditions | [8 empty] | Reactive Demand (KVAR) |  | Highest Phase Current |  | % Relative Phase Unbalance |  |  | %Unbalance | % Voltage Unbalance (%Time of total study period) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) | [5 empty] | LF | UF
[15 empty] | Peak KVA | R Phase |  | Y Phase |  | B Phase |  | Neutral Current (AMP) | Date and Time
[16 empty] | KVA | I (AMP) | KVA | I (AMP) | KVA | I (AMP) |  |  | MAX | MIN | Current(AMP) | Phase | R-Ph | Y-Ph | B-Ph | {I(Max)-I(Min)} / I(Average) | >3% | <=3% and >2% | <=2% and >1% | <=1% | < 20% |  |  |  | 20%-40% |  |  |  | 40%-80% |  |  |  | 80%-100% |  |  |  | >100% |  |  |  | ON ( in HH:MI) | OFF ( in HH:MI)
[36 empty] | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer
1 | 2019-06-03 | 2019-06-30 23:30 | CHANDNI CHOWK | HAMILTON ROAD | 1110 | HAM007 | 1S-DL-YP-CTC-DCCK-0105-HAM007 | PRIYADARSHANI:PG | TG-HAM007A-1 | 19504800 | 990 | 320 | 240 | 0.98 | 171 | 48 | 200 | 60 | 253 | 62 | 262 | 58 | 2019-06-14 01:00 | 30.2 | 9.6 | 293 | B | 77 | 116 | 107 | 39 |  |  | 78.2 | 21.8 | 671.45 | 671.15 | 670.15 | 671.45 |  | 0.3 | 0.3 | [13 empty] | 671.45 | 0.15 | 0.66 | 0.17
2 | 2019-06-01 | 2019-06-30 23:30 | CHANDNI CHOWK | HAMILTON ROAD | 1110 | HAM013 | 1S-DL-YP-CTC-DCCK-0105-HAM013 | MONKEY BRIDGE:PKG | TG-HAM013A-1 | 19506393 | 990 | 320 | 239 | 0.96 | 161 | 39 | 163 | 39 | 165 | 82 | 328 | 164 | 2019-06-16 06:00 | 57 | 12.2 | 328 | B | 102 | 110 | 89 | 21 | 93.6 | 3.7 | 2.7 |  | 718.58 | 718.58 | 718.28 | 718.58 | [16 empty] | 718.58 | 1.02 | 0.65 | 0.16
3 | 2019-06-02 | 2019-06-30 23:30 | CHANDNI CHOWK | HAMILTON ROAD | 1110 | HAM018 | 1S-DL-YP-CTC-DCCK-0105-HAM018 | ELECTRIC CREMATION:ID | TG-HAM018A-1 | 19505070 | 400 | 120 | 234 | 0.96 | 88 | 32 | 138 | 26 | 111 | 30 | 130 | 25 | 2019-06-26 13:00 | 32 | 0.3 | 154 | R | 94 | 86 | 120 | 34 | 1.9 | 9.6 | 38.5 | 50.1 | 620.58 | 695.58 | 618.58 | 686.58 | 75 |  |  | 9 | [12 empty] | 695.58 | 0.02 | 0.6 | 0.22
4 | 2019-06-01 | 2019-06-30 23:30 | CHANDNI CHOWK | TOWN HALL | 1110 | THL001 | 1S-DL-YP-CTC-DCCK-0103-THL001 | FOUNTAIN:ID | TG-THL001A-3 | 19503418 | 990 | 320 | 246 | 0.98 | 224 | 87 | 358 | 58 | 241 | 79 | 326 | 105 | 2019-06-22 14:30 | 44.9 | -7.4 | 417 | R | 121 | 73 | 106 | 48 |  |  | 7.6 | 92.4 | 543.49 | 719.49 | 662.19 | 676.49 | 176 |  |  | 43 | [12 empty] | 719.49 | 0.11 | 0.41 | 0.23
5 | 2019-06-01 | 2019-06-30 23:30 | CHANDNI CHOWK | TOWN HALL | 1110 | THL013 | 1S-DL-YP-CTC-DCCK-0103-THL013 | MEENA BAZAR:PKG | TG-THL013A-1 | 19504137 | 400 | 250 | 238 | 0.98 | 49 | 7 | 32 | 20 | 87 | 21 | 89 | 56 | 2019-06-13 15:30 | 8.1 | 0.6 | 109 | B | 59 | 115 | 125 | 66 |  | 0.1 | 9.9 | 89.9 | 720 | 720 | 720 | 720 | [16 empty] | 720 | 0 | 0.29 | 0.12
6 | 2019-06-01 | 2019-06-30 23:30 | CHANDNI CHOWK | TOWN HALL | 1110 | THL016 | 1S-DL-YP-CTC-DCCK-0103-THL016 | SUBHASH MARG:PKG | TG-THL016A-2 | 19506857 | 990 | 320 | 246 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2019-06-30 23:30 |  |  | 0 | [7 empty] | 40.9 | 59.1 | 706 | 706 | 706 | 706 | [16 empty] | 706 | 14 |  | 0
7 | 2019-06-01 | 2019-06-30 23:30 | CHANDNI CHOWK | TOWN HALL | 1110 | THL020 | 1S-DL-YP-CTC-DCCK-0103-THL020 | DIWAN HALL:PM | TG-THL020A-2 | 19503325 | 400 | 120 | 241 | 0.97 | 138 | 46 | 210 | 49 | 225 | 42 | 192 | 28 | 2019-06-03 14:30 | 25.4 | -1.1 | 277 | B | 45 | 35 | 220 | 185 |  |  | 2.4 | 97.6 | 652.29 | 651.29 | 549.47 | 651.29 | 14 | 15 | 15 | 15 |  |  | 57.23 | [9 empty] | 666.29 | 29.31 | 0.1 | 0.34
8 | 2019-06-01 | 2019-06-30 23:30 | CHANDNI CHOWK | TOWN HALL | 1110 | THL023 | 1S-DL-YP-CTC-DCCK-0103-THL023 | DTC:PACKAGE S/STN | TG-THL023A-2 | 19506856 | 990 | 320 | 242 | 0.96 | 4 | 4 | 15 | 0 | 0 | 0 | 0 | 15 | 2019-06-02 19:30 | 1.6 | 0.3 | 15 | R | 299 | 0 | 1 | 299 |  |  | 18.8 | 81.2 | 705.48 | 705.48 | 705.48 | 705.48 | [16 empty] | 705.48 | 14.12 | 0.09 | 0
9 | 2019-06-01 | 2019-06-30 23:30 | CHANDNI CHOWK | TOWN HALL | 1110 | THL026 | 1S-DL-YP-CTC-DCCK-0103-THL026 | KATRA ASHARFEE:PKG | TG-THL026A-2 | 19505692 | 990 | 300 | 246 | 0.94 | 125 | 24 | 100 | 41 | 171 | 60 | 253 | 133 | 2019-06-28 14:00 | 26.4 | 0.3 | 253 | B | 106 | 57 | 137 | 80 | 0.1 |  | 45 | 55 | 718.44 | 718.44 | 718.44 | 718.44 | [16 empty] | 718.44 | 1.16 | 0.24 | 0.13