## Complete Report
MIS Report of Distribution Transformer - Jun19
Jun19 1110 CHANDNI CHOWK (Complete Report)
Sn. | Study Period |  | Division Name | Zone | Div Code | Sap Code | Sap Function Code | DT Name | DT Code | Meter Serial No. | KVA Rating | MF | VOLTAGE | POWER FACTOR | Peak Loading Conditions | [8 empty] | Reactive Demand (KVAR) |  | Highest Phase Current |  | % Relative Phase Unbalance |  |  | %Unbalance | % Voltage Unbalance (%Time of total study period) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) | [5 empty] | LF | UF
[15 empty] | Peak KVA | R Phase |  | Y Phase |  | B Phase |  | Neutral Current (AMP) | Date and Time
[16 empty] | KVA | I (AMP) | KVA | I (AMP) | KVA | I (AMP) |  |  | MAX | MIN | Current(AMP) | Phase | R-Ph | Y-Ph | B-Ph | {I(Max)-I(Min)} / I(Average) | >3% | <=3% and >2% | <=2% and >1% | <=1% | < 20% |  |  |  | 20%-40% |  |  |  | 40%-80% |  |  |  | 80%-100% |  |  |  | >100% |  |  |  | ON ( in HH:MI) | OFF ( in HH:MI)
[36 empty] | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer
1 | 2019-06-01 | 2019-06-30 23:30 | CHANDNI CHOWK | HAMILTON ROAD | 1110 | HAM012 | 1S-DL-YP-CTC-DCCK-0105-HAM012 | VALLO DRUM | TG-HAM012A-1 | 19504799 | 100 | 40 | 238 | 0.73 | 61 | 20 | 82 | 25 | 107 | 16 | 66 | 35 | 2019-06-16 05:30 | 47.9 | -0.1 | 114 | Y | 85 | 139 | 76 | 63 | 0.3 | 17.5 | 32.2 | 50.1 | 360.41 | 353.41 | 358.11 | 356.11 | 212.21 | 4.3 | 4.3 | 79.21 | 145.58 | 360.49 | 83.3 | 283.28 | [8 empty] | 719 | 1 | 0.4 | 0.61