## Loading Condition > 80%
MIS Report of Distribution Transformer - Jun19
Jun19 1120 DARYA GANJ (Loading Condition > 80% and 30 hours for 30 days)
Sn. | Study Period |  | Division Name | Zone | Div Code | Sap Code | Sap Function Code | DT Name | DT Code | Meter Serial No. | KVA Rating | MF | VOLTAGE | POWER FACTOR | Peak Loading Conditions | [8 empty] | Reactive Demand (KVAR) |  | Highest Phase Current |  | % Relative Phase Unbalance |  |  | %Unbalance | % Voltage Unbalance (%Time of total study period) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) | [5 empty] | LF | UF
[15 empty] | Peak KVA | R Phase |  | Y Phase |  | B Phase |  | Neutral Current (AMP) | Date and Time
[16 empty] | KVA | I (AMP) | KVA | I (AMP) | KVA | I (AMP) |  |  | MAX | MIN | Current(AMP) | Phase | R-Ph | Y-Ph | B-Ph | {I(Max)-I(Min)} / I(Average) | >3% | <=3% and >2% | <=2% and >1% | <=1% | < 20% |  |  |  | 20%-40% |  |  |  | 40%-80% |  |  |  | 80%-100% |  |  |  | >100% |  |  |  | ON ( in HH:MI) | OFF ( in HH:MI)
[36 empty] | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer
1 | 2019-06-01 | 2019-06-30 23:30 | DARYA GANG | DARYAGANJ | 1120 | DRY007 | 1S-DL-YP-CTC-DDRG-0102-DRY007 | BACHHO KA GHAR:PKG | TG-DRY007A-2 | 19504372 | 630 | 200 | 240 | 0.98 | 582 | 219 | 943 | 191 | 822 | 171 | 740 | 177 | 2019-06-10 15:00 | 122.4 | -1.8 | 984 | R | 108 | 104 | 88 | 20 |  |  | 26.8 | 73.2 | 376.29 | 291.29 | 417.59 | 375.59 | 92 | 181 | 181 | 100.3 | 105 | 174.33 | 224.03 | 152.34 | 125.33 | 72.3 | 13 | 90.29 | 20.3 |  |  |  | 719.32 | 0.28 | 0.39 | 0.92
2 | 2019-06-01 | 2019-06-30 23:30 | DARYA GANG | DARYAGANJ | 1120 | DRY011 | 1S-DL-YP-CTC-DDRG-0102-DRY011 | DARYA GANJ KOTWALI:PL | TG-DRY011A-1 | 19501677 | 630 | 200 | 244 | 0.97 | 581 | 187 | 780 | 210 | 916 | 184 | 801 | 127 | 2019-06-12 15:00 | 126.5 | 23 | 964 | Y | 98 | 100 | 102 | 4 | 100 |  |  |  | 2 | 12 |  |  | 403.28 | 421.58 | 421.58 | 420.58 | 236.3 | 172.3 | 361 | 218.3 | 78 | 107 | 33.3 | 80.3 |  | 6.3 |  |  | 719.58 | 0.02 | 0.52 | 0.92
3 | 2019-06-01 | 2019-06-30 23:30 | DARYA GANG | DARYAGANJ | 1120 | DRY031 | 1S-DL-YP-CTC-DDRG-0102-DRY031 | ROSE GARDEN:PM | TG-DRY031A-1 | 19500377 | 100 | 40 | 245 | 0.89 | 58 | 15 | 61 | 6 | 26 | 37 | 158 | 119 | 2019-06-09 19:30 | 37.5 | -0.9 | 182 | R | 144 | 52 | 104 | 92 | 38.9 | 4.6 | 0.2 | 56.3 | 472.35 | 719.14 | 457.14 | 408.14 | 54.39 |  |  | 192 | 53.3 |  | 32 | 119 | 114 |  | 86 |  | 24.3 |  | 4.3 |  | 719.14 | 0.46 | 0.37 | 0.58
4 | 2019-06-01 | 2019-06-30 23:30 | DARYA GANG | DARYAGANJ | 1120 | DRY035 | 1S-DL-YP-CTC-DDRG-0102-DRY035 | VIKRAM NAGAR:PACKAGE S/STN | TG-DRY035A-2 | 19505152 | 990 | 320 | 238 | 0.97 | 806 | 199 | 834 | 219 | 929 | 388 | 1670 | 793 | 2019-06-12 00:30 | 183.7 | 49.6 | 1732 | B | 86 | 92 | 122 | 36 | 0.6 | 1.8 | 44.2 | 53.3 | 1.24 | 3.3 |  | 0.3 | 414.45 | 350.41 | 350.41 | 294.41 | 292.3 | 354.28 | 414.58 | 412.28 |  |  | 92.3 | 1 |  |  | 10.3 |  | 708.39 | 11.21 | 0.56 | 0.81
5 | 2019-06-01 | 2019-06-30 23:30 | DARYA GANG | DARYAGANJ | 1120 | DRY079 | 1S-DL-YP-CTC-DDRG-0102-DRY079 | S/STN NO-3 VELODROME ROAD | TG-DRY079A-1 | 19504561 | 100 | 40 | 230 | 0.86 | 77 | 14 | 53 | 38 | 153 | 25 | 100 | 86 | 2019-06-04 03:30 | 56.2 | -0.1 | 153 | Y | 53 | 153 | 93 | 100 | 47.1 | 11.6 | 24.1 | 17.2 | 401.56 | 157.39 | 401.56 | 401.26 | 256.3 | 239.55 | 239.55 | 1 | 56.3 | 83.22 | 298 | 312.3 |  | 233 | 2.3 |  |  | 1 |  |  | 716.56 | 3.04 | 0.4 | 0.77
6 | 2019-06-01 | 2019-06-30 23:30 | DARYA GANG | DARYAGANJ | 1120 | DRY089 | 1S-DL-YP-CTC-DDRG-0102-DRY089 | GHATA MASJID:PG | TG-DRY089A-1 | 19500136 | 990 | 320 | 243 | 0.96 | 948 | 331 | 1418 | 308 | 1316 | 308 | 1320 | 100 | 2019-06-03 15:30 | 217.9 | 42.7 | 1418 | R | 103 | 100 | 96 | 7 |  |  | 5.2 | 94.8 | 1.3 |  | 6 |  | 302.51 | 381.22 | 381.22 | 370.28 | 303.1 | 244.34 | 234.22 | 252.04 | 109.32 | 92.07 | 85.18 | 95.31 | 1 |  |  |  | 718.03 | 1.57 | 0.51 | 0.96
7 | 2019-06-01 | 2019-06-30 23:30 | DARYA GANG | JAMA MASJID | 1120 | HAU003 | 1S-DL-YP-CTC-DDRG-0106-HAU003 | DDA HOUSING COMP.TURKMAN GATE:ID | TG-HAU003A-2 | 19501667 | 990 | 320 | 231 | 0.95 | 793 | 209 | 916 | 257 | 1138 | 327 | 1455 | 470 | 2019-06-02 04:30 | 214.9 | 96.4 | 1540 | B | 75 | 96 | 129 | 54 |  | 1.1 | 52.5 | 46.4 |  |  |  |  | 253.41 | 59 | 59 | 29.25 | 437.19 | 630.3 | 435.49 | 660.35 |  | 1.3 | 242.41 | 1 |  |  | 10 |  | 714.37 | 5.23 | 0.72 | 0.8
8 | 2019-06-01 | 2019-06-30 23:30 | DARYA GANG | JAMA MASJID | 1120 | HAU006 | 1S-DL-YP-CTC-DDRG-0106-HAU006 | GALI DAKOTAN:PM | TG-HAU006A-1 | 19500348 | 990 | 320 | 243 | 0.96 | 901 | 304 | 1245 | 286 | 1169 | 311 | 1277 | 96 | 2019-06-06 | 207.6 | 6.6 | 1316 | B | 105 | 89 | 105 | 16 |  |  | 0.5 | 99.5 | 1 | 1 | 1 | 1 | 78.22 | 220.5 | 220.5 | 115.55 | 585.14 | 485.35 | 582.3 | 571.3 | 49.22 | 6.33 | 56.03 | 25.33 |  |  |  |  | 713.58 | 6.02 | 0.6 | 0.91
9 | 2019-06-01 | 2019-06-30 23:30 | DARYA GANG | JAMA MASJID | 1120 | HAU008 | 1S-DL-YP-CTC-DDRG-0106-HAU008 | GALI SHANKAR:ID | TG-HAU008A-2 | 19505535 | 990 | 320 | 239 | 0.95 | 1096 | 334 | 1516 | 387 | 1782 | 375 | 1722 | 242 | 2019-06-03 13:30 | 499.5 | 88 | 1782 | Y | 92 | 110 | 98 | 18 | 0.1 |  | 7.4 | 92.4 |  |  |  |  | 68 | 13.3 | 13.3 | 27.3 | 649.02 | 672.24 | 670.36 | 689.32 |  | 31.08 | 2.3 |  | 0.14 | 0.14 | 0.14 | 0.14 | 717.16 | 2.44 | 0.5 | 1.11
10 | 2019-06-01 | 2019-06-30 23:30 | DARYA GANG | JAMA MASJID | 1120 | HAU008 | 1S-DL-YP-CTC-DDRG-0106-HAU008 | GALI SHANKAR:ID | TG-HAU008A-1 | 19506161 | 990 | 320 | 232 | 0.96 | 965 | 252 | 1194 | 323 | 1522 | 389 | 1739 | 476 | 2019-06-03 13:00 | 413.4 | 117.4 | 1739 | B | 101 | 105 | 93 | 12 | 100 | [7 empty] | 7.3 | 1.3 | 1.3 | 5.3 | 598.5 | 575.51 | 642.28 | 601.5 | 111.33 | 135.32 | 68.55 | 111.03 | 0.3 | 5.3 | 1 |  | 718.23 | 1.37 | 0.67 | 0.97
11 | 2019-06-01 | 2019-06-30 23:30 | DARYA GANG | JAMA MASJID | 1120 | HAU010 | 1S-DL-YP-CTC-DDRG-0106-HAU010 | HAMMATGARH:K | TG-HAU010A-2 | 19500332 | 990 | 320 | 235 | 0.95 | 779 | 197 | 846 | 300 | 1298 | 281 | 1219 | 418 | 2019-06-10 23:30 | 237 | 106.7 | 1343 | Y | 79 | 110 | 111 | 32 | 25.8 | 0.1 | 5.8 | 68.2 |  |  |  |  | 234.15 | 29.3 | 29.3 | 36.3 | 481.2 | 641.35 | 652.05 | 679.05 |  | 44.3 | 56 | [5 empty] | 715.35 | 4.25 | 0.71 | 0.79
12 | 2019-06-01 | 2019-06-30 23:30 | DARYA GANG | JAMA MASJID | 1120 | HAU011 | 1S-DL-YP-CTC-DDRG-0106-HAU011 | RAJ ENGINEERING:ID | TG-HAU011A-2 | 19504377 | 990 | 320 | 237 | 0.96 | 767 | 215 | 965 | 321 | 1458 | 230 | 1034 | 462 | 2019-06-05 15:00 | 198.7 | 67 | 1476 | Y | 91 | 122 | 86 | 36 |  |  | 2 | 98 | 0.3 |  | 0.3 |  | 186.25 | 63.25 | 63.25 | 141.25 | 531.19 | 522.18 | 497.19 | 576.49 |  | 132.31 | [6 empty] | 718.14 | 1.46 | 0.68 | 0.77
13 | 2019-06-01 | 2019-06-30 23:30 | DARYA GANG | JAMA MASJID | 1120 | HAU014 | 1S-DL-YP-CTC-DDRG-0106-HAU014 | BARSHABULLA:ID DRG | TG-HAU014A-1 | 19503477 | 990 | 320 | 230 | 0.96 | 968 | 316 | 1432 | 317 | 1428 | 335 | 1529 | 99 | 2019-06-13 17:00 | 235.5 | 77.3 | 1636 | R | 103 | 95 | 101 | 8 |  | 1.3 | 61.9 | 36.9 |  |  |  |  | 134.3 | 188 | 188 | 134.3 | 453.23 | 438.53 | 520.53 | 482.53 | 123.27 | 91.57 | 79.57 | 101.27 | 7.3 |  | 2 |  | 718.5 | 1.1 | 0.57 | 0.98
14 | 2019-06-01 | 2019-06-30 23:30 | DARYA GANG | JAMA MASJID | 1120 | HAU015 | 1S-DL-YP-CTC-DDRG-0106-HAU015 | NEW HAUZ QUAZI:ID DRG | TG-HAU015A-1 | 19502903 | 990 | 320 | 238 | 0.96 | 945 | 360 | 1575 | 329 | 1438 | 255 | 1114 | 410 | 2019-06-01 15:00 | 238.5 | 75.1 | 1575 | R | 107 | 101 | 92 | 15 |  |  | 0.4 | 99.6 |  |  |  |  | 23.3 | 49.3 | 49.3 | 40.3 | 533 | 554.52 | 618.39 | 591.2 | 155.34 | 113.42 | 14.26 | 86.14 | 6 |  |  |  | 718.04 | 1.56 | 0.65 | 0.95
15 | 2019-06-01 | 2019-06-30 23:30 | DARYA GANG | JAMA MASJID | 1120 | JMS001 | 1S-DL-YP-CTC-DDRG-0101-JMS001 | BULIBULI KHANA:ID | TG-JMS001A-2 | 19501700 | 990 | 320 | 229 | 0.94 | 984 | 351 | 1500 | 327 | 1393 | 306 | 1308 | 167 | 2019-06-04 04:30 | 334.1 | 152.4 | 1513 | R | 102 | 99 | 99 | 3 |  |  | 5.3 | 94.7 | [8 empty] | 443.48 | 499.48 | 508.18 | 483.18 | 270 | 217.21 | 209.51 | 234.51 | 4.21 | 1 |  |  | 718.09 | 1.51 | 0.74 | 0.99
16 | 2019-06-01 | 2019-06-30 23:30 | DARYA GANG | JAMA MASJID | 1120 | JMS002 | 1S-DL-YP-CTC-DDRG-0101-JMS002 | CHANDNI MAHAL:ID | TG-JMS002A-2 | 19505094 | 990 | 200 | 235 | 0.95 | 1253 | 374 | 1718 | 447 | 2153 | 431 | 2127 | 422 | 2019-06-02 18:00 | 424.8 | 43.6 | 2153 | Y | 116 | 81 | 103 | 35 | 10.7 | 69.8 | 19.5 | 0.1 | 1.32 | 5.3 | 3.02 | 3 | 10.47 | 269.25 | 269.25 | 52.25 | 639.03 | 431.55 | 590.01 | 650.25 | 52.28 | 0.3 | 23.3 | 1.3 | 4 | 0.3 | 2 | 0.3 | 707.5 | 12.1 | 0.43 | 1.27
17 | 2019-06-01 | 2019-06-30 23:30 | DARYA GANG | JAMA MASJID | 1120 | JMS004 | 1S-DL-YP-CTC-DDRG-0101-JMS004 | DELHI GATE TELEPHONE EXCHANGE PM:K | TG-JMS004A-1 | 19505683 | 990 | 320 | 238 | 0.96 | 1090 | 345 | 1448 | 363 | 1506 | 383 | 1617 | 148 | 2019-06-17 03:00 | 320.6 | 67.2 | 2129 | B | 101 | 93 | 107 | 14 | 0.4 |  | 83.7 | 15.9 |  |  |  |  | 5.55 | 5.55 | 5.55 | 5.55 | 587.47 | 639.56 | 526.38 | 597.44 | 106.12 | 55.47 | 159.59 | 96.53 | 7.16 | 5.32 | 14.38 | 6.38 | 707.1 | 12.5 | 0.62 | 1.1
18 | 2019-06-01 | 2019-06-30 23:30 | DARYA GANG | JAMA MASJID | 1120 | JMS008 | 1S-DL-YP-CTC-DDRG-0101-JMS008 | GIRDHAR PANNA:ID | TG-JMS008A-2 | 19505724 | 990 | 320 | 234 | 0.99 | 787 | 335 | 1679 | 270 | 1342 | 182 | 872 | 702 | 2019-06-05 22:30 | 200.6 | 22.4 | 1679 | R | 124 | 103 | 73 | 51 | 0.1 | 0.1 | 1.5 | 98.4 |  | 0.3 | 0.3 | 0.3 | 0.3 | 22.3 | 22.3 | 25.3 | 597.48 | 691.18 | 376.53 | 693.18 | 120.3 | 5 |  |  | 0.3 |  |  |  | 719.18 | 0.42 | 0.7 | 0.8
19 | 2019-06-01 | 2019-06-30 23:30 | DARYA GANG | JAMA MASJID | 1120 | JMS017 | 1S-DL-YP-CTC-DDRG-0101-JMS017 | KUCHA DAKHINI RAI:PL | TG-JMS017A-2 | 19506022 | 990 | 320 | 236 | 0.94 | 826 | 234 | 1026 | 391 | 1793 | 201 | 861 | 862 | 2019-06-11 05:00 | 331.5 | 112.3 | 1874 | B | 113 | 95 | 92 | 21 | 0.3 | 0.9 | 68.6 | 30.2 |  |  |  |  | 19.3 | 90.3 | 90.3 | 60 | 621.31 | 605.01 | 529.25 | 636.01 | 55 |  | 0.3 | 0.3 | 0.3 | 1 | 0.3 |  | 696.31 | 23.29 | 0.64 | 0.83
20 | 2019-06-01 | 2019-06-30 23:30 | DARYA GANG | JAMA MASJID | 1120 | JMS018 | 1S-DL-YP-CTC-DDRG-0101-JMS018 | MOHALLA QUABRISTAN:PL | TG-JMS018A-1 | 19501666 | 990 | 320 | 231 | 0.94 | 909 | 348 | 1504 | 270 | 1167 | 292 | 1264 | 300 | 2019-06-05 05:00 | 285.6 | 55.9 | 1526 | R | 111 | 93 | 96 | 18 | 0.6 | 14.3 | 9.5 | 75.7 | 0.3 | 0.3 | 0.3 | 0.3 |  | 3.3 | 3.3 | 1.3 | 373.37 | 678.34 | 611.25 | 592.48 | 332.52 | 35.25 | 101.3 | 123.11 | 11 |  |  |  | 717.59 | 2.01 | 0.77 | 0.92
21 | 2019-06-01 | 2019-06-30 23:30 | DARYA GANG | JAMA MASJID | 1120 | JMS021 | 1S-DL-YP-CTC-DDRG-0101-JMS021 | NEW DUJANA HOUSE 8 PANEL:ID | TG-JMS021A-6 | 19500201 | 990 | 320 | 237 | 0.96 | 830 | 334 | 1473 | 282 | 1220 | 214 | 930 | 471 | 2019-06-10 23:30 | 208.3 | 93.5 | 1550 | R | 108 | 101 | 92 | 16 |  | 0.6 | 72 | 27.4 |  |  |  |  | 3.3 | 6.3 | 6.3 | 3.3 | 659.28 | 706.58 | 694.58 | 711.58 | 55.3 | 6.3 |  | 4.3 | 1.3 |  |  |  | 719.58 | 0.02 | 0.71 | 0.84
22 | 2019-06-01 | 2019-06-30 23:30 | DARYA GANG | JAMA MASJID | 1120 | JMS021 | 1S-DL-YP-CTC-DDRG-0101-JMS021 | NEW DUJANA HOUSE 8 PANEL:ID | TG-JMS021A-8 | 19506157 | 990 | 320 | 244 | 0.93 | 824 | 299 | 1208 | 189 | 771 | 336 | 1400 | 558 | 2019-06-02 03:00 | 353 | 109.4 | 1812 | B | 108 | 86 | 105 | 22 | 0.2 | 0.4 | 15.7 | 83.6 | 1 | 1.3 | 1 | 1 | 23.3 | 62 | 62 | 20 | 630.3 | 632.28 | 658.28 | 672.58 | 40.58 | 0.3 | 15.3 | 2.3 | 0.3 |  | 1.3 |  | 696.28 | 23.32 | 0.7 | 0.83
23 | 2019-06-01 | 2019-06-30 23:30 | DARYA GANG | JAMA MASJID | 1120 | JMS023 | 1S-DL-YP-CTC-DDRG-0101-JMS023 | SHEESH MAHAL:K | TG-JMS023A-1 | 19501661 | 990 | 320 | 242 | 0.94 | 1003 | 384 | 1613 | 335 | 1410 | 284 | 1187 | 369 | 2019-06-30 01:30 | 337.8 | 141.3 | 1613 | R | 102 | 102 | 95 | 7 |  |  | 34.8 | 65.2 | [5 empty] | 0.3 | 0.3 | 0.3 | 436.13 | 442.12 | 483.13 | 465.12 | 255.29 | 273 | 198.29 | 248 | 25.3 | 1.3 | 16.3 | 3.3 | 717.12 | 2.48 | 0.73 | 1.01
24 | 2019-06-01 | 2019-06-30 23:30 | DARYA GANG | JAMA MASJID | 1120 | JMS023 | 1S-DL-YP-CTC-DDRG-0101-JMS023 | SHEESH MAHAL:K | TG-JMS023A-2 | 19506663 | 990 | 320 | 238 | 0.94 | 839 | 231 | 975 | 296 | 1261 | 312 | 1332 | 327 | 2019-06-30 01:30 | 292.8 | 105.3 | 1362 | B | 84 | 105 | 111 | 27 |  | 0.1 | 35.8 | 64.1 |  |  |  |  | 105.09 | 13.3 | 13.3 | 25.3 | 601.06 | 642.45 | 581.28 | 670.45 |  | 50 | 109.47 | 10 |  |  |  |  | 706.15 | 13.45 | 0.69 | 0.85
25 | 2019-06-01 | 2019-06-30 23:30 | DARYA GANG | JAMA MASJID | 1120 | JMS024 | 1S-DL-YP-CTC-DDRG-0101-JMS024 | SSA ROAD:PL:PG | TG-JMS024A-2 | 19500074 | 990 | 320 | 235 | 0.96 | 933 | 283 | 1225 | 389 | 1691 | 260 | 1104 | 537 | 2019-06-03 | 222.3 | 74.3 | 1736 | Y | 100 | 121 | 79 | 42 | 1.1 | 15.7 | 60 | 23.3 |  |  |  |  | 22.22 |  |  | 16.41 | 673.2 | 620.03 | 503.34 | 677.49 | 12.48 | 80.57 |  | 14 |  | 7.3 |  |  | 708.3 | 11.3 | 0.6 | 0.94
26 | 2019-06-01 | 2019-06-30 23:30 | DARYA GANG | JAMA MASJID | 1120 | JMS026 | 1S-DL-YP-CTC-DDRG-0101-JMS026 | URDU BAZAR:PG | TG-JMS026A-1 | 19506156 | 990 | 320 | 238 | 0.94 | 1074 | 272 | 1161 | 284 | 1164 | 519 | 2367 | 1205 | 2019-06-11 05:00 | 423 | 126.1 | 2367 | B | 102 | 98 | 100 | 4 | 0.3 | 1.1 | 49.2 | 49.5 |  |  |  |  | 2.3 | 5.3 | 5.3 | 3 | 614.41 | 660.52 | 608.11 | 635.11 | 77.3 | 29.19 | 78.3 | 57.3 | 1.3 | 0.3 | 4 | 0.3 | 696.11 | 23.49 | 0.6 | 1.09
27 | 2019-06-01 | 2019-06-30 23:30 | DARYA GANG | MINTO ROAD | 1120 | MRD017 | 1S-DL-YP-CTC-DDRG-0107-MRD017 | MATA SUNDARI I/D:ID | TG-MRD017A-2 | 19505539 | 630 | 200 | 235 | 0.96 | 583 | 343 | 1478 | 115 | 494 | 124 | 511 | 976 | 2019-06-02 06:00 | 227.4 | 37.4 | 1478 | R | 122 | 92 | 86 | 36 | 0.1 | 0.1 | 49.3 | 50.5 |  |  | 1.3 |  | 31.3 | 216.27 | 216.27 | 114.05 | 634.26 | 492.51 | 405.27 | 594.43 | 42.52 |  | 0.3 | 0.3 | 0.3 |  |  |  | 709.18 | 10.42 | 0.53 | 0.92

## Loading Condition > 100%
MIS Report of Distribution Transformer - Jun19
Jun19 1120 DARYA GANJ (Loading Condition > 100% and 30 hours for 30 days)
Sn. | Study Period |  | Division Name | Zone | Div Code | Sap Code | Sap Function Code | DT Name | DT Code | Meter Serial No. | KVA Rating | MF | VOLTAGE | POWER FACTOR | Peak Loading Conditions | [8 empty] | Reactive Demand (KVAR) |  | Highest Phase Current |  | % Relative Phase Unbalance |  |  | %Unbalance | % Voltage Unbalance (%Time of total study period) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) | [5 empty] | LF | UF
[15 empty] | Peak KVA | R Phase |  | Y Phase |  | B Phase |  | Neutral Current (AMP) | Date and Time
[16 empty] | KVA | I (AMP) | KVA | I (AMP) | KVA | I (AMP) |  |  | MAX | MIN | Current(AMP) | Phase | R-Ph | Y-Ph | B-Ph | {I(Max)-I(Min)} / I(Average) | >3% | <=3% and >2% | <=2% and >1% | <=1% | < 20% |  |  |  | 20%-40% |  |  |  | 40%-80% |  |  |  | 80%-100% |  |  |  | >100% |  |  |  | ON ( in HH:MI) | OFF ( in HH:MI)
[36 empty] | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer
1 | 2019-06-01 | 2019-06-30 23:30 | DARYA GANG | JAMA MASJID | 1120 | HAU001 | 1S-DL-YP-CTC-DDRG-0106-HAU001 | 84 GHANTA:K | TG-HAU001A-1 | 19500381 | 990 | 320 | 236 | 0.98 | 1063 | 322 | 1486 | 452 | 1919 | 289 | 1202 | 625 | 2019-06-11 01:00 | 92 | -57.4 | 1919 | Y | 76 | 123 | 101 | 47 | 54.6 |  | 1.9 | 43.6 | 286.03 |  |  |  | 40.34 | 2.3 | 2.3 | 54.35 | 314.09 | 427.33 | 598.3 | 566.41 | 73.16 | 198.34 | 96.01 | 88.19 | 0.59 | 86.24 | 4.3 | 5.26 | 715.01 | 4.59 | 0.57 | 1.07
2 | 2019-06-01 | 2019-06-30 23:30 | DARYA GANG | JAMA MASJID | 1120 | HAU001 | 1S-DL-YP-CTC-DDRG-0106-HAU001 | 84 GHANTA:K | TG-HAU001A-2 | 19501686 | 990 | 320 | 232 | 0.96 | 1036 | 297 | 1348 | 342 | 1556 | 398 | 1833 | 421 | 2019-06-15 00:30 | 242.9 | 102.3 | 1908 | B | 85 | 102 | 113 | 28 |  | 0.2 | 34.4 | 65.4 |  |  |  |  | 10.31 | 1 | 1 | 1 | 652.14 | 457.44 | 348.21 | 484.34 | 52.46 | 219.14 | 249.35 | 214.41 |  | 37.33 | 117.35 | 15.16 | 715.31 | 4.29 | 0.7 | 1.05
3 | 2019-06-01 | 2019-06-30 23:30 | DARYA GANG | JAMA MASJID | 1120 | HAU001 | 1S-DL-YP-CTC-DDRG-0106-HAU001 | 84 GHANTA:K | TG-HAU001A-3 | 19503790 | 990 | 320 | 238 | 0.96 | 981 | 394 | 1632 | 250 | 1018 | 337 | 1393 | 536 | 2019-06-12 02:30 | 248 | 115.6 | 1750 | R | 113 | 80 | 107 | 33 |  | 0.7 | 60.3 | 39 |  |  |  |  | 1.3 | 30.18 | 30.18 | 1 | 366.13 | 681.34 | 447.51 | 525.01 | 221.18 | 3 | 264.43 | 188.51 | 125.51 |  | 2.18 |  | 714.52 | 5.08 | 0.71 | 0.99
4 | 2019-06-01 | 2019-06-30 23:30 | DARYA GANG | JAMA MASJID | 1120 | HAU012 | 1S-DL-YP-CTC-DDRG-0106-HAU012 | SARAK PREM NARAIN:PL | TG-HAU012A-1 | 19501687 | 990 | 320 | 242 | 0.94 | 1042 | 296 | 1219 | 384 | 1543 | 362 | 1504 | 306 | 2019-06-27 05:30 | 349.6 | 87.6 | 1774 | Y | 80 | 119 | 102 | 39 | 90.4 | 9.4 | 0.2 |  | 4 | 0.3 | 0.3 | 0.3 | 27.17 | 4.3 | 4.3 | 5.3 | 679 | 236.53 | 508.31 | 507.12 | 6.25 | 316.04 | 193.46 | 200.05 |  | 158.45 | 7.55 | 3.25 | 716.42 | 3.18 | 0.69 | 1.05
5 | 2019-06-01 | 2019-06-30 23:30 | DARYA GANG | JAMA MASJID | 1120 | JMS001 | 1S-DL-YP-CTC-DDRG-0101-JMS001 | BULIBULI KHANA:ID | TG-JMS001A-1 | 19505784 | 990 | 320 | 255 | 0.91 | 879 | 483 | 2022 | 12 | 50 | 384 | 1608 | 1801 | 2019-06-03 13:30 | 421.1 | 114.9 | 2022 | R | 158 | 3 | 139 | 155 | 0.1 | 0.1 | 28.8 | 71 |  | 706.56 |  |  | 0.3 |  |  | 26.2 | 220.27 |  | 404.52 | 680.06 | 292.39 |  | 266.17 | 0.3 | 193.2 |  | 34.57 |  | 706.56 | 13.04 | 0.63 | 0.89
6 | 2019-06-01 | 2019-06-30 23:30 | DARYA GANG | JAMA MASJID | 1120 | JMS002 | 1S-DL-YP-CTC-DDRG-0101-JMS002 | CHANDNI MAHAL:ID | TG-JMS002A-4 | 19505203 | 630 | 200 | 224 | 0.95 | 805 | 395 | 1790 | 216 | 938 | 193 | 839 | 905 | 2019-06-29 02:30 | 291 | 69.4 | 2084 | R | 118 | 94 | 88 | 30 | 0.6 | 0.6 | 21.3 | 77.4 | [5 empty] | 1.3 | 1.3 | 1.3 | 160 | 396 | 513 | 302 | 216.3 | 275.45 | 177.02 | 316.3 | 319.32 | 22.47 | 2 | 76.02 | 696.02 | 23.58 | 0.64 | 1.28
7 | 2019-06-01 | 2019-06-30 23:30 | DARYA GANG | JAMA MASJID | 1120 | JMS003 | 1S-DL-YP-CTC-DDRG-0101-JMS003 | CHANDNI MAHAL [K]:K | TG-JMS003A-1 | 19504749 | 990 | 320 | 236 | 0.94 | 1090 | 374 | 1564 | 381 | 1596 | 336 | 1391 | 191 | 2019-06-03 04:00 | 355.5 | 140.6 | 1744 | Y | 101 | 100 | 99 | 2 |  | 0.8 | 59.9 | 39.2 | [5 empty] | 2.3 | 2.3 |  | 425 | 401 | 443.3 | 420.3 | 254 | 223.3 | 235.58 | 251.3 | 40.58 | 92.58 | 40.3 | 47.58 | 719.58 | 0.02 | 0.69 | 1.1
8 | 2019-06-01 | 2019-06-30 23:30 | DARYA GANG | JAMA MASJID | 1120 | JMS006 | 1S-DL-YP-CTC-DDRG-0101-JMS006 | GANJ MEER KHAN:PM | TG-JMS006A-1 | 19505263 | 990 | 320 | 258 | 0.91 | 1234 | 425 | 1527 | 468 | 1763 | 341 | 1290 | 409 | 2019-06-12 02:00 | 543 | 196.5 | 1962 | Y | 98 | 117 | 85 | 32 | 100 | [11 empty] | 159.08 | 82.38 | 416.58 | 178.34 | 313.19 | 191.49 | 254.58 | 293.53 | 222.59 | 420.59 | 20.3 | 222.59 | 695.26 | 24.34 | 0.73 | 1.25
9 | 2019-06-01 | 2019-06-30 23:30 | DARYA GANG | JAMA MASJID | 1120 | JMS015 | 1S-DL-YP-CTC-DDRG-0101-JMS015 | KUCHA CHELAN-2:PL | TG-JMS015A-2 | 19500358 | 400 | 120 | 237 | 0.93 | 429 | 167 | 721 | 140 | 599 | 122 | 519 | 177 | 2019-06-01 21:00 | 146 | 54.4 | 721 | R | 109 | 103 | 87 | 22 | 0.1 | 17.9 | 75.6 | 6.4 |  |  |  |  | 0.3 | 2 | 2 | 0.3 | 376.07 | 466.44 | 636.58 | 502.07 | 270 | 229.44 | 67 | 210.21 | 67.51 | 16 |  | 1.3 | 714.28 | 5.32 | 0.66 | 1.07
10 | 2019-06-01 | 2019-06-30 23:30 | DARYA GANG | JAMA MASJID | 1120 | JMS015 | 1S-DL-YP-CTC-DDRG-0101-JMS015 | KUCHA CHELAN-2:PL | TG-JMS015A-3 | 19505512 | 990 | 320 | 237 | 0.95 | 1339 | 499 | 2126 | 386 | 1633 | 454 | 1920 | 429 | 2019-06-26 22:30 | 450.2 | 146.9 | 2507 | Y | 90 | 103 | 107 | 17 | 1 | 14.3 | 51.1 | 33.6 |  |  |  |  | 0.31 | 0.02 | 0.02 |  | 373.18 | 289.07 | 122.08 | 189.52 | 196.44 | 189.38 | 328.02 | 381.21 | 142.03 | 233.49 | 262.26 | 141.23 | 712.36 | 7.24 | 0.65 | 1.35
11 | 2019-06-01 | 2019-06-30 23:30 | DARYA GANG | JAMA MASJID | 1120 | JMS015 | 1S-DL-YP-CTC-DDRG-0101-JMS015 | KUCHA CHELAN-2:PL | TG-JMS015A-1 | 19506158 | 990 | 320 | 250 | 0.93 | 1004 | 329 | 1292 | 339 | 1320 | 335 | 1307 | 24 | 2019-06-05 04:30 | 403.5 | 135 | 2204 | Y | 106 | 123 | 71 | 52 | 0.4 | 23.8 | 53.3 | 22.5 |  |  |  |  | 1 | 0.01 | 0.01 | 1.31 | 444.23 | 233.2 | 614.41 | 510.54 | 233.05 | 277.57 | 0.3 | 173.55 | 8.52 | 176.02 | 1 | 1 | 687.2 | 32.4 | 0.7 | 1.01
12 | 2019-06-01 | 2019-06-30 23:30 | DARYA GANG | JAMA MASJID | 1120 | JMS017 | 1S-DL-YP-CTC-DDRG-0101-JMS017 | KUCHA DAKHINI RAI:PL | TG-JMS017A-1 | 19506016 | 990 | 320 | 228 | 0.95 | 1081 | 454 | 2200 | 219 | 1004 | 408 | 2140 | 1168 | 2019-06-01 19:00 | 447.7 | 48 | 2855 | B | 91 | 92 | 117 | 26 | 1.4 | 46.2 | 52.2 | 0.3 | 40.51 | 3.3 | 4.51 | 5.21 | 22 | 123.21 | 123.21 | 36 | 562.11 | 485.11 | 347.14 | 496.41 | 70.58 | 81.28 | 232.27 | 156.58 | 0.3 | 3 | 78.28 | 1.3 | 696.3 | 23.3 | 0.6 | 1.09
13 | 2019-06-01 | 2019-06-30 23:30 | DARYA GANG | JAMA MASJID | 1120 | JMS019 | 1S-DL-YP-CTC-DDRG-0101-JMS019 | MOTHER DAIRY:K | TG-JMS019A-1 | 19500379 | 630 | 200 | 233 | 0.97 | 635 | 283 | 1194 | 169 | 704 | 183 | 769 | 461 | 2019-06-05 02:00 | 151.8 | 52 | 1224 | R | 112 | 85 | 103 | 27 |  |  | 14.4 | 85.6 |  |  |  |  | 4 | 20.59 | 20.59 | 7.3 | 452.2 | 655.43 | 539 | 618.12 | 174.52 | 16 | 141.42 | 66.3 | 61.3 |  | 1 | 0.3 | 712.49 | 7.11 | 0.66 | 1.01
14 | 2019-06-01 | 2019-06-30 23:30 | DARYA GANG | JAMA MASJID | 1120 | JMS021 | 1S-DL-YP-CTC-DDRG-0101-JMS021 | NEW DUJANA HOUSE 8 PANEL:ID | TG-JMS021A-5 | 19500202 | 990 | 320 | 229 | 0.95 | 1084 | 416 | 1832 | 328 | 1436 | 341 | 1479 | 377 | 2019-06-11 00:30 | 339.3 | 64.8 | 1869 | R | 113 | 97 | 90 | 23 |  | 14.3 | 81.6 | 4.2 |  |  | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 |  | 187.3 | 401.3 | 489.3 | 348.3 | 311.4 | 291.35 | 218.04 | 319.35 | 219.24 | 25.29 | 9.3 | 50.29 | 719.04 | 0.56 | 0.73 | 1.09
15 | 2019-06-01 | 2019-06-30 23:30 | DARYA GANG | JAMA MASJID | 1120 | JMS021 | 1S-DL-YP-CTC-DDRG-0101-JMS021 | NEW DUJANA HOUSE 8 PANEL:ID | TG-JMS021A-4 | 19500203 | 990 | 320 | 230 | 0.95 | 1022 | 377 | 1608 | 272 | 1157 | 373 | 1597 | 445 | 2019-06-02 04:30 | 320.2 | 128.8 | 1718 | B | 104 | 80 | 115 | 35 |  |  | 33.5 | 66.5 | [5 empty] | 15 | 15 |  | 396.17 | 698.49 | 256.47 | 458.46 | 275.34 | 5 | 331.04 | 256.33 | 46.58 |  | 130.58 | 3.3 | 718.49 | 1.11 | 0.72 | 1.03
16 | 2019-06-01 | 2019-06-30 23:30 | DARYA GANG | JAMA MASJID | 1120 | JMS022 | 1S-DL-YP-CTC-DDRG-0101-JMS022 | OLD DUJANA:K | TG-JMS022A-2 | 19500383 | 990 | 320 | 230 | 0.95 | 1002 | 355 | 1585 | 266 | 1167 | 381 | 1717 | 497 | 2019-06-03 | 288.5 | 75.8 | 1852 | B | 94 | 91 | 116 | 25 |  | 8.1 | 68.2 | 23.6 |  | 0.3 |  |  | 7 | 4.3 | 4.3 | 4.3 | 579.03 | 609.54 | 259 | 473.33 | 124.49 | 104.28 | 358.33 | 237.49 | 8.3 |  | 98.49 | 3.3 | 719.22 | 0.38 | 0.73 | 1.01
17 | 2019-06-01 | 2019-06-30 23:30 | DARYA GANG | JAMA MASJID | 1120 | JMS022 | 1S-DL-YP-CTC-DDRG-0101-JMS022 | OLD DUJANA:K | TG-JMS022A-1 | 19506594 | 990 | 320 | 235 | 0.94 | 1180 | 361 | 1524 | 308 | 1305 | 510 | 2227 | 834 | 2019-06-02 04:00 | 442.9 | 146.9 | 2582 | B | 97 | 81 | 122 | 41 | 4.7 | 28.1 | 66.6 | 0.6 |  |  |  |  | 1.3 | 10 | 10 |  | 373 | 606.38 | 123.3 | 360.3 | 283.12 | 78.15 | 282.3 | 308.45 | 37.29 | 0.18 | 289.11 | 25.56 | 695.11 | 24.49 | 0.66 | 1.19
18 | 2019-06-01 | 2019-06-30 23:30 | DARYA GANG | JAMA MASJID | 1120 | JMS024 | 1S-DL-YP-CTC-DDRG-0101-JMS024 | SSA ROAD:PL:PG | TG-JMS024A-1 | 19503516 | 990 | 320 | 230 | 0.97 | 1035 | 388 | 1702 | 307 | 1336 | 341 | 1473 | 321 | 2019-06-30 02:30 | 242.9 | 88.3 | 1735 | R | 130 | 56 | 113 | 74 |  |  | 33.3 | 66.7 |  | 301.27 |  |  | 1 | 3.3 | 3.3 | 1 | 300.58 | 390.25 | 531.25 | 640.22 | 366.24 | 23 | 185.27 | 76 | 50 |  | 1.3 | 1 | 718.22 | 1.38 | 0.61 | 1.05
19 | 2019-06-01 | 2019-06-30 23:30 | DARYA GANG | JAMA MASJID | 1120 | JMS025 | 1S-DL-YP-CTC-DDRG-0101-JMS025 | TIRAHA BAIRAM KHAN:ID | TG-JMS025A-2 | 19500359 | 990 | 320 | 233 | 0.96 | 1407 | 433 | 1843 | 488 | 2078 | 486 | 2085 | 239 | 2019-06-01 22:30 | 370.9 | 49.3 | 2191 | B | 96 | 94 | 110 | 16 |  |  | 25.6 | 74.4 | 0.3 | 0.3 | [5 empty] | 0.3 | 137.05 | 187.56 | 45.38 | 101.15 | 317.2 | 280.31 | 183.34 | 280.4 | 261.53 | 247.51 | 487.06 | 334.23 | 716.48 | 3.12 | 0.69 | 1.42
20 | 2019-06-01 | 2019-06-30 23:30 | DARYA GANG | JAMA MASJID | 1120 | JMS033 | 1S-DL-YP-CTC-DDRG-0101-JMS033 | HOTEL BROADWAY:K | TG-JMS033A-1 | 19500330 | 990 | 320 | 234 | 0.95 | 1013 | 382 | 1671 | 348 | 1533 | 283 | 1218 | 402 | 2019-06-27 01:30 | 322.4 | 107.5 | 1671 | R | 109 | 106 | 85 | 24 |  | 4.7 | 68.4 | 27 |  |  |  |  | 7.3 | 7.59 | 7.59 | 12.29 | 418.38 | 453.1 | 627.39 | 498.39 | 210.3 | 233.59 | 50.3 | 206 | 82 | 23.3 |  | 1.3 | 718.38 | 1.22 | 0.69 | 1.02
21 | 2019-06-01 | 2019-06-30 23:30 | DARYA GANG | JAMA MASJID | 1120 | JMS033 | 1S-DL-YP-CTC-DDRG-0101-JMS033 | HOTEL BROADWAY:K | TG-JMS033A-3 | 19506159 | 990 | 320 | 236 | 0.95 | 1087 | 471 | 2110 | 322 | 1386 | 294 | 1272 | 787 | 2019-06-02 03:00 | 346.2 | 65.3 | 2223 | R | 132 | 78 | 90 | 54 | 15.6 | 5.3 | 48.1 | 31 |  | 0.3 |  |  | 18.01 | 215.14 | 215.14 | 34.31 | 449.36 | 465.27 | 625.23 | 641.4 | 118.46 | 6.03 | 6.37 | 9.19 | 103.39 | 2.48 |  | 4.32 | 690.02 | 29.58 | 0.52 | 1.1