## Underload DTs
MIS Report of Distribution Transformer - Jun19
Jun19 1130 PAHAR GANJ (Underload DTs)
Sn. | Study Period |  | Division Name | Zone | Div Code | Sap Code | Sap Function Code | DT Name | DT Code | Meter Serial No. | KVA Rating | MF | VOLTAGE | POWER FACTOR | Peak Loading Conditions | [8 empty] | Reactive Demand (KVAR) |  | Highest Phase Current |  | % Relative Phase Unbalance |  |  | %Unbalance | % Voltage Unbalance (%Time of total study period) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) | [5 empty] | LF | UF
[15 empty] | Peak KVA | R Phase |  | Y Phase |  | B Phase |  | Neutral Current (AMP) | Date and Time
[16 empty] | KVA | I (AMP) | KVA | I (AMP) | KVA | I (AMP) |  |  | MAX | MIN | Current(AMP) | Phase | R-Ph | Y-Ph | B-Ph | {I(Max)-I(Min)} / I(Average) | >3% | <=3% and >2% | <=2% and >1% | <=1% | < 20% |  |  |  | 20%-40% |  |  |  | 40%-80% |  |  |  | 80%-100% |  |  |  | >100% |  |  |  | ON ( in HH:MI) | OFF ( in HH:MI)
[36 empty] | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer
1 | 2019-06-01 | 2019-06-30 23:30 | PAHAR GANG | B G ROAD | 1130 | BGR024 | 1S-DL-YP-CTC-DPHG-0112-BGR024 | TIKONA PARK:PG | TG-BGR024A-2 | 19506262 | 400 | 120 | 240 | 0.98 | 84 | 20 | 83 | 28 | 120 | 36 | 156 | 63 | 2019-06-11 14:30 | 23.6 | 0.8 | 164 | B | 54 | 114 | 132 | 78 | 0.3 |  | 34.3 | 65.5 | 704.49 | 645.19 | 588.49 | 700.49 |  | 59.3 | 59.3 | 4 | [12 empty] | 704.49 | 15.11 | 0.36 | 0.21
2 | 2019-06-05 | 2019-06-30 23:30 | PAHAR GANG | CHUNA MANDI & RAM NAGAR | 1130 | CHN002 | 1S-DL-YP-CTC-DPHG-0113-CHN002 | ARAM BAGH S/S NO. 2:ID | TG-CHN002A-2 | 19504888 | 990 | 320 | 247 | 0.96 | 188 | 55 | 213 | 71 | 276 | 63 | 245 | 54 | 2019-06-06 06:30 | 106 | 0.7 | 276 | Y | 88 | 109 | 104 | 21 |  |  | 0.2 | 99.8 | 621.57 | 619.57 | 621.57 | 621.57 |  | 2 | 2 | [13 empty] | 621.57 | 2.03 | 0.31 | 0.19
3 | 2019-06-01 | 2019-06-30 23:30 | PAHAR GANG | CHUNA MANDI & RAM NAGAR | 1130 | CHN014 | 1S-DL-YP-CTC-DPHG-0113-CHN014 | RAILWAY COLONY:ID | TG-CHN014A-2 | 19500147 | 990 | 320 | 241 | 0.94 | 109 | 58 | 246 | 18 | 77 | 33 | 141 | 148 | 2019-06-30 00:30 | 38.3 | 8.8 | 246 | R | 147 | 57 | 96 | 90 | 1 | 0.7 | 82.4 | 16 | 718.26 | 718.26 | 718.26 | 718.26 | [16 empty] | 718.26 | 1.34 | 0.62 | 0.11
4 | 2019-06-06 | 2019-06-30 23:30 | PAHAR GANG | CHUNA MANDI & RAM NAGAR | 1130 | RAM014 | 1S-DL-YP-CTC-DPHG-0114-RAM014 | HOTEL KABIR:PL | TG-RAM014A-2 | 19505448 | 630 | 200 | 244 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2019-06-30 23:30 |  |  | 0 | [7 empty] | 23.1 | 76.9 | 573.44 | 573.44 | 573.44 | 573.44 | [16 empty] | 573.44 | 26.16 |  | 0
5 | 2019-06-01 | 2019-06-30 23:30 | PAHAR GANG | CHUNA MANDI & RAM NAGAR | 1130 | RAM036 | 1S-DL-YP-CTC-DPHG-0114-RAM036 | R G COMPLEX:PKG | TG-RAM036A-1 | 19500001 | 990 | 320 | 246 | 0.97 | 219 | 73 | 308 | 61 | 255 | 85 | 351 | 83 | 2019-06-06 16:00 | 61.1 | -0.7 | 371 | B | 106 | 88 | 106 | 18 |  | 36.4 | 63.5 | 0.1 | 681.31 | 717.5 | 611.47 | 688.29 | 36.49 | 0.3 | 0.3 | 29.51 | [12 empty] | 718.2 | 1.4 | 0.34 | 0.22
6 | 2019-06-01 | 2019-06-30 23:30 | PAHAR GANG | CHUNA MANDI & RAM NAGAR | 1130 | RAM038 | 1S-DL-YP-CTC-DPHG-0114-RAM038 | M.S BLOCK-1 | TG-RAM038A-2 | 19504325 | 630 | 200 | 243 | 0.97 | 159 | 60 | 253 | 31 | 131 | 68 | 283 | 140 | 2019-06-13 23:30 | 34 | 6.4 | 283 | B | 105 | 81 | 114 | 33 |  |  | 2.5 | 97.5 | 598.4 | 715.4 | 581.13 | 667.1 | 118 | 1 | 1 | 49.3 | [12 empty] | 716.4 | 3.2 | 0.54 | 0.25
7 | 2019-06-01 | 2019-06-30 23:30 | PAHAR GANG | CHUNA MANDI & RAM NAGAR | 1130 | RAM040 | 1S-DL-YP-CTC-DPHG-0114-RAM040 | MULTI STORIED BLK NO-03, MOTIA KHAN | TG-RAM040A-1 | 19506700 | 400 | 120 | 243 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2019-06-30 23:30 |  |  | 0 | [6 empty] | 0.1 | 11.6 | 88.3 | 693.4 | 693.4 | 693.4 | 693.4 | [16 empty] | 693.4 | 26.2 |  | 0
8 | 2019-06-01 | 2019-06-30 23:30 | PAHAR GANG | PP QUARTERS | 1130 | PPQ025 | 1S-DL-YP-CTC-DPHG-0111-PPQ025 | CHOWK SINGHARA PL/M:ID | TG-PPQ025A-1 | 19500121 | 990 | 200 | 241 | 0.96 | 210 | 112 | 475 | 17 | 71 | 82 | 349 | 358 | 2019-06-06 15:00 | 65.8 | 17.5 | 475 | R | 145 | 26 | 129 | 119 |  |  | 9.3 | 90.7 | 353.37 | 693.38 | 442.06 | 682.38 | 340.01 |  |  | 11 | [12 empty] | 717.15 | 2.45 | 0.67 | 0.21
9 | 2019-06-01 | 2019-06-30 23:30 | PAHAR GANG | PP QUARTERS | 1130 | PPQ029 | 1S-DL-YP-CTC-DPHG-0111-PPQ029 | NEW SARAI KHALIL | TG-PPQ029A-2 | 19500144 | 400 | 120 | 261 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2019-06-30 23:30 |  |  | 0 | [7 empty] | 0.3 | 99.7 | 718.18 | 718.18 | 718.18 | 718.18 | [16 empty] | 718.18 | 1.42 |  | 0
10 | 2019-06-01 | 2019-06-30 23:30 | PAHAR GANG | PP QUARTERS | 1130 | PPQ029 | 1S-DL-YP-CTC-DPHG-0111-PPQ029 | NEW SARAI KHALIL | TG-PPQ029A-1 | 19504491 | 400 | 120 | 256 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2019-06-30 23:30 |  |  | 0 | [7 empty] | 21.4 | 78.6 | 718.18 | 718.18 | 718.18 | 718.18 | [16 empty] | 718.18 | 1.42 |  | 0
11 | 2019-06-01 | 2019-06-30 23:30 | PAHAR GANG | PP QUARTERS | 1130 | PPQ031 | 1S-DL-YP-CTC-DPHG-0111-PPQ031 | CHAMELIAN ROAD:PG | TG-PPQ031A-1 | 19506526 | 990 | 320 | 249 | 0.96 | 38 | 15 | 59 | 7 | 26 | 16 | 65 | 36 | 2019-06-04 08:00 | 13.1 | 0.3 | 76 | R | 175 | 83 | 42 | 133 |  | 0.1 | 78.5 | 21.3 | 696.27 | 696.27 | 696.27 | 696.27 | [16 empty] | 696.27 | 23.33 | 0.16 | 0.04