## Complete Report
MIS Report of Distribution Transformer - Jun19
Jun19 1140 SHANKAR ROAD (Complete Report)
Sn. | Study Period |  | Division Name | Zone | Div Code | Sap Code | Sap Function Code | DT Name | DT Code | Meter Serial No. | KVA Rating | MF | VOLTAGE | POWER FACTOR | Peak Loading Conditions | [8 empty] | Reactive Demand (KVAR) |  | Highest Phase Current |  | % Relative Phase Unbalance |  |  | %Unbalance | % Voltage Unbalance (%Time of total study period) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) | [5 empty] | LF | UF
[15 empty] | Peak KVA | R Phase |  | Y Phase |  | B Phase |  | Neutral Current (AMP) | Date and Time
[16 empty] | KVA | I (AMP) | KVA | I (AMP) | KVA | I (AMP) |  |  | MAX | MIN | Current(AMP) | Phase | R-Ph | Y-Ph | B-Ph | {I(Max)-I(Min)} / I(Average) | >3% | <=3% and >2% | <=2% and >1% | <=1% | < 20% |  |  |  | 20%-40% |  |  |  | 40%-80% |  |  |  | 80%-100% |  |  |  | >100% |  |  |  | ON ( in HH:MI) | OFF ( in HH:MI)
[36 empty] | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer
1 | 2019-06-01 | 2019-06-30 23:30 | SHANKAR ROAD | R BLOCK NEW RAJENDER NAGAR | 1140 | RJN069 | 1S-DL-YP-CTC-DSRD-1403-RJN069 | ST LT NO. 2 (WATER TANK):PM | TG-RJN069A-1 | 19506748 | 100 | 40 | 243 | 0.83 | 81 | 20 | 82 | 33 | 139 | 28 | 118 | 51 | 2019-06-27 19:30 | 61.6 | -2.4 | 139 | Y | 68 | 114 | 117 | 49 |  | 0.7 | 45.2 | 54.1 | 406.48 | 406.18 | 407.51 | 407.18 | 294.51 | 3.56 | 3.56 | 58.26 | 5.12 | 293.55 | 298.25 | 240.55 |  | 2.42 | 0.12 | 0.12 |  |  |  |  | 706.51 | 13.09 | 0.29 | 0.81