## Underload DTs
MIS Report of Distribution Transformer - Jun19
Jun19 1141 PATEL NAGAR (Underload DTs)
Sn. | Study Period |  | Division Name | Zone | Div Code | Sap Code | Sap Function Code | DT Name | DT Code | Meter Serial No. | KVA Rating | MF | VOLTAGE | POWER FACTOR | Peak Loading Conditions | [8 empty] | Reactive Demand (KVAR) |  | Highest Phase Current |  | % Relative Phase Unbalance |  |  | %Unbalance | % Voltage Unbalance (%Time of total study period) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) | [5 empty] | LF | UF
[15 empty] | Peak KVA | R Phase |  | Y Phase |  | B Phase |  | Neutral Current (AMP) | Date and Time
[16 empty] | KVA | I (AMP) | KVA | I (AMP) | KVA | I (AMP) |  |  | MAX | MIN | Current(AMP) | Phase | R-Ph | Y-Ph | B-Ph | {I(Max)-I(Min)} / I(Average) | >3% | <=3% and >2% | <=2% and >1% | <=1% | < 20% |  |  |  | 20%-40% |  |  |  | 40%-80% |  |  |  | 80%-100% |  |  |  | >100% |  |  |  | ON ( in HH:MI) | OFF ( in HH:MI)
[36 empty] | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer
1 | 2019-06-01 | 2019-06-30 23:30 | PATEL NAGAR | KIKARWALAN | 1141 | PNR073 | 1S-DL-YP-CTC-DPNR-1451-PNR073 | HOG MARKET:ID | TG-PNR073A-1 | 19506613 | 630 | 200 | 244 | 0.94 | 146 | 58 | 264 | 55 | 237 | 33 | 139 | 114 | 2019-06-03 13:00 | 46.4 | 16.4 | 338 | R | 115 | 102 | 83 | 32 | 0.3 |  | 12.4 | 87.3 | 521.12 | 635.11 | 706.11 | 675.41 | 184.59 | 71 | 71 | 30.3 | [12 empty] | 706.11 | 13.49 | 0.63 | 0.23
2 | 2019-06-01 | 2019-06-30 23:30 | PATEL NAGAR | KIKARWALAN | 1141 | PNR082 | 1S-DL-YP-CTC-DPNR-1451-PNR082 | VIKRANT TOWER | TG-PNR082A-1 | 19502480 | 990 | 320 | 244 | 0.89 | 105 | 34 | 149 | 36 | 156 | 35 | 147 | 9 | 2019-06-10 11:00 | 7.4 | -21.3 | 160 | Y | 120 | 86 | 94 | 34 | 23.8 | 76.2 |  |  | 719.39 | 719.39 | 719.39 | 719.39 | [16 empty] | 719.39 | 0.21 | 0.36 | 0.11
3 | 2019-06-01 | 2019-06-30 23:30 | PATEL NAGAR | KIKARWALAN | 1141 | PNR086 | 1S-DL-YP-CTC-DPNR-1451-PNR086 | RAJENDRA BHAWAN:ID | TG-PNR086A-1 | 19502757 | 990 | 320 | 239 | 0.98 | 120 | 52 | 227 | 41 | 179 | 27 | 119 | 94 | 2019-06-01 15:00 | 15.5 | -13.2 | 227 | R | 114 | 106 | 80 | 34 |  |  | 1.5 | 98.5 | 719.08 | 719.08 | 719.08 | 719.08 | [16 empty] | 719.08 | 0.52 | 0.46 | 0.12
4 | 2019-06-01 | 2019-06-30 23:30 | PATEL NAGAR | KIKARWALAN | 1141 | PNR086 | 1S-DL-YP-CTC-DPNR-1451-PNR086 | RAJENDRA BHAWAN:ID | TG-PNR086A-3 | 19502793 | 990 | 320 | 245 | 0.92 | 80 | 11 | 46 | 25 | 99 | 44 | 180 | 117 | 2019-06-29 18:30 | 24.3 | 6.6 | 189 | B | 39 | 77 | 183 | 144 |  | 0.1 | 58.4 | 41.5 | 719.31 | 719.31 | 719.31 | 719.31 | [16 empty] | 719.31 | 0.29 | 0.5 | 0.08
5 | 2019-06-01 | 2019-06-30 23:30 | PATEL NAGAR | KIKARWALAN | 1141 | PNR186 | 1S-DL-YP-CTC-DPNR-1451-PNR186 | GPRA 400 QUARTER DEV NAGAR | TG-PNR186A-2 | 19506287 | 630 | 200 | 246 | 0.99 | 113 | 19 | 78 | 52 | 218 | 42 | 174 | 124 | 2019-06-11 | 12.8 | 0.4 | 232 | Y | 41 | 147 | 112 | 106 |  |  | 53.9 | 46.1 | 696.3 | 622 | 696 | 696.3 |  | 74.3 | 74.3 | [13 empty] | 696.3 | 23.3 | 0.44 | 0.18
6 | 2019-06-01 | 2019-06-30 23:30 | PATEL NAGAR | KIKARWALAN | 1141 | PNR186 | 1S-DL-YP-CTC-DPNR-1451-PNR186 | GPRA 400 QUARTER DEV NAGAR | TG-PNR186A-3 | 19506289 | 630 | 200 | 246 | 0.98 | 107 | 36 | 148 | 35 | 146 | 35 | 146 | 2 | 2019-06-02 23:00 | 36.6 | 5.4 | 251 | Y | 94 | 107 | 100 | 13 |  |  | 9.5 | 90.5 | 703 | 702.3 | 703 | 703 |  | 0.3 | 0.3 | [13 empty] | 703 | 17 | 0.61 | 0.17
7 | 2019-06-01 | 2019-06-30 23:30 | PATEL NAGAR | KIKARWALAN | 1141 | PNR186 | 1S-DL-YP-CTC-DPNR-1451-PNR186 | GPRA 400 QUARTER DEV NAGAR | TG-PNR186A-6 | 19506295 | 630 | 200 | 246 | 0.98 | 10 | 3 | 11 | 3 | 11 | 4 | 16 | 5 | 2019-06-13 23:30 | 3.4 | 0.2 | 18 | B | 90 | 90 | 120 | 30 |  |  | 26.8 | 73.2 | 696.3 | 696.3 | 696.3 | 696.3 | [16 empty] | 696.3 | 23.3 | 0.56 | 0.02
8 | 2019-06-01 | 2019-06-30 23:30 | PATEL NAGAR | KIKARWALAN | 1141 | PNR186 | 1S-DL-YP-CTC-DPNR-1451-PNR186 | GPRA 400 QUARTER DEV NAGAR | TG-PNR186A-5 | 19506296 | 630 | 200 | 246 | 0.97 | 155 | 52 | 216 | 45 | 188 | 58 | 240 | 46 | 2019-06-11 05:30 | 107.6 | 5.6 | 255 | B | 92 | 79 | 129 | 50 |  |  | 11.7 | 88.3 | 710.3 | 715 | 539 | 707 | 9.3 | 5 | 5 | 13 | [12 empty] | 720 | 0 | 0.52 | 0.25
9 | 2019-06-01 | 2019-06-30 23:30 | PATEL NAGAR | KIKARWALAN | 1141 | PNR186 | 1S-DL-YP-CTC-DPNR-1451-PNR186 | GPRA 400 QUARTER DEV NAGAR | TG-PNR186A-4 | 19506297 | 990 | 300 | 247 | 0.99 | 127 | 34 | 142 | 54 | 226 | 39 | 165 | 75 | 2019-06-02 22:30 | 15.3 | 2.4 | 274 | R | 85 | 122 | 93 | 37 |  | 1.1 | 16.2 | 82.6 | 696.3 | 696.3 | 696.3 | 696.3 | [16 empty] | 696.3 | 23.3 | 0.57 | 0.13
10 | 2019-06-01 | 2019-06-30 23:30 | PATEL NAGAR | KIKARWALAN | 1141 | PNR186 | 1S-DL-YP-CTC-DPNR-1451-PNR186 | GPRA 400 QUARTER DEV NAGAR | TG-PNR186A-1 | 19506288 | 990 | 320 | 247 | 0.98 | 119 | 27 | 112 | 43 | 178 | 49 | 205 | 83 | 2019-06-11 23:30 | 16 | 1.3 | 217 | B | 65 | 108 | 127 | 62 |  | 0.1 | 5.1 | 94.9 | 720 | 720 | 720 | 720 | [16 empty] | 720 | 0 | 0.44 | 0.12
11 | 2019-06-01 | 2019-06-30 23:30 | PATEL NAGAR | KIKARWALAN | 1141 | PNR195 | 1S-DL-YP-CTC-DPNR-1451-PNR195 | G1.BLK GPRA 400 QUARTER DEV NAGAR PKG:7 | TG-PNR195A-1 | 19506557 | 990 | 300 | 247 | 0.99 | 52 | 15 | 63 | 19 | 77 | 18 | 72 | 12 | 2019-06-02 | 10.5 | 0.3 | 91 | Y | 85 | 111 | 103 | 26 |  |  | 7.6 | 92.4 | 702.3 | 702.3 | 702.3 | 702.3 | [16 empty] | 702.3 | 17.3 | 0.45 | 0.05
12 | 2019-06-01 | 2019-06-30 23:30 | PATEL NAGAR | KIKARWALAN | 1141 | PNR196 | 1S-DL-YP-CTC-DPNR-1451-PNR196 | K1.BLK GPRA 400 QUARTER DEV NAGAR PKG:8 | TG-PNR196A-1 | 19506579 | 990 | 300 | 246 | 1 | 9 | 9 | 35 | 0 | 0 | 0 | 0 | 35 | 2019-06-29 10:00 | 0.3 | -8.7 | 35 | R | 231 | 69 | 0 | 231 | 0.1 |  | 3.3 | 96.5 | 702.3 | 702.3 | 702.3 | 702.3 | [16 empty] | 702.3 | 17.3 | 0.01 | 0.01
13 | 2019-06-01 | 2019-06-30 23:30 | PATEL NAGAR | KIKARWALAN | 1141 | PNR197 | 1S-DL-YP-CTC-DPNR-1451-PNR197 | GPRA QUARTER DEV NAGAR NO. 9 | TG-PNR197A-1 | 19506834 | 990 | 300 | 247 | 0.94 | 8 | 0 | 0 | 0 | 0 | 8 | 34 | 34 | 2019-06-29 11:30 | 0.3 | -8.1 | 34 | B | 129 | 102 | 68 | 61 |  |  | 7.2 | 92.8 | 702.3 | 702.3 | 702.3 | 702.3 | [16 empty] | 702.3 | 17.3 | 0.03 | 0.01
14 | 2019-06-01 | 2019-06-30 23:30 | PATEL NAGAR | KIKARWALAN | 1141 | PNR198 | 1S-DL-YP-CTC-DPNR-1451-PNR198 | GPRA QUARTER DEV NAGAR NO. 10 | TG-PNR198A-1 | 19506840 | 990 | 300 | 246 | 0.98 | 36 | 6 | 26 | 19 | 78 | 10 | 42 | 46 | 2019-06-02 | 11.4 | 0.3 | 107 | Y | 71 | 130 | 99 | 59 | 0.1 |  | 9.6 | 90.3 | 702.3 | 702.3 | 702.3 | 702.3 | [16 empty] | 702.3 | 17.3 | 0.42 | 0.04
15 | 2019-06-01 | 2019-06-30 23:30 | PATEL NAGAR | PATEL NAGAR | 1141 | PNR046 | 1S-DL-YP-CTC-DPNR-1451-PNR046 | DMS STAFF QTRS (K):K | TG-PNR046A-1 | 19506606 | 400 | 120 | 241 | 0.98 | 89 | 44 | 193 | 21 | 91 | 25 | 107 | 95 | 2019-06-28 14:30 | 29.8 | 3.4 | 200 | R | 148 | 67 | 85 | 81 | 0.1 | 0.1 | 13.1 | 86.7 | 441.42 | 694.58 | 695.58 | 682.58 | 254.16 | 1 | 1 | 13 | [12 empty] | 695.58 | 24.02 | 0.55 | 0.22
16 | 2019-06-01 | 2019-06-30 23:30 | PATEL NAGAR | PATEL NAGAR | 1141 | PNR122 | 1S-DL-YP-CTC-DPNR-1451-PNR122 | TIKONA PARK NEHRU NAGAR:PL | TG-PNR122A-2 | 19505954 | 630 | 200 | 246 | 0.98 | 36 | 12 | 50 | 19 | 80 | 5 | 21 | 51 | 2019-06-28 06:30 | 13.6 | 0.4 | 103 | Y | 129 | 104 | 67 | 62 |  |  | 3.9 | 96.1 | 711.3 | 711.3 | 711.3 | 711.3 | [16 empty] | 711.3 | 8.3 | 0.54 | 0.06
17 | 2019-06-01 | 2019-06-30 23:30 | PATEL NAGAR | SARAI ROHILLA | 1141 | PNR096 | 1S-DL-YP-CTC-DPNR-1451-PNR096 | DHAL WALA GALI NO-6 | TG-PNR096A-2 | 19502622 | 990 | 320 | 249 | 0.88 | 206 | 64 | 253 | 76 | 304 | 66 | 265 | 46 | 2019-06-30 16:30 | 24.3 | -81 | 306 | Y | 96 | 106 | 98 | 10 |  |  | 8.4 | 91.6 | 717.3 | 705.3 | 716.3 | 716 |  | 12 | 12 | 1.3 | [12 empty] | 717.3 | 2.3 | 0.38 | 0.21
18 | 2019-06-01 | 2019-06-30 23:30 | PATEL NAGAR | SARAI ROHILLA | 1141 | PNR189 | 1S-DL-YP-CTC-DPNR-1451-PNR189 | CEMENT ROAD GALI NO-4 | TG-PNR189A-1 | 19506375 | 630 | 200 | 249 | 0.87 | 147 | 53 | 219 | 43 | 178 | 51 | 211 | 38 | 2019-06-27 11:00 | 63.8 | -53.4 | 219 | R | 103 | 89 | 108 | 19 |  |  | 11.1 | 88.9 | 699.39 | 711.39 | 694.39 | 704.09 | 14.3 | 2.3 | 2.3 | 10 | [12 empty] | 714.09 | 5.51 | 0.33 | 0.23