## Underload DTs
MIS Report of Distribution Transformer - Jun19
Jun19 1240 MAYUR VIHAR PH- I & II (Underload DTs)
Sn. | Study Period |  | Division Name | Zone | Div Code | Sap Code | Sap Function Code | DT Name | DT Code | Meter Serial No. | KVA Rating | MF | VOLTAGE | POWER FACTOR | Peak Loading Conditions | [8 empty] | Reactive Demand (KVAR) |  | Highest Phase Current |  | % Relative Phase Unbalance |  |  | %Unbalance | % Voltage Unbalance (%Time of total study period) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) | [5 empty] | LF | UF
[15 empty] | Peak KVA | R Phase |  | Y Phase |  | B Phase |  | Neutral Current (AMP) | Date and Time
[16 empty] | KVA | I (AMP) | KVA | I (AMP) | KVA | I (AMP) |  |  | MAX | MIN | Current(AMP) | Phase | R-Ph | Y-Ph | B-Ph | {I(Max)-I(Min)} / I(Average) | >3% | <=3% and >2% | <=2% and >1% | <=1% | < 20% |  |  |  | 20%-40% |  |  |  | 40%-80% |  |  |  | 80%-100% |  |  |  | >100% |  |  |  | ON ( in HH:MI) | OFF ( in HH:MI)
[36 empty] | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer
1 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR I & II | S/STN 8 POCKET C | 1240 | MV2001 | 1S-DL-YP-ETC-DMVR-2302-MV2001 | 19 BLOCK KALYAN PURI:PL | TG-MV2001A-2 | 19504819 | 400 | 120 | 252 | 0.96 | 84 | 8 | 31 | 55 | 217 | 21 | 84 | 166 | 2019-06-12 | 27.3 | 6.9 | 221 | Y | 35 | 185 | 80 | 150 |  |  | 4.2 | 95.8 | 719.23 | 143 | 718.53 | 715.23 |  | 573.53 | 573.53 | 4 |  | 2.3 | [10 empty] | 719.23 | 0.37 | 0.66 | 0.21
2 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR I & II | S/STN 8 POCKET C | 1240 | MV2011 | 1S-DL-YP-ETC-DMVR-2302-MV2011 | KALYAN VAS:ID | TG-MV2011A-2 | 19505209 | 630 | 200 | 247 | 0.96 | 106 | 22 | 90 | 56 | 229 | 28 | 113 | 129 | 2019-06-11 23:30 | 25.8 | 4.6 | 229 | Y | 66 | 147 | 87 | 81 |  |  | 6 | 94 | 695.33 | 585.11 | 695.33 | 695.33 |  | 110.22 | 110.22 | [13 empty] | 695.33 | 24.27 | 0.53 | 0.17
3 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR I & II | S/STN 8 POCKET C | 1240 | MV2012 | 1S-DL-YP-ETC-DMVR-2302-MV2012 | L.B.S. RESIDENCE:ID | TG-MV2012A-1 | 19500442 | 400 | 120 | 247 | 0.97 | 71 | 20 | 80 | 31 | 125 | 21 | 83 | 44 | 2019-06-27 | 15.5 | 3 | 125 | Y | 108 | 117 | 75 | 42 |  |  | 1.3 | 98.7 | 718.24 | 712.54 | 719.24 | 719.24 | 1 | 6.3 | 6.3 | [13 empty] | 719.24 | 0.36 | 0.51 | 0.18
4 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR I & II | S/STN 8 POCKET C | 1240 | MV2017 | 1S-DL-YP-ETC-DMVR-2302-MV2017 | L.S.C. S/S 3 MVR-II:PL | TG-MV2017A-1 | 19502555 | 400 | 120 | 228 | 0.96 | 40 | 14 | 64 | 9 | 39 | 18 | 79 | 35 | 2019-06-26 13:30 | 8.6 | 0.3 | 95 | R | 138 | 41 | 122 | 97 |  | 1.5 | 28.7 | 69.9 | 719.31 | 719.31 | 719.31 | 719.31 | [16 empty] | 719.31 | 0.29 | 0.24 | 0.1
5 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR I & II | S/STN 8 POCKET C | 1240 | MV2019 | 1S-DL-YP-ETC-DMVR-2302-MV2019 | L.SC-II MVR PH-II:ID | TG-MV2019A-1 | 19505202 | 630 | 200 | 242 | 0.96 | 146 | 47 | 199 | 59 | 265 | 40 | 174 | 81 | 2019-06-10 14:30 | 42.4 | 5.6 | 265 | Y | 119 | 96 | 85 | 34 | 0.1 | 0.4 | 9.9 | 89.6 | 565.27 | 694.49 | 682.49 | 690.49 | 130.22 | 1 | 1 | 5 | [12 empty] | 695.49 | 24.11 | 0.39 | 0.23
6 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR I & II | S/STN 8 POCKET C | 1240 | MV2021 | 1S-DL-YP-ETC-DMVR-2302-MV2021 | S/S NO.I LSC MVR-II:ID | TG-MV2021A-2 | 19505024 | 630 | 200 | 241 | 0.99 | 149 | 40 | 175 | 53 | 231 | 56 | 237 | 59 | 2019-06-29 15:00 | 19.3 | -8.7 | 254 | B | 89 | 102 | 109 | 20 | 98.4 | 1.6 |  |  | 718.31 | 596.01 | 569.31 | 648.01 | 1 | 123.3 | 123.3 | 71.3 | [12 empty] | 719.31 | 0.29 | 0.49 | 0.24
7 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR I & II | S/STN 8 POCKET C | 1240 | MV2069 | 1S-DL-YP-ETC-DMVR-2302-MV2069 | DMRC STAFF QTRS VINOD NAGAR | TG-MV2069A-2 | 19506461 | 990 | 320 | 248 | 0.98 | 186 | 64 | 271 | 57 | 241 | 65 | 273 | 31 | 2019-06-30 23:30 | 48.3 | -14.4 | 317 | B | 99 | 97 | 104 | 7 |  |  | 0.6 | 99.4 | 695.3 | 696 | 694.3 | 696 | 0.3 | [15 empty] | 696 | 24 | 0.63 | 0.19
8 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR I & II | S/STN 8 POCKET C | 1240 | MV2069 | 1S-DL-YP-ETC-DMVR-2302-MV2069 | DMRC STAFF QTRS VINOD NAGAR | TG-MV2069A-1 | 19506462 | 630 | 200 | 245 | 0.99 | 94 | 53 | 222 | 24 | 98 | 17 | 74 | 138 | 2019-06-30 14:30 | 29.6 | 0.8 | 222 | R | 105 | 129 | 66 | 63 | 11.7 |  | 0.1 | 88.2 | 664 | 664 | 664.3 | 664.3 | 0.3 | 0.3 | 0.3 | [13 empty] | 696 | 24 | 0.45 | 0.15
9 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR I & II | SADAR APPARTMENTS | 1240 | MV1001 | 1S-DL-YP-ETC-DMVR-2301-MV1001 | SUPREME CGHS S/S 1:ID | TG-MV1001A-1 | 19503346 | 630 | 200 | 231 | 0.98 | 149 | 55 | 239 | 53 | 228 | 41 | 178 | 56 | 2019-06-29 16:00 | 21.6 | 5.1 | 261 | B | 95 | 98 | 107 | 12 |  |  | 0.3 | 99.7 | 697.16 | 691.46 | 645.58 | 707.16 | 21 | 26.3 | 26.3 | 11 | [12 empty] | 718.16 | 1.44 | 0.53 | 0.24
10 | 2019-06-02 | 2019-06-30 23:30 | MAYUR VIHAR I & II | SADAR APPARTMENTS | 1240 | MV1001 | 1S-DL-YP-ETC-DMVR-2301-MV1001 | SUPREME CGHS S/S 1:ID | TG-MV1001A-2 | 19504820 | 630 | 200 | 244 | 0.93 | 72 | 25 | 102 | 18 | 75 | 29 | 119 | 39 | 2019-06-14 15:00 | 33.1 | -68.5 | 119 | B | 103 | 98 | 99 | 5 |  |  | 4.6 | 95.4 | 694.17 | 694.17 | 694.17 | 694.17 | [16 empty] | 694.17 | 1.43 | 0.39 | 0.11
11 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR I & II | SADAR APPARTMENTS | 1240 | MV1002 | 1S-DL-YP-ETC-DMVR-2301-MV1002 | SUPREME CGHS S/S 2:ID | TG-MV1002A-1 | 19504312 | 630 | 200 | 245 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2019-06-30 23:30 |  |  | 0 | [6 empty] | 0.1 | 4.3 | 95.6 | 718.06 | 718.06 | 718.06 | 718.06 | [16 empty] | 718.06 | 1.54 |  | 0
12 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR I & II | SADAR APPARTMENTS | 1240 | MV1003 | 1S-DL-YP-ETC-DMVR-2301-MV1003 | SUPREM CGHS S/S 3:ID | TG-MV1003A-1 | 19506271 | 630 | 200 | 245 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2019-06-30 23:30 |  |  | 0 | [7 empty] | 4.7 | 95.3 | 718.12 | 718.12 | 718.12 | 718.12 | [16 empty] | 718.12 | 1.48 |  | 0
13 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR I & II | SADAR APPARTMENTS | 1240 | MV1010 | 1S-DL-YP-ETC-DMVR-2301-MV1010 | ANAND LOK CGHS S/S 1:ID | TG-MV1010A-2 | 19500468 | 630 | 200 | 242 | 0.98 | 156 | 63 | 257 | 52 | 210 | 42 | 169 | 77 | 2019-06-03 | 28.5 | 2.3 | 257 | R | 106 | 112 | 82 | 30 |  | 6 | 93.7 | 0.3 | 639.13 | 635.13 | 715.31 | 678.43 | 78.48 | 82.48 | 82.48 | 39.18 | [12 empty] | 718.01 | 1.59 | 0.5 | 0.25
14 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR I & II | SADAR APPARTMENTS | 1240 | MV1011 | 1S-DL-YP-ETC-DMVR-2301-MV1011 | ANAND LOK CGHS S/S 2:ID | TG-MV1011A-1 | 19500469 | 630 | 200 | 242 | 0.97 | 152 | 58 | 238 | 39 | 158 | 56 | 228 | 75 | 2019-06-11 23:00 | 36.8 | 5.5 | 280 | R | 126 | 80 | 94 | 46 |  |  | 0.4 | 99.6 | 497.46 | 689.05 | 643.08 | 667.05 | 194.49 | 3.3 | 3.3 | 25.3 | [12 empty] | 715.49 | 4.11 | 0.57 | 0.24
15 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR I & II | SADAR APPARTMENTS | 1240 | MV1014 | 1S-DL-YP-ETC-DMVR-2301-MV1014 | S/S-1 SOUTH OF LAKE:ID | TG-MV1014A-1 | 19504742 | 630 | 200 | 240 | 0.98 | 169 | 68 | 284 | 52 | 216 | 49 | 205 | 74 | 2019-06-11 22:30 | 23.9 | 7.4 | 284 | R | 125 | 78 | 97 | 47 |  |  | 8 | 92 | 525.49 | 687.21 | 668.51 | 649.51 | 193.26 | 31.54 | 31.54 | 69.24 | [12 empty] | 719.15 | 0.45 | 0.51 | 0.27
16 | 2019-06-02 | 2019-06-30 23:30 | MAYUR VIHAR I & II | SADAR APPARTMENTS | 1240 | MV1022 | 1S-DL-YP-ETC-DMVR-2301-MV1022 | S/S-3 PKT-1 MVR PH-I:ID | TG-MV1022A-1 | 19503444 | 630 | 200 | 245 | 0.95 | 169 | 43 | 174 | 48 | 191 | 78 | 319 | 138 | 2019-06-15 15:00 | 48.8 | 7.8 | 319 | B | 81 | 78 | 141 | 63 |  |  | 39.9 | 60.1 | 671.17 | 674.39 | 396.23 | 629.17 | 24.22 | 21 | 21 | 66.22 | [12 empty] | 695.39 | 0.21 | 0.49 | 0.27
17 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR I & II | SADAR APPARTMENTS | 1240 | MV1027 | 1S-DL-YP-ETC-DMVR-2301-MV1027 | DDA PUMP HOUSE PKT-IV MVR PH-1:PM | TG-MV1027A-1 | 19502574 | 400 | 120 | 237 | 0.61 | 61 | 20 | 82 | 22 | 90 | 19 | 79 | 10 | 2019-06-29 19:30 | 56.3 | -42.2 | 90 | Y | 99 | 103 | 99 | 4 |  | 0.1 | 0.7 | 99.2 | 717.55 | 717.55 | 717.55 | 717.55 | [16 empty] | 717.55 | 2.05 | 0.21 | 0.15
18 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR I & II | SADAR APPARTMENTS | 1240 | MV1041 | 1S-DL-YP-ETC-DMVR-2301-MV1041 | DAROANACHARYA CGHS S/S-1:ID | TG-MV1041A-1 | 19500437 | 400 | 120 | 246 | 0.98 | 95 | 35 | 144 | 39 | 161 | 22 | 90 | 64 | 2019-06-30 | 15.7 | 1.7 | 202 | R | 123 | 111 | 66 | 57 |  |  | 13 | 87 | 576.35 | 625.05 | 719.35 | 692.35 | 143 | 94.3 | 94.3 | 27 | [12 empty] | 719.35 | 0.25 | 0.49 | 0.24
19 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR I & II | SADAR APPARTMENTS | 1240 | MV1042 | 1S-DL-YP-ETC-DMVR-2301-MV1042 | DAROANACHARYA CGHS S/S-2:ID | TG-MV1042A-1 | 19500439 | 400 | 120 | 245 | 0.97 | 34 | 12 | 51 | 10 | 43 | 12 | 51 | 9 | 2019-06-10 22:30 | 10.2 | 0.3 | 73 | R | 138 | 60 | 103 | 78 |  | 0.5 | 25.7 | 73.8 | 719.37 | 719.37 | 719.37 | 719.37 | [16 empty] | 719.37 | 0.23 | 0.49 | 0.09
20 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR I & II | SADAR APPARTMENTS | 1240 | MV1042 | 1S-DL-YP-ETC-DMVR-2301-MV1042 | DAROANACHARYA CGHS S/S-2:ID | TG-MV1042A-2 | 19505549 | 400 | 120 | 246 | 0.95 | 65 | 20 | 82 | 28 | 116 | 16 | 66 | 44 | 2019-06-09 16:30 | 27.2 | 1.6 | 121 | Y | 94 | 132 | 74 | 58 |  | 0.1 | 11 | 89 | 719.36 | 705.06 | 719.36 | 719.36 |  | 14.3 | 14.3 | [13 empty] | 719.36 | 0.24 | 0.53 | 0.16
21 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR I & II | SADAR APPARTMENTS | 1240 | MV1044 | 1S-DL-YP-ETC-DMVR-2301-MV1044 | SAMACHAR CGHS S/S-1:ID | TG-MV1044A-1 | 19506369 | 630 | 200 | 239 | 0.97 | 129 | 50 | 213 | 40 | 173 | 39 | 167 | 44 | 2019-06-02 23:00 | 37.6 | 4.4 | 249 | R | 106 | 104 | 90 | 16 | 0.1 |  | 4.4 | 95.5 | 655.45 | 690.45 | 695.15 | 695.15 | 40.3 | 5.3 | 5.3 | 1 | [12 empty] | 696.15 | 23.45 | 0.59 | 0.21
22 | 2019-06-03 | 2019-06-30 23:30 | MAYUR VIHAR I & II | SADAR APPARTMENTS | 1240 | MV1046 | 1S-DL-YP-ETC-DMVR-2301-MV1046 | STN-8 PKT-1 MVR-1(SWITCHING STN) | TG-MV1046A-2 | 19504893 | 630 | 200 | 239 | 0.98 | 140 | 47 | 196 | 35 | 148 | 58 | 246 | 85 | 2019-06-29 23:30 | 21.6 | 5.5 | 256 | B | 96 | 110 | 94 | 16 |  |  | 8.8 | 91.2 | 601.18 | 567.38 | 624.37 | 635.48 | 68.19 | 101.59 | 101.59 | 33.49 | [12 empty] | 669.37 | 2.23 | 0.64 | 0.22
23 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR I & II | SADAR APPARTMENTS | 1240 | MV1047 | 1S-DL-YP-ETC-DMVR-2301-MV1047 | VARDHAMAN CGHS:ID | TG-MV1047A-1 | 19500517 | 630 | 200 | 246 | 0.98 | 143 | 44 | 187 | 43 | 184 | 56 | 233 | 48 | 2019-06-29 22:00 | 23.5 | 3.2 | 260 | B | 95 | 88 | 118 | 30 |  | 0.2 | 77 | 22.7 | 610.47 | 614.17 | 515.17 | 594.47 | 13 | 9.3 | 9.3 | 29 | [12 empty] | 623.47 | 0.13 | 0.51 | 0.23
24 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR I & II | SADAR APPARTMENTS | 1240 | MV1047 | 1S-DL-YP-ETC-DMVR-2301-MV1047 | VARDHAMAN CGHS:ID | TG-MV1047A-2 | 19506272 | 630 | 200 | 246 | 0.99 | 159 | 59 | 242 | 33 | 135 | 66 | 271 | 124 | 2019-06-02 23:30 | 44 | -3.2 | 296 | B | 114 | 73 | 113 | 41 | 0.1 |  | 6.8 | 93.1 | 612.45 | 709.51 | 578.45 | 685.15 | 98 | 0.54 | 0.54 | 25.3 | [12 empty] | 710.45 | 9.15 | 0.56 | 0.25
25 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR I & II | SADAR APPARTMENTS | 1240 | MV1048 | 1S-DL-YP-ETC-DMVR-2301-MV1048 | LOVELY CGHS:ID | TG-MV1048A-2 | 19506632 | 630 | 200 | 236 | 0.98 | 164 | 71 | 304 | 51 | 215 | 42 | 182 | 109 | 2019-06-30 23:00 | 22 | 0.2 | 304 | R | 128 | 88 | 83 | 45 | 13.3 |  | 8.6 | 78.2 | 276.43 | 337.43 | 333.43 | 325.43 | 66.3 | 5.3 | 5.3 | 17.3 | [12 empty] | 710.34 | 9.26 | 0.45 | 0.26
26 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR I & II | SADAR APPARTMENTS | 1240 | MV1048 | 1S-DL-YP-ETC-DMVR-2301-MV1048 | LOVELY CGHS:ID | TG-MV1048A-1 | 19506677 | 630 | 200 | 246 | 0.97 | 89 | 33 | 133 | 32 | 128 | 25 | 100 | 31 | 2019-06-06 01:30 | 25 | 2.6 | 157 | R | 118 | 94 | 88 | 30 |  | 0.1 | 8.7 | 91.2 | 710.45 | 710.45 | 710.45 | 710.45 | [16 empty] | 710.45 | 9.15 | 0.62 | 0.14
27 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR I & II | SADAR APPARTMENTS | 1240 | MV1049 | 1S-DL-YP-ETC-DMVR-2301-MV1049 | UNITED CGHS S/S-1:ID | TG-MV1049A-1 | 19500495 | 400 | 120 | 245 | 0.98 | 93 | 21 | 89 | 34 | 144 | 37 | 160 | 65 | 2019-06-29 20:30 | 16.8 | 1.7 | 185 | B | 79 | 83 | 138 | 59 | 96.2 | 3.8 |  |  | 719.44 | 703.44 | 603.14 | 712.14 |  | 16 | 16 | 7.3 | [12 empty] | 719.44 | 0.16 | 0.44 | 0.23
28 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR I & II | SADAR APPARTMENTS | 1240 | MV1050 | 1S-DL-YP-ETC-DMVR-2301-MV1050 | UNITED CGHS S/S-2:ID | TG-MV1050A-1 | 19500493 | 400 | 120 | 240 | 0.98 | 99 | 34 | 145 | 43 | 187 | 22 | 94 | 81 | 2019-06-30 23:30 | 22.4 | 2.5 | 223 | Y | 88 | 141 | 72 | 69 | 66 | 20.3 | 11.3 | 2.4 | 672.15 | 493.15 | 719.45 | 651.15 | 47.3 | 226.3 | 226.3 | 68.3 | [12 empty] | 719.45 | 0.15 | 0.51 | 0.25
29 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR I & II | SADAR APPARTMENTS | 1240 | MV1051 | 1S-DL-YP-ETC-DMVR-2301-MV1051 | RIVER VIEW CGHS S/S-2:ID | TG-MV1051A-1 | 19500500 | 630 | 200 | 236 | 0.98 | 131 | 28 | 123 | 55 | 236 | 48 | 210 | 103 | 2019-06-11 | 21.2 | 0.5 | 266 | Y | 85 | 110 | 105 | 25 |  |  | 16.2 | 83.8 | 706.17 | 655.17 | 673.17 | 711.17 | 13.3 | 64.3 | 64.3 | 8.3 | [12 empty] | 719.47 | 0.13 | 0.56 | 0.21
30 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR I & II | SADAR APPARTMENTS | 1240 | MV1051 | 1S-DL-YP-ETC-DMVR-2301-MV1051 | RIVER VIEW CGHS S/S-2:ID | TG-MV1051A-2 | 19506500 | 630 | 200 | 239 | 0.99 | 94 | 16 | 67 | 33 | 146 | 45 | 196 | 112 | 2019-06-11 23:30 | 14.4 | 0.6 | 205 | B | 56 | 112 | 132 | 76 | 99.3 | 0.6 | 0.1 |  | 696.17 | 696.17 | 690.17 | 696.17 | [16 empty] | 696.17 | 23.43 | 0.5 | 0.15
31 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR I & II | SADAR APPARTMENTS | 1240 | MV1052 | 1S-DL-YP-ETC-DMVR-2301-MV1052 | SHEKHAR CGHS S/S-2:ID | TG-MV1052A-1 | 19500456 | 630 | 200 | 237 | 0.99 | 119 | 44 | 193 | 16 | 70 | 59 | 262 | 168 | 2019-06-10 22:00 | 12 | 2.8 | 273 | B | 107 | 43 | 149 | 106 |  |  | 16.5 | 83.5 | 715.17 | 719.47 | 642.17 | 719.47 | 4.3 | [15 empty] | 719.47 | 0.13 | 0.49 | 0.19
32 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR I & II | SADAR APPARTMENTS | 1240 | MV1053 | 1S-DL-YP-ETC-DMVR-2301-MV1053 | UPKAR CGHS:ID | TG-MV1053A-1 | 19500533 | 630 | 200 | 243 | 0.97 | 149 | 48 | 202 | 48 | 203 | 53 | 220 | 18 | 2019-06-02 23:30 | 26.2 | 3.7 | 240 | B | 100 | 95 | 105 | 10 | 0.4 | 1.9 | 29 | 68.7 | 656.47 | 683.47 | 597.47 | 652.17 | 39 | 12 | 12 | 43.3 | [12 empty] | 695.47 | 0.13 | 0.51 | 0.24
33 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR I & II | SADAR APPARTMENTS | 1240 | MV1054 | 1S-DL-YP-ETC-DMVR-2301-MV1054 | SADARCGHS:ID | TG-MV1054A-2 | 19500534 | 630 | 200 | 246 | 0.99 | 121 | 32 | 138 | 52 | 222 | 36 | 151 | 79 | 2019-06-29 23:00 | 16.1 | 1.8 | 228 | Y | 77 | 131 | 92 | 54 |  |  | 13.7 | 86.3 | 695.44 | 631.44 | 695.44 | 695.44 |  | 64 | 64 | [13 empty] | 695.44 | 0.16 | 0.5 | 0.19
34 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR I & II | SADAR APPARTMENTS | 1240 | MV1054 | 1S-DL-YP-ETC-DMVR-2301-MV1054 | SADARCGHS:ID | TG-MV1054A-1 | 19500535 | 630 | 200 | 245 | 0.98 | 98 | 26 | 109 | 38 | 157 | 34 | 144 | 43 | 2019-06-11 23:30 | 22.1 | 1.4 | 172 | B | 92 | 97 | 111 | 19 |  |  | 14.3 | 85.7 | 695.45 | 695.45 | 695.45 | 695.45 | [16 empty] | 695.45 | 0.15 | 0.55 | 0.16
35 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR I & II | SADAR APPARTMENTS | 1240 | MV1055 | 1S-DL-YP-ETC-DMVR-2301-MV1055 | S/S 2 CGHS CHILLA:ID | TG-MV1055A-1 | 19500693 | 400 | 120 | 245 | 1 | 1 | 0 | 0 | 1 | 6 | 0 | 0 | 6 | 2019-06-27 22:00 | 0.3 | 0.3 | 6 | Y | 0 | 300 | 0 | 300 |  |  | 15.2 | 84.8 | 623.53 | 623.53 | 623.53 | 623.53 | [16 empty] | 623.53 | 0.07 | 0.11 | 0
36 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR I & II | SADAR APPARTMENTS | 1240 | MV1059 | 1S-DL-YP-ETC-DMVR-2301-MV1059 | LSC CHILLA MVR PH-1:ID | TG-MV1059A-1 | 19504470 | 630 | 200 | 245 | 0.96 | 116 | 32 | 133 | 50 | 207 | 34 | 140 | 71 | 2019-06-06 12:00 | 27.6 | 5.5 | 207 | Y | 99 | 99 | 103 | 4 |  | 10.3 | 21.9 | 67.8 | 647.53 | 629.53 | 647.53 | 647.53 |  | 18 | 18 | [13 empty] | 647.53 | 0.07 | 0.48 | 0.18
37 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR I & II | SADAR APPARTMENTS | 1240 | MV1061 | 1S-DL-YP-ETC-DMVR-2301-MV1061 | KALA VIHAR CGHS:ID | TG-MV1061A-2 | 19500457 | 630 | 200 | 245 | 0.97 | 144 | 33 | 134 | 41 | 168 | 70 | 289 | 141 | 2019-06-03 | 28.1 | -9.7 | 307 | B | 79 | 77 | 144 | 67 |  |  | 34.1 | 65.9 | 621.23 | 623.53 | 426.53 | 594.53 | 2.3 |  |  | 29 | [12 empty] | 623.53 | 0.07 | 0.52 | 0.23
38 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR I & II | SADAR APPARTMENTS | 1240 | MV1061 | 1S-DL-YP-ETC-DMVR-2301-MV1061 | KALA VIHAR CGHS:ID | TG-MV1061A-1 | 19506275 | 630 | 200 | 246 | 0.98 | 134 | 62 | 259 | 41 | 170 | 31 | 127 | 117 | 2019-06-11 | 24.6 | 3.6 | 276 | R | 138 | 93 | 69 | 69 | 0.1 |  | 18.6 | 81.3 | 562.29 | 695.59 | 708.29 | 699.29 | 146 | 12.3 | 12.3 | 9 | [12 empty] | 708.29 | 11.31 | 0.51 | 0.21
39 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR I & II | SADAR APPARTMENTS | 1240 | MV1064 | 1S-DL-YP-ETC-DMVR-2301-MV1064 | MANAS VIHAR:ID | TG-MV1064A-2 | 19500464 | 990 | 300 | 245 | 0.98 | 180 | 57 | 242 | 56 | 236 | 67 | 280 | 42 | 2019-06-11 23:30 | 29 | 4.8 | 287 | R | 104 | 110 | 86 | 24 |  |  | 42.4 | 57.6 | 718 | 718 | 718 | 718.3 | 0.3 | 0.3 | 0.3 | [13 empty] | 718.3 | 1.3 | 0.5 | 0.18
40 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR I & II | SADAR APPARTMENTS | 1240 | MV1064 | 1S-DL-YP-ETC-DMVR-2301-MV1064 | MANAS VIHAR:ID | TG-MV1064A-1 | 19500465 | 990 | 300 | 245 | 0.97 | 171 | 68 | 286 | 52 | 215 | 51 | 211 | 73 | 2019-06-14 | 28.3 | 4.8 | 313 | R | 130 | 83 | 88 | 47 |  |  | 28.6 | 71.4 | 544.23 | 575.53 | 575.53 | 575.53 | 31.3 | [15 empty] | 575.53 | 0.07 | 0.52 | 0.17
41 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR I & II | SADAR APPARTMENTS | 1240 | MV1065 | 1S-DL-YP-ETC-DMVR-2301-MV1065 | NIRAMAN CGHS S/S-1:ID | TG-MV1065A-2 | 19505049 | 630 | 200 | 247 | 0.99 | 135 | 47 | 194 | 46 | 190 | 42 | 172 | 20 | 2019-06-12 00:30 | 17 | 2.3 | 214 | R | 108 | 90 | 102 | 18 |  |  | 3.7 | 96.3 | 679.15 | 704.45 | 713.45 | 709.15 | 40.3 | 15 | 15 | 10.3 | [12 empty] | 719.45 | 0.15 | 0.53 | 0.21
42 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR I & II | SADAR APPARTMENTS | 1240 | MV1068 | 1S-DL-YP-ETC-DMVR-2301-MV1068 | SAHYOG CGHS SS-II:ID | TG-MV1068A-1 | 19500467 | 630 | 200 | 243 | 0.96 | 78 | 27 | 111 | 28 | 114 | 23 | 93 | 20 | 2019-06-15 23:30 | 26.7 | 0.9 | 117 | Y | 100 | 105 | 95 | 10 |  |  | 0.2 | 99.8 | 719.11 | 719.11 | 719.11 | 719.11 | [16 empty] | 719.11 | 0.49 | 0.63 | 0.12
43 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR I & II | SADAR APPARTMENTS | 1240 | MV1070 | 1S-DL-YP-ETC-DMVR-2301-MV1070 | NAV BHARAT CGHS:ID | TG-MV1070A-2 | 19500446 | 400 | 120 | 244 | 0.97 | 91 | 37 | 152 | 21 | 87 | 33 | 135 | 58 | 2019-06-11 23:30 | 21.3 | 1.7 | 163 | R | 126 | 80 | 94 | 46 |  |  | 0.3 | 99.7 | 565.11 | 719.11 | 681.11 | 698.11 | 154 |  |  | 21 | [12 empty] | 719.11 | 0.49 | 0.52 | 0.23
44 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR I & II | SADAR APPARTMENTS | 1240 | MV1071 | 1S-DL-YP-ETC-DMVR-2301-MV1071 | MANU CGHS SS- I:ID | TG-MV1071A-1 | 19505848 | 990 | 300 | 245 | 0.96 | 205 | 68 | 284 | 41 | 171 | 95 | 397 | 196 | 2019-06-02 23:00 | 48.6 | 10.8 | 397 | B | 103 | 79 | 118 | 39 | 0.1 |  | 0.5 | 99.4 | 710.41 | 719.11 | 628.51 | 716.11 | 8.3 |  |  | 3 | [12 empty] | 719.11 | 0.49 | 0.61 | 0.21
45 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR I & II | SADAR APPARTMENTS | 1240 | MV1072 | 1S-DL-YP-ETC-DMVR-2301-MV1072 | MANU CGHS SS- II:ID | TG-MV1072A-2 | 19506498 | 990 | 300 | 233 | 0.99 | 93 | 24 | 103 | 37 | 161 | 32 | 141 | 51 | 2019-06-11 22:30 | 18 | 0.3 | 194 | Y | 87 | 101 | 112 | 25 | 0.1 | 0.1 | 0.7 | 99.2 | 718.33 | 718.33 | 718.33 | 718.33 | [16 empty] | 718.33 | 1.27 | 0.56 | 0.09
46 | 2019-06-18 | 2019-06-30 23:30 | MAYUR VIHAR I & II | SADAR APPARTMENTS | 1240 | MV1073 | 1S-DL-YP-ETC-DMVR-2301-MV1073 | MAVILA CGHS:ID | TG-MV1073A-1 | 19506928 | 630 | 200 | 238 | 0.98 | 74 | 26 | 106 | 30 | 128 | 18 | 77 | 45 | 2019-06-30 01:30 | 16 | 2.4 | 193 | Y | 93 | 130 | 76 | 54 | 56.8 | 37.7 | 5.6 |  | 296.2 | 295.5 | 296.2 | 296.2 |  | 0.3 | 0.3 | [13 empty] | 296.2 | 15.4 | 0.54 | 0.12
47 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR I & II | SADAR APPARTMENTS | 1240 | MV1078 | 1S-DL-YP-ETC-DMVR-2301-MV1078 | P.W.D. NIZAMUDDIN NH 24:PL | TG-MV1078A-1 | 19506367 | 630 | 200 | 245 | 0.97 | 128 | 43 | 170 | 45 | 180 | 41 | 164 | 14 | 2019-06-22 19:30 | 35.6 | -4.8 | 240 | B | 106 | 86 | 108 | 22 | 0.1 |  | 4.9 | 95 | 707.49 | 710.19 | 706.49 | 711.19 | 4 | 1.3 | 1.3 | 0.3 | [12 empty] | 711.49 | 8.11 | 0.48 | 0.2
48 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR I & II | SADAR APPARTMENTS | 1240 | MV1079 | 1S-DL-YP-ETC-DMVR-2301-MV1079 | AKASH DARSHAN CGHS:ID | TG-MV1079A-2 | 19500449 | 630 | 200 | 243 | 0.98 | 150 | 54 | 215 | 51 | 205 | 45 | 182 | 29 | 2019-06-03 00:30 | 29.9 | 4.6 | 236 | R | 102 | 95 | 102 | 7 |  |  | 3.1 | 96.9 | 632.2 | 674.2 | 661.2 | 664.2 | 86.3 | 44.3 | 44.3 | 54.3 | [12 empty] | 718.5 | 1.1 | 0.54 | 0.24
49 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR I & II | SADAR APPARTMENTS | 1240 | MV1081 | 1S-DL-YP-ETC-DMVR-2301-MV1081 | UNA CGHS SS-II:ID | TG-MV1081A-1 | 19505702 | 630 | 200 | 244 | 0.98 | 89 | 22 | 88 | 29 | 120 | 38 | 156 | 59 | 2019-06-02 23:00 | 32 | 1.8 | 193 | R | 84 | 99 | 117 | 33 | 0.3 |  | 3.3 | 96.4 | 717.51 | 718.51 | 718.51 | 718.51 | 1 | [15 empty] | 718.51 | 1.09 | 0.51 | 0.14
50 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR I & II | SADAR APPARTMENTS | 1240 | MV1085 | 1S-DL-YP-ETC-DMVR-2301-MV1085 | IFS CGHS S/S-1:ID | TG-MV1085A-2 | 19502063 | 630 | 200 | 244 | 0.97 | 132 | 46 | 192 | 44 | 181 | 42 | 172 | 17 | 2019-06-10 21:00 | 25.8 | 5.5 | 201 | R | 101 | 101 | 99 | 2 |  |  |  | 100 | 689.42 | 699.42 | 714.12 | 716.42 | 29.3 | 19.3 | 19.3 | 2.3 | [12 empty] | 719.12 | 0.48 | 0.57 | 0.21
51 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR I & II | SADAR APPARTMENTS | 1240 | MV1085 | 1S-DL-YP-ETC-DMVR-2301-MV1085 | IFS CGHS S/S-1:ID | TG-MV1085A-1 | 19502070 | 630 | 200 | 244 | 0.97 | 101 | 36 | 149 | 43 | 177 | 22 | 93 | 74 | 2019-06-30 22:00 | 19.8 | 4.6 | 205 | R | 122 | 105 | 72 | 50 |  |  | 1.9 | 98.1 | 716.1 | 718.4 | 719.1 | 719.1 | 3 | 0.3 | 0.3 | [13 empty] | 719.1 | 0.5 | 0.59 | 0.16
52 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR I & II | SADAR APPARTMENTS | 1240 | MV1086 | 1S-DL-YP-ETC-DMVR-2301-MV1086 | IFS CGHS SS-II:ID | TG-MV1086A-2 | 19502066 | 630 | 200 | 244 | 0.97 | 83 | 29 | 118 | 21 | 86 | 33 | 136 | 44 | 2019-06-02 23:30 | 17.5 | 1.8 | 152 | R | 115 | 78 | 107 | 37 |  |  | 1.3 | 98.7 | 719.11 | 719.11 | 719.11 | 719.11 | [16 empty] | 719.11 | 0.49 | 0.55 | 0.13
53 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR I & II | SADAR APPARTMENTS | 1240 | MV1086 | 1S-DL-YP-ETC-DMVR-2301-MV1086 | IFS CGHS SS-II:ID | TG-MV1086A-1 | 19502069 | 630 | 200 | 244 | 0.96 | 113 | 44 | 186 | 42 | 174 | 27 | 113 | 68 | 2019-06-02 21:00 | 32.7 | 2.8 | 198 | R | 99 | 110 | 90 | 20 |  |  |  | 100 | 717.41 | 716.41 | 719.11 | 719.11 | 1.3 | 2.3 | 2.3 | [13 empty] | 719.11 | 0.49 | 0.52 | 0.18
54 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR I & II | SADAR APPARTMENTS | 1240 | MV1089 | 1S-DL-YP-ETC-DMVR-2301-MV1089 | D.P. NO 2 NOIDA RD:PM | TG-MV1089A-1 | 19506268 | 400 | 120 | 248 | 0.95 | 34 | 30 | 117 | 4 | 18 | 0 | 0 | 109 | 2019-06-26 19:00 | 24.8 | -0.2 | 117 | R | 232 | 68 | 0 | 232 | 2.6 | 42 | 41 | 14.4 | 691.41 | 695.41 | 695.41 | 695.41 | 4 | [15 empty] | 695.41 | 24.19 | 0.31 | 0.09
55 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR I & II | SADAR APPARTMENTS | 1240 | MV1101 | 1S-DL-YP-ETC-DMVR-2301-MV1101 | ASIANA CGHS S/S-1:ID | TG-MV1101A-1 | 19504281 | 630 | 200 | 246 | 0.94 | 134 | 34 | 138 | 51 | 207 | 50 | 204 | 68 | 2019-06-02 00:30 | 45.1 | 7.4 | 230 | B | 85 | 109 | 106 | 24 |  |  | 4.1 | 95.9 | 695.51 | 686.21 | 645.51 | 692.21 |  | 9.3 | 9.3 | 3.3 | [12 empty] | 719.16 | 0.44 | 0.55 | 0.21
56 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR I & II | SADAR APPARTMENTS | 1240 | MV1101 | 1S-DL-YP-ETC-DMVR-2301-MV1101 | ASIANA CGHS S/S-1:ID | TG-MV1101A-2 | 19504299 | 630 | 200 | 246 | 0.98 | 106 | 35 | 148 | 46 | 194 | 24 | 99 | 82 | 2019-06-02 23:30 | 13.3 | 0.9 | 194 | Y | 106 | 123 | 71 | 52 |  |  | 7.2 | 92.8 | 719.36 | 716.36 | 719.36 | 719.36 |  | 3 | 3 | [13 empty] | 719.36 | 0.24 | 0.44 | 0.17
57 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR I & II | SADAR APPARTMENTS | 1240 | MV1102 | 1S-DL-YP-ETC-DMVR-2301-MV1102 | ASIANA CGHS S/S-2:ID | TG-MV1102A-2 | 19504256 | 630 | 200 | 246 | 0.99 | 93 | 17 | 74 | 30 | 128 | 45 | 190 | 101 | 2019-06-01 | 13.8 | 1.4 | 208 | B | 58 | 106 | 136 | 78 |  |  | 4 | 96 | 719.36 | 719.36 | 714.36 | 719.36 | [16 empty] | 719.36 | 0.24 | 0.55 | 0.15
58 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR I & II | SADAR APPARTMENTS | 1240 | MV1102 | 1S-DL-YP-ETC-DMVR-2301-MV1102 | ASIANA CGHS S/S-2:ID | TG-MV1102A-1 | 19504352 | 630 | 200 | 246 | 0.98 | 103 | 25 | 102 | 34 | 142 | 44 | 183 | 70 | 2019-06-12 00:30 | 16.6 | 1.8 | 204 | B | 63 | 106 | 132 | 69 |  |  | 5.3 | 94.7 | 719.36 | 719.36 | 708.36 | 719.36 | [16 empty] | 719.36 | 0.24 | 0.56 | 0.16
59 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR I & II | SADAR APPARTMENTS | 1240 | MV1103 | 1S-DL-YP-ETC-DMVR-2301-MV1103 | PUNJABI SAUDAGAR CGHS:ID | TG-MV1103A-1 | 19504261 | 630 | 200 | 246 | 0.98 | 97 | 30 | 122 | 36 | 148 | 31 | 126 | 24 | 2019-06-12 02:00 | 20.2 | 2.3 | 168 | Y | 95 | 113 | 92 | 21 |  |  | 82.4 | 17.6 | 719.36 | 719.36 | 719.36 | 719.36 | [16 empty] | 719.36 | 0.24 | 0.51 | 0.15
60 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR I & II | SADAR APPARTMENTS | 1240 | MV1103 | 1S-DL-YP-ETC-DMVR-2301-MV1103 | PUNJABI SAUDAGAR CGHS:ID | TG-MV1103A-2 | 19504265 | 630 | 200 | 246 | 0.95 | 128 | 53 | 213 | 32 | 130 | 42 | 169 | 72 | 2019-06-30 04:30 | -22.1 | -92.5 | 229 | R | 137 | 69 | 94 | 68 |  |  | 19.9 | 80.1 | 590.36 | 719.36 | 718.06 | 718.36 | 129 |  |  | 1 | [12 empty] | 719.36 | 0.24 | 0.57 | 0.2
61 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR I & II | SADAR APPARTMENTS | 1240 | MV1110 | 1S-DL-YP-ETC-DMVR-2301-MV1110 | S.STN-3 DISTT. CENTER MVR-3 | TG-MV1110A-1 | 19506887 | 400 | 120 | 245 | 0.88 | 23 | 6 | 27 | 8 | 34 | 8 | 35 | 8 | 2019-06-10 11:00 | 13.1 | -3.6 | 39 | B | 46 | 100 | 154 | 108 |  | 0.1 | 5.1 | 94.8 | 711.47 | 711.47 | 711.47 | 711.47 | [16 empty] | 711.47 | 8.13 | 0.32 | 0.06
62 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR I & II | SADAR APPARTMENTS | 1240 | MV1111 | 1S-DL-YP-ETC-DMVR-2301-MV1111 | S.STN-4 DISTT. CENTER MVR-2 | TG-MV1111A-1 | 19506713 | 400 | 120 | 244 | 0.91 | 15 | 3 | 13 | 5 | 22 | 6 | 25 | 11 | 2019-06-08 20:30 | 3.5 | -0.8 | 32 | Y | 49 | 107 | 144 | 95 |  | 0.1 | 6.1 | 93.8 | 711.17 | 711.17 | 711.17 | 711.17 | [16 empty] | 711.17 | 8.43 | 0.27 | 0.04
63 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR I & II | TRILOKPURI | 1240 | TKP011 | 1S-DL-YP-ETC-DMVR-2304-TKP011 | 48 WORK CENTRE TKP:ID | TG-TKP011A-1 | 19504319 | 400 | 120 | 238 | 0.96 | 39 | 0 | 0 | 27 | 114 | 12 | 49 | 99 | 2019-06-03 13:30 | 8.3 | 0.3 | 117 | R | 105 | 151 | 44 | 107 |  |  | 12.3 | 87.7 | 457.07 | 456.07 | 458.07 | 458.07 | 1 | 2 | 2 | [13 empty] | 458.07 | 21.53 | 0.29 | 0.1
64 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR I & II | TRILOKPURI | 1240 | TKP021 | 1S-DL-YP-ETC-DMVR-2304-TKP021 | DSIDC TKP:ID | TG-TKP021A-1 | 19500530 | 400 | 120 | 236 | 0.97 | 76 | 12 | 54 | 41 | 161 | 23 | 96 | 94 | 2019-06-05 22:00 | 19.9 | 0.3 | 171 | Y | 78 | 121 | 101 | 43 | 100 |  |  |  | 717.5 | 548.11 | 679.2 | 717.5 |  | 169.39 | 169.39 | [13 empty] | 717.5 | 2.1 | 0.65 | 0.19