## Underload DTs
MIS Report of Distribution Transformer - Jun19
Jun19 1241 MAYUR VIHAR III (Underload DTs)
Sn. | Study Period |  | Division Name | Zone | Div Code | Sap Code | Sap Function Code | DT Name | DT Code | Meter Serial No. | KVA Rating | MF | VOLTAGE | POWER FACTOR | Peak Loading Conditions | [8 empty] | Reactive Demand (KVAR) |  | Highest Phase Current |  | % Relative Phase Unbalance |  |  | %Unbalance | % Voltage Unbalance (%Time of total study period) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) | [5 empty] | LF | UF
[15 empty] | Peak KVA | R Phase |  | Y Phase |  | B Phase |  | Neutral Current (AMP) | Date and Time
[16 empty] | KVA | I (AMP) | KVA | I (AMP) | KVA | I (AMP) |  |  | MAX | MIN | Current(AMP) | Phase | R-Ph | Y-Ph | B-Ph | {I(Max)-I(Min)} / I(Average) | >3% | <=3% and >2% | <=2% and >1% | <=1% | < 20% |  |  |  | 20%-40% |  |  |  | 40%-80% |  |  |  | 80%-100% |  |  |  | >100% |  |  |  | ON ( in HH:MI) | OFF ( in HH:MI)
[36 empty] | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer
1 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | MVR-III | 1241 | VSE002 | 1S-DL-YP-ETC-DVSE-2351-VSE002 | S/STN 3 A1 PKT MVR-III:ID | TG-VSE002A-2 | 19505590 | 630 | 200 | 249 | 0.97 | 147 | 52 | 219 | 45 | 189 | 49 | 206 | 26 | 2019-06-11 | 36.4 | 5.4 | 252 | B | 116 | 86 | 98 | 30 | 0.1 | 0.3 | 22.8 | 76.9 | 642.58 | 706.57 | 684.43 | 689.13 | 76.14 | 12.15 | 12.15 | 29.59 | [12 empty] | 719.12 | 0.48 | 0.49 | 0.23
2 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | MVR-III | 1241 | VSE018 | 1S-DL-YP-ETC-DVSE-2351-VSE018 | S/STN 1 SFS FLATE MVR -III:ID | TG-VSE018A-1 | 19504937 | 630 | 200 | 243 | 0.97 | 127 | 30 | 129 | 42 | 182 | 55 | 234 | 91 | 2019-06-02 23:00 | 28.5 | 2.3 | 234 | B | 76 | 105 | 120 | 44 |  | 0.8 | 40.1 | 59.1 | 719.49 | 696.19 | 665.49 | 719.19 |  | 23.3 | 23.3 | 0.3 | [12 empty] | 719.49 | 0.11 | 0.48 | 0.2
3 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | MVR-III | 1241 | VSE018 | 1S-DL-YP-ETC-DVSE-2351-VSE018 | S/STN 1 SFS FLATE MVR -III:ID | TG-VSE018A-2 | 19505823 | 630 | 200 | 244 | 0.98 | 143 | 65 | 276 | 28 | 117 | 51 | 216 | 139 | 2019-06-30 23:30 | 42.4 | 4 | 291 | R | 138 | 64 | 98 | 74 | 0.1 | 3.9 | 11 | 85 | 559.18 | 719.48 | 679.48 | 689.18 | 160.3 |  |  | 30.3 | [12 empty] | 719.48 | 0.12 | 0.53 | 0.23
4 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | MVR-III | 1241 | VSE019 | 1S-DL-YP-ETC-DVSE-2351-VSE019 | S/STN 2 SFS FLATE MVR -III:ID | TG-VSE019A-3 | 19506426 | 400 | 120 | 250 | 0.97 | 63 | 15 | 63 | 34 | 137 | 14 | 56 | 78 | 2019-06-05 23:00 | 19 | 1.8 | 158 | Y | 62 | 180 | 59 | 121 | 0.1 | 1 | 20.4 | 78.5 | 719.47 | 579.47 | 719.47 | 719.47 |  | 140 | 140 | [13 empty] | 719.47 | 0.13 | 0.51 | 0.16
5 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | MVR-III | 1241 | VSE020 | 1S-DL-YP-ETC-DVSE-2351-VSE020 | S/STN 3 SFS FLATE MVR -III:ID | TG-VSE020A-1 | 19502386 | 630 | 200 | 256 | 0.96 | 143 | 61 | 237 | 42 | 160 | 40 | 156 | 80 | 2019-06-14 | 36.8 | 6 | 257 | R | 117 | 97 | 85 | 32 |  |  | 16.2 | 83.8 | 597 | 710.3 | 717.3 | 699 | 123 | 9.3 | 9.3 | 21 | [12 empty] | 720 | 0 | 0.52 | 0.23
6 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | MVR-III | 1241 | VSE020 | 1S-DL-YP-ETC-DVSE-2351-VSE020 | S/STN 3 SFS FLATE MVR -III:ID | TG-VSE020A-2 | 19505824 | 630 | 200 | 244 | 0.98 | 138 | 42 | 169 | 36 | 149 | 60 | 249 | 91 | 2019-06-11 23:30 | 48.6 | 3.6 | 249 | B | 93 | 86 | 122 | 36 | 0.1 | 0.3 | 15.6 | 84 | 719 | 719.3 | 635 | 714 | 1 | 0.3 | 0.3 | 6 | [12 empty] | 720 | 0 | 0.52 | 0.22
7 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | MVR-III | 1241 | VSE023 | 1S-DL-YP-ETC-DVSE-2351-VSE023 | S/STN 7 SFS FLATE MVR - III:ID | TG-VSE023A-2 | 19502389 | 630 | 200 | 243 | 0.97 | 139 | 56 | 241 | 31 | 136 | 52 | 213 | 94 | 2019-06-02 23:30 | 31.7 | 2.8 | 269 | R | 129 | 55 | 116 | 74 | 99.1 | 0.1 | 0.1 | 0.6 | 572.43 | 719.43 | 631.43 | 706.13 | 147 |  |  | 13.3 | [12 empty] | 719.43 | 0.17 | 0.51 | 0.22
8 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | MVR-III | 1241 | VSE023 | 1S-DL-YP-ETC-DVSE-2351-VSE023 | S/STN 7 SFS FLATE MVR - III:ID | TG-VSE023A-1 | 19502415 | 630 | 200 | 243 | 0.97 | 146 | 34 | 145 | 73 | 313 | 39 | 165 | 159 | 2019-06-30 23:30 | 24.4 | 4.6 | 313 | Y | 73 | 145 | 81 | 72 |  | 2.8 | 21.7 | 75.5 | 719.47 | 563.47 | 719.47 | 713.47 |  | 156 | 156 | 6 | [12 empty] | 719.47 | 0.13 | 0.46 | 0.23
9 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | MVR-III | 1241 | VSE140 | 1S-DL-YP-ETC-DVSE-2351-VSE140 | 480 EWS QTRS GHAROLI | TG-VSE140A-1 | 19504688 | 630 | 200 | 238 | 0.94 | 85 | 44 | 185 | 29 | 121 | 13 | 53 | 114 | 2019-06-01 22:00 | 37.3 | 3.2 | 201 | R | 149 | 102 | 49 | 100 |  |  | 7.9 | 92.1 | 707.15 | 716.45 | 716.45 | 716.45 | 9.3 | [15 empty] | 716.45 | 3.15 | 0.61 | 0.13
10 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | MVR-III | 1241 | VSE149 | 1S-DL-YP-ETC-DVSE-2351-VSE149 | FLOOD CONTROL S/STN KONDLI BRIDGE:PM | TG-VSE149A-1 | 19506429 | 100 | 40 | 243 | 0.91 | 166 | 39 | 165 | 63 | 282 | 64 | 282 | 117 | 2019-06-30 09:00 | 122.3 | -1.9 | 282 | B | 65 | 77 | 158 | 93 | 60.9 | 20.2 | 13.6 | 5.4 | 650.18 | 645.48 | 634.18 | 646.48 | 20.3 | 24 | 24 | 23 | 12.3 | 13.3 | 15.3 | 13 | 2 | 2 | 2 | 2 | 15 | 15 | 15.3 | 15.3 | 718.15 | 1.45 | 0.06 | 1.66
11 | 2019-06-08 | 2019-06-30 23:30 | MAYUR VIHAR III | MVR-III | 1241 | VSE176 | 1S-DL-YP-ETC-DVSE-2351-VSE176 | S/STN NO-1 IFC PAPER MARKET MVR III | TG-VSE176A-2 | 19505813 | 400 | 120 | 248 | 0.94 | 114 | 59 | 250 | 25 | 108 | 30 | 127 | 133 | 2019-06-22 15:00 | 29.6 | -9.8 | 250 | R | 152 | 26 | 122 | 126 |  | 1.9 | 34.9 | 63.2 | 547.45 | 551.45 | 548.45 | 550.15 | 3.3 |  |  | 1.3 | 0.3 | [11 empty] | 551.45 | 0.15 | 0.18 | 0.29
12 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | MVR-III | 1241 | VSE183 | 1S-DL-YP-ETC-DVSE-2351-VSE183 | SS-2 IFC PAPER MKT GAJIPUR MV-3 | TG-VSE183A-1 | 19506764 | 400 | 120 | 247 | 0.95 | 52 | 1 | 3 | 1 | 5 | 51 | 214 | 210 | 2019-06-25 10:30 | 25.3 | 1.3 | 214 | B | 6 | 13 | 281 | 275 |  | 0.1 | 3.7 | 96.3 | 708.16 | 708.16 | 613.48 | 708.16 | [16 empty] | 708.16 | 11.44 | 0.44 | 0.13
13 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | MVR-III | 1241 | VSE185 | 1S-DL-YP-ETC-DVSE-2351-VSE185 | SS-6 IFC PAPER MKT GAJIPUR MV-3 | TG-VSE185A-1 | 19505916 | 630 | 200 | 247 | 0.91 | 17 | 17 | 69 | 0 | 0 | 0 | 0 | 69 | 2019-06-12 16:30 | 11.6 | -4.6 | 69 | R | 252 | 13 | 36 | 239 |  | 0.6 | 16.3 | 83.1 | 708.44 | 708.44 | 708.44 | 708.44 | [16 empty] | 708.44 | 11.16 | 0.18 | 0.03
14 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | MVR-III | 1241 | VSE186 | 1S-DL-YP-ETC-DVSE-2351-VSE186 | SS-7 IFC PAPER MKT GAJIPUR MV-3 | TG-VSE186A-1 | 19506714 | 400 | 120 | 245 | 0.81 | 63 | 34 | 133 | 27 | 106 | 2 | 9 | 113 | 2019-06-14 19:00 | 55.4 | -0.2 | 140 | R | 150 | 108 | 42 | 108 | 33.3 | 4.7 | 18.5 | 43.5 | 697.35 | 716.05 | 719.05 | 719.05 | 21.3 | 3 | 3 | [13 empty] | 719.05 | 0.55 | 0.38 | 0.16
15 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | MVR-III | 1241 | VSE187 | 1S-DL-YP-ETC-DVSE-2351-VSE187 | SS-8 IFC PAPER MKT GAJIPUR MV-3 | TG-VSE187A-2 | 19505538 | 630 | 200 | 247 | 0.88 | 44 | 3 | 13 | 3 | 12 | 38 | 153 | 140 | 2019-06-04 14:00 | 10.8 | -3.6 | 153 | B | 56 | 32 | 212 | 180 |  | 0.8 | 20.6 | 78.7 | 719.34 | 719.34 | 719.34 | 719.34 | [16 empty] | 719.34 | 0.26 | 0.32 | 0.07
16 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | MVR-III | 1241 | VSE188 | 1S-DL-YP-ETC-DVSE-2351-VSE188 | SS-9 IFC PAPER MKT GAJIPUR MV-3 | TG-VSE188A-1 | 19504939 | 400 | 120 | 247 | 0.82 | 80 | 26 | 104 | 25 | 100 | 30 | 120 | 18 | 2019-06-07 19:00 | 69.3 | -0.3 | 140 | R | 95 | 88 | 117 | 29 |  |  | 2.9 | 97.1 | 714.45 | 717.15 | 715.15 | 719.15 | 5 | 2.3 | 2.3 | 0.3 | [12 empty] | 719.45 | 0.15 | 0.33 | 0.2
17 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | MVR-III | 1241 | VSE189 | 1S-DL-YP-ETC-DVSE-2351-VSE189 | SS-10 IFC PAPER MKT GAJIPUR MV-3 | TG-VSE189A-1 | 19504829 | 400 | 120 | 247 | 0.95 | 35 | 12 | 48 | 12 | 48 | 12 | 48 | 1 | 2019-06-24 13:00 | 9.9 | -0.3 | 49 | R | 83 | 104 | 113 | 30 | 2.6 | 0.3 | 4.8 | 92.3 | 716.42 | 716.42 | 716.42 | 716.42 | [16 empty] | 716.42 | 3.18 | 0.11 | 0.09
18 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | MVR-III | 1241 | VSE190 | 1S-DL-YP-ETC-DVSE-2351-VSE190 | SS-11 IFC PAPER MKT GAJIPUR MV-3 | TG-VSE190A-1 | 19504791 | 400 | 120 | 246 | 0.94 | 67 | 16 | 65 | 29 | 114 | 22 | 86 | 43 | 2019-06-15 17:00 | 28.7 | 0.8 | 114 | Y | 60 | 120 | 120 | 60 |  |  | 40.6 | 59.4 | 719.46 | 719.16 | 719.46 | 719.46 |  | 0.3 | 0.3 | [13 empty] | 719.46 | 0.14 | 0.29 | 0.17
19 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | MVR-III | 1241 | VSE190 | 1S-DL-YP-ETC-DVSE-2351-VSE190 | SS-11 IFC PAPER MKT GAJIPUR MV-3 | TG-VSE190A-2 | 19506815 | 400 | 120 | 261 | 0.98 | 13 | 0 | 0 | 0 | 0 | 13 | 49 | 49 | 2019-06-24 15:30 | 9.8 | -0.4 | 50 | B | 0 | 0 | 300 | 300 | 0.1 | 0.3 | 8 | 91.7 | 719.46 | 719.46 | 719.46 | 719.46 | [16 empty] | 719.46 | 0.14 | 0.14 | 0.03
20 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | MVR-III | 1241 | VSE191 | 1S-DL-YP-ETC-DVSE-2351-VSE191 | SS-12 IFC PAPER MKT GAJIPUR MV-3 | TG-VSE191A-1 | 19505668 | 400 | 120 | 254 | 0.92 | 49 | 0 | 0 | 49 | 199 | 0 | 0 | 199 | 2019-06-06 13:00 | 19.4 | -0.4 | 199 | Y | 5 | 281 | 14 | 276 | 0.1 | 1.1 | 16.2 | 82.7 | 708.45 | 696.15 | 708.45 | 708.45 |  | 12.3 | 12.3 | [13 empty] | 708.45 | 11.15 | 0.22 | 0.12
21 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | MVR-III | 1241 | VSE192 | 1S-DL-YP-ETC-DVSE-2351-VSE192 | SS-13 IFC PAPER MKT GAJIPUR MV-3 | TG-VSE192A-1 | 19502846 | 400 | 120 | 247 | 0.93 | 23 | 20 | 86 | 0 | 1 | 2 | 9 | 81 | 2019-06-06 11:00 | 12.1 | -0.8 | 86 | R | 101 | 109 | 89 | 20 |  | 0.1 | 5.1 | 94.8 | 719.45 | 719.45 | 719.45 | 719.45 | [16 empty] | 719.45 | 0.15 | 0.25 | 0.06
22 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | MVR-III | 1241 | VSE193 | 1S-DL-YP-ETC-DVSE-2351-VSE193 | SS-14 IFC PAPER MKT GAJIPUR MV-3 | TG-VSE193A-2 | 19500217 | 400 | 120 | 245 | 0.99 | 19 | 15 | 62 | 3 | 12 | 0 | 1 | 56 | 2019-06-11 14:00 | 2.8 | -1.1 | 62 | R | 215 | 79 | 6 | 209 | 31.8 | 13.9 | 53.8 | 0.5 | 719.44 | 719.44 | 719.44 | 719.44 | [16 empty] | 719.44 | 0.16 | 0.26 | 0.05
23 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | MVR-III | 1241 | VSE203 | 1S-DL-YP-ETC-DVSE-2351-VSE203 | HPC,PETROL PUMP,IFC PAPER MKT.MVR-3 | TG-VSE203A-1 | 19504756 | 100 | 40 | 246 | 0.94 | 15 | 3 | 11 | 3 | 13 | 9 | 36 | 25 | 2019-06-25 19:00 | 5.8 | -0.2 | 36 | B | 77 | 81 | 142 | 65 |  |  | 15.9 | 84.1 | 695.44 | 695.44 | 657.16 | 695.44 | [16 empty] | 695.44 | 0.16 | 0.68 | 0.15
24 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | MVR-III | 1241 | VSE204 | 1S-DL-YP-ETC-DVSE-2351-VSE204 | DP MULLA COLONY,KIOSK | TG-VSE204A-1 | 19506225 | 400 | 120 | 248 | 0.77 | 12 | 5 | 18 | 4 | 18 | 3 | 11 | 7 | 2019-06-30 04:00 | 2.6 | -0.8 | 20 | R | 117 | 113 | 71 | 46 | 0.2 | 0.2 | 1.5 | 98.1 | 696.16 | 696.16 | 696.16 | 696.16 | [16 empty] | 696.16 | 23.44 | 0.51 | 0.03
25 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | NEW ASHOK NAGAR | 1241 | VSE049 | 1S-DL-YP-ETC-DVSE-2351-VSE049 | S/STN 1 VASHUNDRA ENCLAVE:ID | TG-VSE049A-1 | 19504286 | 400 | 120 | 239 | 0.97 | 97 | 31 | 128 | 37 | 155 | 28 | 116 | 35 | 2019-06-01 11:00 | 26.2 | 0.3 | 158 | Y | 101 | 100 | 99 | 2 |  |  | 7.9 | 92.1 | 687.38 | 663.07 | 711.07 | 710.07 | 30.59 | 55.3 | 55.3 | 8.3 | [12 empty] | 718.37 | 1.23 | 0.44 | 0.24
26 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | NEW ASHOK NAGAR | 1241 | VSE052 | 1S-DL-YP-ETC-DVSE-2351-VSE052 | S/STN 4 VASHUNDRA ENCLAVE:ID | TG-VSE052A-1 | 19500981 | 400 | 120 | 235 | 0.99 | 24 | 2 | 8 | 19 | 83 | 3 | 14 | 72 | 2019-06-13 13:00 | 1.9 | -0.3 | 83 | Y | 35 | 235 | 29 | 206 |  | 1 | 60 | 39.1 | 719.26 | 719.26 | 719.26 | 719.26 | [16 empty] | 719.26 | 0.34 | 0.23 | 0.06
27 | 2019-06-04 | 2019-06-30 23:30 | MAYUR VIHAR III | NEW ASHOK NAGAR | 1241 | VSE053 | 1S-DL-YP-ETC-DVSE-2351-VSE053 | S/STN 5 VASHUNDRA ENCLAVE:ID | TG-VSE053A-1 | 19502617 | 400 | 120 | 241 | 0.96 | 8 | 0 | 0 | 4 | 17 | 3 | 13 | 16 | 2019-06-24 06:00 | 4.1 | -0.3 | 18 | Y | 0 | 142 | 158 | 158 |  |  | 11.4 | 88.6 | 646.09 | 646.09 | 646.09 | 646.09 | [16 empty] | 646.09 | 1.51 | 0.22 | 0.02
28 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | NEW ASHOK NAGAR | 1241 | VSE058 | 1S-DL-YP-ETC-DVSE-2351-VSE058 | S/S DALLUPURA GRID STREET LIGHT | TG-VSE058A-1 | 19505703 | 100 | 40 | 242 | 0.66 | 29 | 6 | 26 | 10 | 40 | 13 | 52 | 23 | 2019-06-06 18:30 | 26.9 | 0.8 | 52 | B | 51 | 88 | 162 | 111 |  |  | 10 | 90 | 706.4 | 692.14 | 376.45 | 691.14 | 1 | 15.26 | 15.26 | 16.26 | [12 empty] | 707.4 | 12.2 | 0.26 | 0.29
29 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | NEW ASHOK NAGAR | 1241 | VSE059 | 1S-DL-YP-ETC-DVSE-2351-VSE059 | GOVIND(DELHI PUNJABI)VASHUNDRA ENCL.:ID | TG-VSE059A-2 | 19500941 | 630 | 200 | 235 | 0.98 | 105 | 28 | 120 | 37 | 161 | 40 | 172 | 47 | 2019-06-28 23:00 | 29.9 | 2.8 | 198 | B | 80 | 103 | 117 | 37 |  |  | 5.1 | 94.9 | 718.48 | 718.48 | 714.48 | 718.48 | [16 empty] | 718.48 | 1.12 | 0.58 | 0.17
30 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | NEW ASHOK NAGAR | 1241 | VSE059 | 1S-DL-YP-ETC-DVSE-2351-VSE059 | GOVIND(DELHI PUNJABI)VASHUNDRA ENCL.:ID | TG-VSE059A-1 | 19500942 | 630 | 200 | 240 | 0.99 | 125 | 49 | 217 | 44 | 196 | 32 | 139 | 70 | 2019-06-29 23:00 | 14.3 | 1.4 | 224 | Y | 98 | 122 | 80 | 42 |  |  | 6.6 | 93.4 | 715.17 | 665.47 | 718.47 | 718.47 | 3.3 | 53 | 53 | [13 empty] | 718.47 | 1.13 | 0.55 | 0.2
31 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | NEW ASHOK NAGAR | 1241 | VSE060 | 1S-DL-YP-ETC-DVSE-2351-VSE060 | TRIVENI CGHS VASHUNDRA ENCLAVE:ID | TG-VSE060A-2 | 19500954 | 400 | 120 | 241 | 0.99 | 70 | 38 | 164 | 19 | 83 | 14 | 59 | 95 | 2019-06-30 22:00 | 7.5 | -0.3 | 174 | R | 152 | 89 | 59 | 93 |  |  | 39.2 | 60.8 | 661.18 | 718.48 | 718.48 | 718.48 | 57.3 | [15 empty] | 718.48 | 1.12 | 0.46 | 0.18
32 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | NEW ASHOK NAGAR | 1241 | VSE060 | 1S-DL-YP-ETC-DVSE-2351-VSE060 | TRIVENI CGHS VASHUNDRA ENCLAVE:ID | TG-VSE060A-1 | 19505558 | 400 | 120 | 236 | 0.98 | 64 | 28 | 120 | 15 | 65 | 21 | 92 | 48 | 2019-06-03 01:00 | 15.2 | 1.4 | 135 | R | 125 | 58 | 117 | 67 | 0.1 | 0.1 | 8 | 91.8 | 702.48 | 708.18 | 706.48 | 708.18 | 5.3 | [15 empty] | 708.18 | 11.42 | 0.47 | 0.16
33 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | NEW ASHOK NAGAR | 1241 | VSE063 | 1S-DL-YP-ETC-DVSE-2351-VSE063 | DELUX S/STN 1:ID | TG-VSE063A-2 | 19500906 | 630 | 200 | 241 | 0.98 | 106 | 35 | 150 | 36 | 157 | 35 | 148 | 8 | 2019-06-12 | 15.2 | 0.9 | 199 | B | 93 | 105 | 102 | 12 | 1.5 | 10.8 | 75.1 | 12.6 | 718.57 | 718.57 | 717.57 | 718.57 | [16 empty] | 718.57 | 1.03 | 0.49 | 0.17
34 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | NEW ASHOK NAGAR | 1241 | VSE063 | 1S-DL-YP-ETC-DVSE-2351-VSE063 | DELUX S/STN 1:ID | TG-VSE063A-1 | 19500907 | 630 | 200 | 240 | 0.99 | 125 | 34 | 149 | 50 | 218 | 41 | 180 | 60 | 2019-06-11 23:00 | 10.6 | -4.6 | 218 | Y | 42 | 125 | 133 | 91 |  |  | 14.3 | 85.7 | 719.07 | 691.37 | 710.37 | 719.07 |  | 27.3 | 27.3 | [13 empty] | 719.07 | 0.53 | 0.45 | 0.2
35 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | NEW ASHOK NAGAR | 1241 | VSE064 | 1S-DL-YP-ETC-DVSE-2351-VSE064 | DELUX S/STN 2:ID | TG-VSE064A-2 | 19506599 | 400 | 120 | 240 | 0.98 | 98 | 42 | 179 | 32 | 137 | 25 | 108 | 62 | 2019-06-26 23:30 | 18.1 | 1.4 | 186 | R | 117 | 94 | 89 | 28 | 8.1 | 42.3 | 47.6 | 2 | 530.34 | 650.34 | 689.04 | 648.34 | 175.3 | 55.3 | 55.3 | 57.3 | [12 empty] | 706.04 | 13.56 | 0.52 | 0.25
36 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | NEW ASHOK NAGAR | 1241 | VSE065 | 1S-DL-YP-ETC-DVSE-2351-VSE065 | B-6 PARVATYA VIAHR VASHUNDRA ENCL.:ID | TG-VSE065A-2 | 19500962 | 400 | 120 | 241 | 0.97 | 91 | 37 | 157 | 39 | 169 | 15 | 65 | 99 | 2019-06-11 01:00 | 16.3 | 1.4 | 173 | Y | 126 | 118 | 56 | 70 |  |  | 19.7 | 80.3 | 591.28 | 619.28 | 719.28 | 689.28 | 128 | 100 | 100 | 30 | [12 empty] | 719.28 | 0.32 | 0.45 | 0.23
37 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | NEW ASHOK NAGAR | 1241 | VSE065 | 1S-DL-YP-ETC-DVSE-2351-VSE065 | B-6 PARVATYA VIAHR VASHUNDRA ENCL.:ID | TG-VSE065A-1 | 19500963 | 400 | 120 | 241 | 0.98 | 55 | 21 | 91 | 14 | 60 | 19 | 81 | 27 | 2019-06-15 23:00 | 11.6 | 0.6 | 119 | B | 103 | 78 | 119 | 41 |  |  | 13.9 | 86.1 | 719.21 | 719.21 | 717.21 | 719.21 | [16 empty] | 719.21 | 0.39 | 0.5 | 0.14
38 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | NEW ASHOK NAGAR | 1241 | VSE066 | 1S-DL-YP-ETC-DVSE-2351-VSE066 | ILA APPARTMENT VASHUNDRA ENCL.:ID | TG-VSE066A-2 | 19503084 | 400 | 120 | 241 | 0.98 | 47 | 10 | 45 | 17 | 74 | 20 | 85 | 36 | 2019-06-02 22:30 | 9.1 | 0.8 | 100 | B | 57 | 98 | 145 | 88 |  |  | 6.3 | 93.7 | 719.23 | 719.23 | 719.23 | 719.23 | [16 empty] | 719.23 | 0.37 | 0.48 | 0.12
39 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | NEW ASHOK NAGAR | 1241 | VSE066 | 1S-DL-YP-ETC-DVSE-2351-VSE066 | ILA APPARTMENT VASHUNDRA ENCL.:ID | TG-VSE066A-1 | 19500998 | 400 | 120 | 241 | 0.99 | 79 | 0 | 0 | 34 | 145 | 45 | 189 | 171 | 2019-06-14 | 9.7 | 0.3 | 192 | B | 0 | 141 | 159 | 159 |  |  | 9.5 | 90.5 | 719.23 | 580.27 | 503.01 | 719.23 |  | 138.56 | 138.56 | [13 empty] | 719.23 | 0.37 | 0.53 | 0.2
40 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | NEW ASHOK NAGAR | 1241 | VSE091 | 1S-DL-YP-ETC-DVSE-2351-VSE091 | LEIAH SISTR S/STN 2:ID | TG-VSE091A-2 | 19500909 | 400 | 120 | 242 | 0.98 | 95 | 36 | 158 | 31 | 135 | 27 | 116 | 36 | 2019-06-30 23:30 | 13.2 | 1.9 | 187 | R | 124 | 98 | 77 | 47 |  | 29.7 | 70.3 |  | 573.26 | 677.56 | 717.26 | 686.26 | 146 | 41.3 | 41.3 | 33 | [12 empty] | 719.26 | 0.34 | 0.47 | 0.24
41 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | NEW ASHOK NAGAR | 1241 | VSE091 | 1S-DL-YP-ETC-DVSE-2351-VSE091 | LEIAH SISTR S/STN 2:ID | TG-VSE091A-1 | 19500964 | 400 | 120 | 240 | 0.96 | 93 | 31 | 136 | 32 | 137 | 30 | 127 | 9 | 2019-06-28 22:30 | 17.9 | 3.3 | 154 | Y | 104 | 110 | 86 | 24 |  |  | 82.2 | 17.8 | 671.58 | 614.02 | 713.58 | 682.28 | 47.3 | 105.26 | 105.26 | 37 | [12 empty] | 719.28 | 0.32 | 0.52 | 0.23
42 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | NEW ASHOK NAGAR | 1241 | VSE092 | 1S-DL-YP-ETC-DVSE-2351-VSE092 | LEIAH SISTR S/STN 1:ID | TG-VSE092A-1 | 19500908 | 630 | 200 | 241 | 0.97 | 98 | 39 | 165 | 32 | 136 | 27 | 115 | 43 | 2019-06-10 01:00 | 18.9 | 2.3 | 181 | R | 120 | 96 | 84 | 36 |  |  | 32.5 | 67.5 | 717.27 | 719.27 | 719.27 | 719.27 | 2 | [15 empty] | 719.27 | 0.33 | 0.5 | 0.15
43 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | NEW ASHOK NAGAR | 1241 | VSE092 | 1S-DL-YP-ETC-DVSE-2351-VSE092 | LEIAH SISTR S/STN 1:ID | TG-VSE092A-2 | 19500910 | 630 | 200 | 241 | 0.98 | 136 | 44 | 192 | 48 | 212 | 43 | 188 | 22 | 2019-06-11 23:00 | 16.6 | 2.3 | 212 | Y | 93 | 112 | 95 | 19 |  |  | 48.4 | 51.6 | 717.27 | 704.27 | 712.27 | 717.57 | 2 | 15 | 15 | 1.3 | [12 empty] | 719.27 | 0.33 | 0.45 | 0.22
44 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | NEW ASHOK NAGAR | 1241 | VSE096 | 1S-DL-YP-ETC-DVSE-2351-VSE096 | ANUPAM:ID | TG-VSE096A-2 | 19506884 | 630 | 200 | 242 | 0.98 | 106 | 52 | 227 | 26 | 115 | 27 | 116 | 111 | 2019-06-26 23:00 | 24.4 | 2.4 | 293 | R | 144 | 76 | 80 | 68 | 0.2 | 0.1 | 11.9 | 87.8 | 675.27 | 711.27 | 711.27 | 711.27 | 36 | [15 empty] | 711.27 | 8.33 | 0.54 | 0.17
45 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | NEW ASHOK NAGAR | 1241 | VSE096 | 1S-DL-YP-ETC-DVSE-2351-VSE096 | ANUPAM:ID | TG-VSE096A-1 | 19500992 | 630 | 200 | 241 | 0.84 | 94 | 27 | 116 | 40 | 166 | 27 | 112 | 52 | 2019-06-02 01:00 | 72.2 | -2.8 | 166 | Y | 90 | 104 | 107 | 17 |  |  | 52.9 | 47.1 | 719.26 | 719.26 | 719.26 | 719.26 | [16 empty] | 719.26 | 0.34 | 0.57 | 0.15
46 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | NEW ASHOK NAGAR | 1241 | VSE097 | 1S-DL-YP-ETC-DVSE-2351-VSE097 | ABHINAV S/STN 1:ID | TG-VSE097A-1 | 19500997 | 630 | 200 | 241 | 0.98 | 84 | 17 | 75 | 33 | 145 | 34 | 149 | 73 | 2019-06-10 23:00 | 12.4 | 1.4 | 155 | Y | 82 | 114 | 105 | 32 |  |  | 58.3 | 41.7 | 719.26 | 719.26 | 719.26 | 719.26 | [16 empty] | 719.26 | 0.34 | 0.5 | 0.13
47 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | NEW ASHOK NAGAR | 1241 | VSE097 | 1S-DL-YP-ETC-DVSE-2351-VSE097 | ABHINAV S/STN 1:ID | TG-VSE097A-2 | 19500980 | 630 | 200 | 231 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2019-06-30 23:30 |  |  | 0 | [5 empty] | 5.2 | 32.7 | 45.2 | 16.8 | 695.44 | 695.44 | 695.44 | 695.44 | [16 empty] | 719.07 | 0.53 |  | 0
48 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | NEW ASHOK NAGAR | 1241 | VSE098 | 1S-DL-YP-ETC-DVSE-2351-VSE098 | ABHINAV S/STN 2:ID | TG-VSE098A-2 | 19500991 | 630 | 200 | 241 | 0.98 | 128 | 35 | 152 | 48 | 207 | 45 | 193 | 50 | 2019-06-30 23:00 | 17 | 1.4 | 215 | Y | 85 | 109 | 106 | 24 |  |  | 34.9 | 65.1 | 719.27 | 705.57 | 708.27 | 718.57 |  | 13.3 | 13.3 | 0.3 | [12 empty] | 719.27 | 0.33 | 0.48 | 0.2
49 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | NEW ASHOK NAGAR | 1241 | VSE098 | 1S-DL-YP-ETC-DVSE-2351-VSE098 | ABHINAV S/STN 2:ID | TG-VSE098A-1 | 19502934 | 630 | 200 | 241 | 0.99 | 29 | 8 | 37 | 7 | 33 | 13 | 59 | 24 | 2019-06-10 23:30 | 3.2 | -0.5 | 65 | B | 90 | 75 | 135 | 60 |  |  | 7.2 | 92.8 | 719.27 | 719.27 | 719.27 | 719.27 | [16 empty] | 719.27 | 0.33 | 0.49 | 0.05
50 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | NEW ASHOK NAGAR | 1241 | VSE119 | 1S-DL-YP-ETC-DVSE-2351-VSE119 | S/STN 4 EAST END APTT:ID | TG-VSE119A-1 | 19505186 | 630 | 200 | 242 | 0.99 | 137 | 49 | 214 | 47 | 203 | 41 | 176 | 34 | 2019-06-07 23:30 | 34.6 | 5.2 | 228 | R | 113 | 99 | 88 | 25 | 0.1 | 0.2 | 21.9 | 77.8 | 646.51 | 679.21 | 692.21 | 691.21 | 47.3 | 15 | 15 | 3 | [12 empty] | 694.21 | 25.39 | 0.58 | 0.22
51 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | NEW ASHOK NAGAR | 1241 | VSE119 | 1S-DL-YP-ETC-DVSE-2351-VSE119 | S/STN 4 EAST END APTT:ID | TG-VSE119A-2 | 19500738 | 630 | 200 | 239 | 0.98 | 148 | 43 | 188 | 51 | 224 | 54 | 239 | 46 | 2019-06-10 22:00 | 23 | 3.7 | 304 | B | 83 | 87 | 130 | 47 |  |  | 59 | 41 | 715.26 | 715.26 | 514.26 | 700.56 | 4 | 4 | 4 | 18.3 | [12 empty] | 719.26 | 0.34 | 0.55 | 0.24
52 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | NEW ASHOK NAGAR | 1241 | VSE121 | 1S-DL-YP-ETC-DVSE-2351-VSE121 | S/STN 6 EAST END APTT:ID | TG-VSE121A-2 | 19500739 | 630 | 200 | 239 | 0.99 | 127 | 40 | 175 | 37 | 161 | 50 | 219 | 52 | 2019-06-29 23:00 | 17.5 | 3.7 | 237 | B | 104 | 89 | 107 | 18 |  |  | 27.5 | 72.5 | 712.49 | 699.19 | 641.19 | 716.19 | 4 | 17.3 | 17.3 | 0.3 | [12 empty] | 716.49 | 3.11 | 0.61 | 0.2
53 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | NEW ASHOK NAGAR | 1241 | VSE122 | 1S-DL-YP-ETC-DVSE-2351-VSE122 | S/STN 7 EAST END APTT:ID | TG-VSE122A-1 | 19505832 | 630 | 200 | 236 | 0.98 | 44 | 15 | 65 | 14 | 59 | 15 | 65 | 6 | 2019-06-15 15:00 | 8.4 | 1 | 83 | R | 120 | 74 | 106 | 46 |  | 0.2 | 16.9 | 82.9 | 719.26 | 719.26 | 719.26 | 719.26 | [16 empty] | 719.26 | 0.34 | 0.57 | 0.07
54 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | NEW ASHOK NAGAR | 1241 | VSE123 | 1S-DL-YP-ETC-DVSE-2351-VSE123 | S/STN 8 EAST END APTT:ID | TG-VSE123A-1 | 19505292 | 630 | 200 | 242 | 0.99 | 142 | 51 | 216 | 40 | 172 | 51 | 219 | 46 | 2019-06-12 | 16.4 | 1.2 | 248 | B | 105 | 89 | 106 | 17 |  |  | 10.3 | 89.7 | 654.56 | 692.56 | 606.56 | 666.56 | 41 | 3 | 3 | 29 | [12 empty] | 695.56 | 24.04 | 0.51 | 0.23
55 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | NEW ASHOK NAGAR | 1241 | VSE127 | 1S-DL-YP-ETC-DVSE-2351-VSE127 | NAGARJUNA S/STR 1:ID | TG-VSE127A-1 | 19500766 | 400 | 120 | 239 | 0.98 | 99 | 34 | 146 | 23 | 99 | 42 | 182 | 72 | 2019-06-03 | 21.3 | 1.9 | 228 | B | 97 | 75 | 128 | 53 |  |  | 9.6 | 90.4 | 638.32 | 715.32 | 447.33 | 650.33 | 78 | 1 | 1 | 65.59 | [12 empty] | 716.32 | 3.28 | 0.59 | 0.25
56 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | NEW ASHOK NAGAR | 1241 | VSE127 | 1S-DL-YP-ETC-DVSE-2351-VSE127 | NAGARJUNA S/STR 1:ID | TG-VSE127A-2 | 19505704 | 400 | 120 | 242 | 0.99 | 82 | 27 | 114 | 23 | 98 | 32 | 139 | 36 | 2019-06-08 01:00 | 13.2 | 0.5 | 166 | B | 86 | 89 | 125 | 39 | 0.1 | 0.4 | 22.6 | 76.9 | 700.07 | 704.37 | 603.37 | 704.37 | 5.3 | 1 | 1 | 1 | [12 empty] | 705.37 | 14.23 | 0.59 | 0.21
57 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | NEW ASHOK NAGAR | 1241 | VSE128 | 1S-DL-YP-ETC-DVSE-2351-VSE128 | NAGARJUNA S/STR 2:ID | TG-VSE128A-1 | 19500769 | 400 | 120 | 240 | 0.98 | 57 | 15 | 64 | 30 | 131 | 12 | 51 | 75 | 2019-06-30 22:00 | 9.4 | 0.3 | 137 | Y | 82 | 143 | 75 | 68 |  | 0.3 | 43.7 | 56 | 716.34 | 705.34 | 716.34 | 716.34 |  | 11 | 11 | [13 empty] | 716.34 | 3.26 | 0.57 | 0.14
58 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | NEW ASHOK NAGAR | 1241 | VSE128 | 1S-DL-YP-ETC-DVSE-2351-VSE128 | NAGARJUNA S/STR 2:ID | TG-VSE128A-2 | 19504912 | 400 | 120 | 241 | 0.98 | 83 | 31 | 133 | 27 | 115 | 25 | 109 | 22 | 2019-06-16 00:30 | 12.7 | 1.7 | 143 | B | 109 | 92 | 98 | 17 |  |  | 8.4 | 91.6 | 681.04 | 687.34 | 677.34 | 690.34 | 10 | 3.3 | 3.3 | 0.3 | [12 empty] | 714.45 | 5.15 | 0.54 | 0.21
59 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | NEW ASHOK NAGAR | 1241 | VSE129 | 1S-DL-YP-ETC-DVSE-2351-VSE129 | NAGARJUNA P/M:PM | TG-VSE129A-1 | 19506729 | 100 | 40 | 242 | 0.45 | 8 | 3 | 14 | 2 | 7 | 3 | 12 | 6 | 2019-06-15 19:00 | 6.9 | -7.6 | 26 | R | 55 | 113 | 132 | 77 | 0.1 | 1.4 | 22.4 | 76 | 707.05 | 707.05 | 707.05 | 707.05 | [16 empty] | 707.05 | 12.55 | 0.2 | 0.08
60 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | NEW ASHOK NAGAR | 1241 | VSE130 | 1S-DL-YP-ETC-DVSE-2351-VSE130 | S/STR 9 VASUNDHARA ENCLAVE:ID | TG-VSE130A-1 | 19500767 | 400 | 120 | 240 | 0.95 | 40 | 19 | 82 | 7 | 29 | 13 | 54 | 45 | 2019-06-15 15:30 | 21 | 1.1 | 84 | R | 174 | 12 | 114 | 162 |  | 0.1 | 63.4 | 36.5 | 716.34 | 716.34 | 716.34 | 716.34 | [16 empty] | 716.34 | 3.26 | 0.35 | 0.1
61 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | NEW ASHOK NAGAR | 1241 | VSE131 | 1S-DL-YP-ETC-DVSE-2351-VSE131 | INDIAN EXPRESS:ID | TG-VSE131A-1 | 19500768 | 400 | 120 | 239 | 0.99 | 69 | 24 | 100 | 30 | 125 | 16 | 68 | 50 | 2019-06-13 23:00 | 5.8 | 0.6 | 130 | Y | 106 | 111 | 83 | 28 |  |  | 15.8 | 84.2 | 716.35 | 711.05 | 716.35 | 716.35 |  | 5.3 | 5.3 | [13 empty] | 716.35 | 3.25 | 0.41 | 0.17
62 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | NEW ASHOK NAGAR | 1241 | VSE131 | 1S-DL-YP-ETC-DVSE-2351-VSE131 | INDIAN EXPRESS:ID | TG-VSE131A-2 | 19500791 | 400 | 120 | 240 | 0.98 | 55 | 16 | 70 | 16 | 70 | 23 | 98 | 28 | 2019-06-03 | 10.2 | 0.3 | 108 | B | 90 | 75 | 134 | 59 |  |  | 5.5 | 94.5 | 716.35 | 716.35 | 716.35 | 716.35 | [16 empty] | 716.35 | 3.25 | 0.45 | 0.14
63 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | NEW ASHOK NAGAR | 1241 | VSE132 | 1S-DL-YP-ETC-DVSE-2351-VSE132 | ALLAHABAD BANK CGHS:ID | TG-VSE132A-2 | 19500770 | 400 | 120 | 240 | 0.98 | 85 | 19 | 83 | 21 | 94 | 45 | 198 | 110 | 2019-06-10 22:00 | 9.9 | 0.6 | 205 | B | 61 | 68 | 171 | 110 |  |  | 23.7 | 76.3 | 716.25 | 716.25 | 466.01 | 714.55 |  |  |  | 1.3 | [12 empty] | 716.25 | 3.35 | 0.49 | 0.21
64 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | NEW ASHOK NAGAR | 1241 | VSE132 | 1S-DL-YP-ETC-DVSE-2351-VSE132 | ALLAHABAD BANK CGHS:ID | TG-VSE132A-1 | 19505829 | 400 | 120 | 242 | 0.97 | 84 | 23 | 99 | 23 | 98 | 38 | 167 | 68 | 2019-06-02 23:30 | 21.1 | 1.9 | 167 | B | 91 | 76 | 132 | 56 |  | 0.1 | 15.5 | 84.4 | 703.26 | 706.56 | 543.3 | 704.26 | 3.3 |  |  | 2.3 | [12 empty] | 706.56 | 13.04 | 0.56 | 0.21
65 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | NEW ASHOK NAGAR | 1241 | VSE134 | 1S-DL-YP-ETC-DVSE-2351-VSE134 | VISH WAKARMA ABH:ID | TG-VSE134A-1 | 19505827 | 630 | 200 | 242 | 0.99 | 115 | 44 | 188 | 37 | 157 | 35 | 151 | 34 | 2019-06-02 23:00 | 17.8 | -0.8 | 205 | R | 132 | 30 | 137 | 107 | 0.1 | 0.1 | 10.5 | 89.4 | 697.27 | 708.57 | 700.57 | 708.57 | 11.3 | [15 empty] | 708.57 | 11.03 | 0.44 | 0.18
66 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | NEW ASHOK NAGAR | 1241 | VSE134 | 1S-DL-YP-ETC-DVSE-2351-VSE134 | VISH WAKARMA ABH:ID | TG-VSE134A-2 | 19502363 | 630 | 200 | 241 | 0.98 | 133 | 41 | 178 | 54 | 235 | 38 | 161 | 68 | 2019-06-02 23:30 | 22.1 | 3.2 | 235 | Y | 93 | 113 | 95 | 20 |  |  | 26.2 | 73.8 | 691.02 | 659.32 | 694.32 | 691.32 | 4 | 35.3 | 35.3 | 3.3 | [12 empty] | 695.02 | 24.58 | 0.53 | 0.21
67 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | NEW ASHOK NAGAR | 1241 | VSE135 | 1S-DL-YP-ETC-DVSE-2351-VSE135 | NEW PROGESSIVE S/SM1:ID | TG-VSE135A-1 | 19500892 | 630 | 200 | 241 | 0.99 | 109 | 36 | 156 | 29 | 125 | 45 | 196 | 61 | 2019-06-11 | 16.6 | 0.9 | 209 | B | 92 | 87 | 122 | 35 |  |  | 4.9 | 95.1 | 717.21 | 717.21 | 695.51 | 717.21 | [16 empty] | 717.21 | 2.39 | 0.51 | 0.17
68 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | NEW ASHOK NAGAR | 1241 | VSE135 | 1S-DL-YP-ETC-DVSE-2351-VSE135 | NEW PROGESSIVE S/SM1:ID | TG-VSE135A-2 | 19500920 | 630 | 200 | 242 | 0.98 | 160 | 32 | 138 | 32 | 139 | 96 | 840 | 701 | 2019-06-30 23:00 | 22.1 | -3.7 | 844 | B | 87 | 80 | 133 | 53 | 71.1 | 26.1 | 2.9 |  | 710.5 | 712.2 | 589.5 | 703.2 | 1.3 |  |  | 9 |  |  | 6.3 | [9 empty] | 717.2 | 2.4 | 0.41 | 0.25
69 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | NEW ASHOK NAGAR | 1241 | VSE136 | 1S-DL-YP-ETC-DVSE-2351-VSE136 | NEW PROGESSIVE S/SM2:ID | TG-VSE136A-1 | 19500893 | 630 | 200 | 240 | 0.95 | 115 | 45 | 189 | 40 | 165 | 31 | 128 | 53 | 2019-06-13 23:30 | 56.1 | 6 | 206 | R | 105 | 114 | 82 | 32 |  |  | 4.5 | 95.5 | 711.52 | 712.22 | 717.22 | 717.22 | 5.3 | 5 | 5 | [13 empty] | 717.22 | 2.38 | 0.6 | 0.18
70 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | NEW ASHOK NAGAR | 1241 | VSE136 | 1S-DL-YP-ETC-DVSE-2351-VSE136 | NEW PROGESSIVE S/SM2:ID | TG-VSE136A-2 | 19500894 | 630 | 200 | 241 | 0.98 | 122 | 55 | 240 | 38 | 164 | 29 | 121 | 104 | 2019-06-01 | 17.5 | 1.8 | 244 | R | 126 | 100 | 74 | 52 | 0.1 | 0.4 | 65.4 | 34.2 | 692.51 | 710.51 | 716.51 | 716.51 | 24 | 6 | 6 | [13 empty] | 716.51 | 3.09 | 0.47 | 0.19
71 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | NEW ASHOK NAGAR | 1241 | VSE146 | 1S-DL-YP-ETC-DVSE-2351-VSE146 | PUNEET CGHS V. ENCLAVE:ID | TG-VSE146A-2 | 19504687 | 400 | 120 | 230 | 0.98 | 44 | 22 | 99 | 22 | 98 | 0 | 0 | 98 | 2019-06-16 | 7.2 | 0.6 | 102 | Y | 152 | 148 | 0 | 152 |  |  | 28.3 | 71.7 | 719.26 | 719.26 | 719.26 | 719.26 | [16 empty] | 719.26 | 0.34 | 0.44 | 0.11
72 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | NEW ASHOK NAGAR | 1241 | VSE146 | 1S-DL-YP-ETC-DVSE-2351-VSE146 | PUNEET CGHS V. ENCLAVE:ID | TG-VSE146A-1 | 19504740 | 400 | 120 | 235 | 0.98 | 67 | 24 | 109 | 18 | 78 | 25 | 110 | 32 | 2019-06-11 23:30 | 13.5 | 0.3 | 129 | R | 111 | 93 | 96 | 18 |  |  | 13.3 | 86.7 | 718.27 | 719.27 | 719.27 | 719.27 | 1 | [15 empty] | 719.27 | 0.33 | 0.47 | 0.17
73 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | NEW ASHOK NAGAR | 1241 | VSE153 | 1S-DL-YP-ETC-DVSE-2351-VSE153 | HABITAT CGHS VASUNDHARA ENCLAVE:ID | TG-VSE153A-1 | 19504251 | 630 | 200 | 241 | 0.99 | 144 | 51 | 218 | 41 | 178 | 52 | 220 | 41 | 2019-06-05 23:30 | 22.1 | -3.7 | 233 | R | 99 | 102 | 99 | 3 |  |  | 40.5 | 59.5 | 659.21 | 653.21 | 683.21 | 685.51 | 58 | 64 | 64 | 31.3 | [12 empty] | 717.21 | 2.39 | 0.6 | 0.23
74 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | NEW ASHOK NAGAR | 1241 | VSE153 | 1S-DL-YP-ETC-DVSE-2351-VSE153 | HABITAT CGHS VASUNDHARA ENCLAVE:ID | TG-VSE153A-2 | 19504257 | 630 | 200 | 241 | 0.98 | 129 | 63 | 276 | 37 | 160 | 29 | 123 | 137 | 2019-06-11 23:30 | 17 | 2.3 | 276 | R | 135 | 86 | 79 | 56 |  |  | 36 | 64 | 660.5 | 717.2 | 717.2 | 716.5 | 56.3 |  |  | 0.3 | [12 empty] | 717.2 | 2.4 | 0.48 | 0.2
75 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | NEW ASHOK NAGAR | 1241 | VSE165 | 1S-DL-YP-ETC-DVSE-2351-VSE165 | MAHESH C.G.H.S. VASUNDHRA ENCLAVE :I/D | TG-VSE165A-2 | 19506136 | 630 | 200 | 230 | 0.99 | 140 | 36 | 161 | 37 | 169 | 67 | 299 | 134 | 2019-06-03 | 68.6 | 3.6 | 315 | B | 92 | 71 | 137 | 66 | 0.1 |  | 9 | 90.9 | 700.26 | 706.56 | 401.56 | 693.56 | 6.3 |  |  | 13 | [12 empty] | 706.56 | 13.04 | 0.63 | 0.22
76 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | NEW ASHOK NAGAR | 1241 | VSE165 | 1S-DL-YP-ETC-DVSE-2351-VSE165 | MAHESH C.G.H.S. VASUNDHRA ENCLAVE :I/D | TG-VSE165A-1 | 19504289 | 630 | 200 | 230 | 0.99 | 111 | 29 | 129 | 11 | 49 | 71 | 319 | 240 | 2019-06-30 | 6.4 | -1.8 | 319 | B | 81 | 41 | 178 | 137 |  |  | 20.7 | 79.3 | 719.26 | 719.26 | 515.26 | 719.26 | [16 empty] | 719.26 | 0.34 | 0.53 | 0.18
77 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | NEW ASHOK NAGAR | 1241 | VSE166 | 1S-DL-YP-ETC-DVSE-2351-VSE166 | POLICE COMPUTER CGHS V.ENCL.:PACKAGE S/S | TG-VSE166A-1 | 19506898 | 990 | 320 | 236 | 0.97 | 106 | 39 | 174 | 38 | 168 | 28 | 127 | 45 | 2019-06-11 23:00 | 26.2 | 2.6 | 179 | Y | 102 | 104 | 94 | 10 | 0.1 | 0.8 | 8.1 | 91.1 | 711.27 | 711.27 | 711.27 | 711.27 | [16 empty] | 711.27 | 8.33 | 0.54 | 0.11
78 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | NEW ASHOK NAGAR | 1241 | VSE210 | 1S-DL-YP-ETC-DVSE-2351-VSE210 | Dutt Bhawan (AIFODE) | TG-VSE210A-1 | 19505122 | 100 | 40 | 241 | 0.98 | 15 | 0 | 0 | 15 | 64 | 0 | 1 | 63 | 2019-06-30 01:30 | 6.3 | -5.8 | 64 | Y | 0 | 283 | 17 | 283 |  | 0.4 | 20.5 | 79 | 708.04 | 582.26 | 708.04 | 708.04 |  | 124.08 | 124.08 |  |  | 1.3 | [10 empty] | 708.04 | 11.56 | 0.3 | 0.15
79 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | NEW ASHOK NAGAR | 1241 | VSE213 | 1S-DL-YP-ETC-DVSE-2351-VSE213 | DMRC Staff Qtrs New Ashok Nagar | TG-VSE213A-1 | 19506315 | 990 | 320 | 242 | 0.97 | 266 | 88 | 368 | 90 | 376 | 87 | 367 | 8 | 2019-06-22 10:00 | 192.6 | -3.8 | 376 | Y | 93 | 101 | 106 | 13 | 0.1 |  | 9.8 | 90.2 | 708.29 | 708.29 | 708.29 | 708.29 | 1.3 | 1.3 | 1.3 | 1.3 | [12 empty] | 709.59 | 10.01 | 0.21 | 0.27
80 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | VASUNDHARA ENCLAVE | 1241 | VSE025 | 1S-DL-YP-ETC-DVSE-2351-VSE025 | S/STN 3 MIXED HOUSING MVR-III:ID | TG-VSE025A-2 | 19502344 | 630 | 200 | 241 | 0.98 | 113 | 34 | 146 | 27 | 116 | 52 | 216 | 89 | 2019-06-30 23:00 | 14.3 | 0.9 | 221 | B | 97 | 84 | 118 | 34 | 96.4 | 0.1 | 1.3 | 2.2 | 719.3 | 720 | 693 | 720 | 0.3 | [15 empty] | 720 | 0 | 0.48 | 0.18
81 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | VASUNDHARA ENCLAVE | 1241 | VSE025 | 1S-DL-YP-ETC-DVSE-2351-VSE025 | S/STN 3 MIXED HOUSING MVR-III:ID | TG-VSE025A-1 | 19505964 | 630 | 200 | 248 | 0.98 | 112 | 40 | 159 | 34 | 135 | 38 | 150 | 21 | 2019-06-12 | 27.4 | 2.4 | 212 | B | 91 | 93 | 115 | 24 | 1.4 | 23.2 | 61.6 | 13.7 | 697 | 697 | 695.3 | 697 | [16 empty] | 697 | 23 | 0.5 | 0.18
82 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | VASUNDHARA ENCLAVE | 1241 | VSE026 | 1S-DL-YP-ETC-DVSE-2351-VSE026 | S/STN 4 MIXED HOUSING MVR-III:ID | TG-VSE026A-1 | 19502342 | 630 | 200 | 242 | 0.93 | 71 | 24 | 98 | 19 | 79 | 28 | 116 | 32 | 2019-06-11 00:30 | 38.2 | 0.5 | 133 | B | 102 | 73 | 125 | 52 |  |  | 22.5 | 77.5 | 718.19 | 718.19 | 718.19 | 718.19 | [16 empty] | 718.19 | 1.41 | 0.44 | 0.11
83 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | VASUNDHARA ENCLAVE | 1241 | VSE026 | 1S-DL-YP-ETC-DVSE-2351-VSE026 | S/STN 4 MIXED HOUSING MVR-III:ID | TG-VSE026A-2 | 19506312 | 630 | 200 | 242 | 0.98 | 110 | 13 | 52 | 19 | 78 | 79 | 333 | 270 | 2019-06-30 03:00 | 35.2 | 1.4 | 333 | B | 63 | 91 | 147 | 84 | 1.8 | 16.4 | 65.3 | 16.5 | 710.53 | 710.53 | 672.53 | 710.53 | [16 empty] | 710.53 | 9.07 | 0.44 | 0.18
84 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | VASUNDHARA ENCLAVE | 1241 | VSE027 | 1S-DL-YP-ETC-DVSE-2351-VSE027 | S/STN 5 MIXED HOUSING MVR-III:ID | TG-VSE027A-2 | 19502348 | 630 | 200 | 246 | 0.97 | 92 | 8 | 35 | 34 | 142 | 49 | 216 | 158 | 2019-06-11 23:00 | 13.8 | 2.3 | 230 | B | 22 | 109 | 170 | 148 | 100 |  |  |  | 715.4 | 715.4 | 673.1 | 715.4 | [16 empty] | 715.4 | 4.2 | 0.45 | 0.15
85 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | VASUNDHARA ENCLAVE | 1241 | VSE027 | 1S-DL-YP-ETC-DVSE-2351-VSE027 | S/STN 5 MIXED HOUSING MVR-III:ID | TG-VSE027A-1 | 19502381 | 630 | 200 | 246 | 0.99 | 146 | 56 | 231 | 42 | 174 | 48 | 202 | 50 | 2019-06-11 23:30 | 12.9 | -7.4 | 255 | R | 110 | 81 | 109 | 29 |  |  | 31.4 | 68.6 | 613.41 | 713.11 | 654.11 | 686.11 | 102 | 2.3 | 2.3 | 29.3 | [12 empty] | 715.41 | 4.19 | 0.5 | 0.23
86 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | VASUNDHARA ENCLAVE | 1241 | VSE028 | 1S-DL-YP-ETC-DVSE-2351-VSE028 | S/STN 6 MIXED HOUSING MVR-III:ID | TG-VSE028A-2 | 19502346 | 630 | 200 | 240 | 0.98 | 99 | 32 | 141 | 23 | 98 | 44 | 189 | 79 | 2019-06-02 22:30 | 17.5 | 3.2 | 204 | B | 96 | 90 | 114 | 24 |  |  | 68.1 | 31.9 | 715.4 | 715.4 | 697.4 | 715.4 | [16 empty] | 715.4 | 4.2 | 0.55 | 0.16
87 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | VASUNDHARA ENCLAVE | 1241 | VSE029 | 1S-DL-YP-ETC-DVSE-2351-VSE029 | S/STN 7 MIXED HOUSING MVR-III:ID | TG-VSE029A-2 | 19502345 | 630 | 200 | 246 | 0.98 | 159 | 49 | 205 | 63 | 262 | 47 | 199 | 60 | 2019-06-09 | 26.2 | 2.8 | 303 | Y | 96 | 122 | 82 | 40 |  |  | 3.2 | 96.8 | 651.5 | 561.5 | 709.18 | 644.5 | 62.58 | 152.58 | 152.58 | 69.58 | [12 empty] | 714.48 | 5.12 | 0.46 | 0.25
88 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | VASUNDHARA ENCLAVE | 1241 | VSE030 | 1S-DL-YP-ETC-DVSE-2351-VSE030 | S/STN 8 MIXED HOUSING MVR III:ID | TG-VSE030A-1 | 19503038 | 630 | 200 | 235 | 0.98 | 89 | 18 | 79 | 36 | 157 | 34 | 148 | 74 | 2019-06-29 23:30 | 16.6 | 2.3 | 176 | B | 81 | 132 | 87 | 51 |  |  | 37.4 | 62.6 | 715.41 | 715.41 | 715.41 | 715.41 | [16 empty] | 715.41 | 4.19 | 0.6 | 0.14
89 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | VASUNDHARA ENCLAVE | 1241 | VSE032 | 1S-DL-YP-ETC-DVSE-2351-VSE032 | S/STN 10 MIXED HOUSING MVR III:ID | TG-VSE032A-1 | 19502349 | 630 | 200 | 240 | 0.98 | 161 | 37 | 155 | 75 | 320 | 50 | 213 | 144 | 2019-06-30 23:30 | 21.2 | 4.1 | 320 | Y | 68 | 132 | 100 | 64 |  |  | 13.4 | 86.6 | 716.18 | 576.48 | 703.48 | 696.48 |  | 139.3 | 139.3 | 19.3 | [12 empty] | 716.18 | 3.42 | 0.42 | 0.26
90 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | VASUNDHARA ENCLAVE | 1241 | VSE032 | 1S-DL-YP-ETC-DVSE-2351-VSE032 | S/STN 10 MIXED HOUSING MVR III:ID | TG-VSE032A-2 | 19506127 | 630 | 200 | 247 | 0.98 | 153 | 44 | 180 | 33 | 138 | 75 | 312 | 157 | 2019-06-30 23:00 | 48.8 | 4.2 | 375 | B | 68 | 83 | 149 | 81 | 0.1 |  | 16.6 | 83.2 | 708.11 | 708.41 | 469.13 | 682.13 | 1 | 0.3 | 0.3 | 26.58 |  |  | 0.3 | [9 empty] | 709.11 | 10.49 | 0.49 | 0.24
91 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | VASUNDHARA ENCLAVE | 1241 | VSE047 | 1S-DL-YP-ETC-DVSE-2351-VSE047 | STAFF QUT. SEW. P/STN. KNODLI:ID | TG-VSE047A-1 | 19502836 | 400 | 120 | 235 | 0.98 | 76 | 26 | 125 | 28 | 130 | 21 | 92 | 36 | 2019-06-10 23:00 | 8 | 1.4 | 141 | Y | 103 | 114 | 83 | 31 | 100 |  |  |  | 719.27 | 700.27 | 719.27 | 719.27 |  | 19 | 19 | [13 empty] | 719.27 | 0.33 | 0.49 | 0.19
92 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | VASUNDHARA ENCLAVE | 1241 | VSE051 | 1S-DL-YP-ETC-DVSE-2351-VSE051 | S/STN 3 VASHUNDRA ENCLAVE:ID | TG-VSE051A-1 | 19502368 | 400 | 120 | 241 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2019-06-30 23:30 |  |  | 0 | [7 empty] | 0.1 | 99.9 | 719.25 | 719.25 | 719.25 | 719.25 | [16 empty] | 719.25 | 0.35 |  | 0
93 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | VASUNDHARA ENCLAVE | 1241 | VSE054 | 1S-DL-YP-ETC-DVSE-2351-VSE054 | S/STN 6 VASHUNDRA ENCLAVE:ID | TG-VSE054A-2 | 19500880 | 630 | 200 | 245 | 0.95 | 148 | 62 | 254 | 37 | 152 | 50 | 205 | 88 | 2019-06-29 12:30 | 36.3 | 7.8 | 254 | R | 127 | 66 | 107 | 61 |  |  | 0.9 | 99.1 | 618.15 | 719.45 | 693.45 | 714.45 | 101.3 |  |  | 5 | [12 empty] | 719.45 | 0.15 | 0.41 | 0.24
94 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | VASUNDHARA ENCLAVE | 1241 | VSE056 | 1S-DL-YP-ETC-DVSE-2351-VSE056 | INOD-VERMAN PETROLIUM P/PUMP:PM | TG-VSE056A-1 | 19504359 | 400 | 120 | 248 | 0.98 | 33 | 14 | 54 | 9 | 36 | 10 | 38 | 17 | 2019-06-29 18:30 | 1.9 | -32.6 | 54 | R | 87 | 62 | 151 | 89 |  | 0.1 | 49.4 | 50.5 | 717.38 | 717.38 | 717.38 | 717.38 | [16 empty] | 717.38 | 2.22 | 0.21 | 0.08
95 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | VASUNDHARA ENCLAVE | 1241 | VSE057 | 1S-DL-YP-ETC-DVSE-2351-VSE057 | BPS+ IOC P/PUMP NOIDA RD DALLUPURA:PL:ID | TG-VSE057A-1 | 19506474 | 400 | 120 | 249 | 0.88 | 87 | 20 | 79 | 32 | 130 | 35 | 139 | 56 | 2019-06-27 19:30 | 63.8 | -0.7 | 165 | B | 64 | 112 | 124 | 60 | 0.1 | 2.1 | 53.1 | 44.7 | 708.3 | 690 | 688.3 | 707.3 |  | 18.3 | 18.3 | 1 | [12 empty] | 708.3 | 11.3 | 0.39 | 0.22
96 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | VASUNDHARA ENCLAVE | 1241 | VSE068 | 1S-DL-YP-ETC-DVSE-2351-VSE068 | LAHORE:ID | TG-VSE068A-2 | 19500916 | 400 | 120 | 241 | 0.98 | 71 | 33 | 140 | 15 | 62 | 23 | 98 | 68 | 2019-06-05 23:30 | 8.8 | 1.4 | 140 | R | 99 | 87 | 113 | 26 |  |  | 9.1 | 90.9 | 713.54 | 719.24 | 718.24 | 719.24 | 5.3 | [15 empty] | 719.24 | 0.36 | 0.47 | 0.18
97 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | VASUNDHARA ENCLAVE | 1241 | VSE068 | 1S-DL-YP-ETC-DVSE-2351-VSE068 | LAHORE:ID | TG-VSE068A-1 | 19500919 | 400 | 120 | 240 | 0.97 | 66 | 24 | 103 | 35 | 147 | 8 | 32 | 100 | 2019-06-30 01:00 | 14.9 | 1.9 | 147 | Y | 101 | 143 | 56 | 87 |  |  | 3.1 | 96.9 | 718.55 | 686.55 | 719.25 | 719.25 | 0.3 | 32.3 | 32.3 | [13 empty] | 719.25 | 0.35 | 0.49 | 0.17
98 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | VASUNDHARA ENCLAVE | 1241 | VSE069 | 1S-DL-YP-ETC-DVSE-2351-VSE069 | INDIAN NAVAL:ID | TG-VSE069A-1 | 19500891 | 400 | 120 | 241 | 0.97 | 79 | 30 | 128 | 23 | 99 | 26 | 107 | 26 | 2019-06-01 12:00 | 26.8 | 1.4 | 136 | R | 129 | 100 | 71 | 58 |  | 0.1 | 44.1 | 55.8 | 712.55 | 718.55 | 719.25 | 719.25 | 6.3 | 0.3 | 0.3 | [13 empty] | 719.25 | 0.35 | 0.4 | 0.2
99 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | VASUNDHARA ENCLAVE | 1241 | VSE069 | 1S-DL-YP-ETC-DVSE-2351-VSE069 | INDIAN NAVAL:ID | TG-VSE069A-2 | 19500917 | 400 | 120 | 241 | 0.98 | 90 | 46 | 197 | 21 | 92 | 24 | 102 | 101 | 2019-06-30 23:30 | 14.4 | 2.8 | 205 | R | 135 | 65 | 100 | 70 |  |  | 5.9 | 94.1 | 518.59 | 719.25 | 717.55 | 691.55 | 200.26 |  |  | 27.3 | [12 empty] | 719.25 | 0.35 | 0.5 | 0.23
100 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | VASUNDHARA ENCLAVE | 1241 | VSE071 | 1S-DL-YP-ETC-DVSE-2351-VSE071 | DAINIK JANYAG CGHS:ID | TG-VSE071A-2 | 19502362 | 400 | 120 | 242 | 0.98 | 58 | 18 | 76 | 17 | 74 | 23 | 98 | 23 | 2019-06-26 22:30 | 11.6 | 1.1 | 100 | Y | 105 | 96 | 100 | 9 |  |  | 18.1 | 81.9 | 719.27 | 719.27 | 719.27 | 719.27 | [16 empty] | 719.27 | 0.33 | 0.5 | 0.14
101 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | VASUNDHARA ENCLAVE | 1241 | VSE071 | 1S-DL-YP-ETC-DVSE-2351-VSE071 | DAINIK JANYAG CGHS:ID | TG-VSE071A-1 | 19502365 | 400 | 120 | 251 | 0.98 | 83 | 21 | 83 | 36 | 157 | 26 | 114 | 64 | 2019-06-10 23:30 | 12.1 | 1.7 | 157 | Y | 72 | 121 | 107 | 49 | 72.5 | 0.3 | 17.9 | 9.3 | 719.27 | 677.57 | 712.57 | 718.57 |  | 41.3 | 41.3 | 0.3 | [12 empty] | 719.27 | 0.33 | 0.44 | 0.21
102 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | VASUNDHARA ENCLAVE | 1241 | VSE073 | 1S-DL-YP-ETC-DVSE-2351-VSE073 | DOCTORS S/STR 1:ID | TG-VSE073A-2 | 19502006 | 400 | 120 | 235 | 0.97 | 73 | 42 | 182 | 31 | 136 | 0 | 0 | 164 | 2019-06-08 23:00 | 15.2 | 0.8 | 182 | R | 153 | 147 | 0 | 153 | 100 |  |  |  | 609.57 | 645.41 | 717.41 | 717.41 | 107.44 | 72 | 72 | [13 empty] | 717.41 | 2.19 | 0.49 | 0.18
103 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | VASUNDHARA ENCLAVE | 1241 | VSE073 | 1S-DL-YP-ETC-DVSE-2351-VSE073 | DOCTORS S/STR 1:ID | TG-VSE073A-1 | 19502020 | 400 | 120 | 241 | 0.98 | 68 | 25 | 107 | 15 | 64 | 29 | 124 | 53 | 2019-06-29 23:00 | 18.5 | 1.9 | 130 | B | 99 | 65 | 136 | 71 |  |  | 2.8 | 97.2 | 716.5 | 717.2 | 707.2 | 717.2 | 0.3 | [15 empty] | 717.2 | 2.4 | 0.48 | 0.17
104 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | VASUNDHARA ENCLAVE | 1241 | VSE074 | 1S-DL-YP-ETC-DVSE-2351-VSE074 | DOCTORS S/S II CGHS:ID | TG-VSE074A-1 | 19502001 | 400 | 120 | 241 | 0.99 | 79 | 19 | 80 | 27 | 115 | 32 | 136 | 49 | 2019-06-30 15:00 | 7.5 | 1.1 | 157 | B | 64 | 106 | 130 | 66 |  |  | 40.2 | 59.8 | 717.4 | 703.1 | 636.1 | 717.4 |  | 14.3 | 14.3 | [13 empty] | 717.4 | 2.2 | 0.51 | 0.2
105 | 2019-06-02 | 2019-06-30 23:30 | MAYUR VIHAR III | VASUNDHARA ENCLAVE | 1241 | VSE074 | 1S-DL-YP-ETC-DVSE-2351-VSE074 | DOCTORS S/S II CGHS:ID | TG-VSE074A-2 | 19502009 | 400 | 120 | 240 | 0.97 | 107 | 32 | 137 | 36 | 155 | 39 | 167 | 26 | 2019-06-09 22:30 | 28.7 | 5 | 167 | B | 103 | 92 | 105 | 13 |  |  | 1.2 | 98.8 | 595.09 | 658.09 | 586.09 | 652.39 | 98.3 | 35.3 | 35.3 | 41 | [12 empty] | 693.39 | 2.21 | 0.55 | 0.27
106 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | VASUNDHARA ENCLAVE | 1241 | VSE076 | 1S-DL-YP-ETC-DVSE-2351-VSE076 | HIGH LAND CGHS:ID | TG-VSE076A-2 | 19500702 | 630 | 200 | 240 | 0.98 | 101 | 50 | 217 | 23 | 98 | 28 | 122 | 109 | 2019-06-11 23:30 | 16.1 | 2.3 | 224 | R | 140 | 79 | 81 | 61 |  | 0.2 | 6.7 | 93.1 | 706.56 | 719.26 | 719.26 | 719.26 | 12.3 | [15 empty] | 719.26 | 0.34 | 0.5 | 0.16
107 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | VASUNDHARA ENCLAVE | 1241 | VSE076 | 1S-DL-YP-ETC-DVSE-2351-VSE076 | HIGH LAND CGHS:ID | TG-VSE076A-1 | 19502399 | 630 | 200 | 235 | 0.98 | 73 | 23 | 100 | 27 | 119 | 24 | 103 | 18 | 2019-06-15 23:30 | 14.3 | 0.5 | 125 | Y | 99 | 94 | 107 | 13 |  |  | 26 | 74 | 719.25 | 719.25 | 719.25 | 719.25 | [16 empty] | 719.25 | 0.35 | 0.56 | 0.12
108 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | VASUNDHARA ENCLAVE | 1241 | VSE077 | 1S-DL-YP-ETC-DVSE-2351-VSE077 | MANSARA CGHS:ID | TG-VSE077A-2 | 19502042 | 400 | 120 | 234 | 0.98 | 88 | 23 | 99 | 30 | 144 | 35 | 155 | 51 | 2019-06-11 23:00 | 11.9 | 1.7 | 172 | B | 74 | 98 | 128 | 54 | 100 |  |  |  | 717.55 | 691.55 | 563.55 | 705.25 | 1.3 | 27.3 | 27.3 | 14 | [12 empty] | 719.25 | 0.35 | 0.51 | 0.22
109 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | VASUNDHARA ENCLAVE | 1241 | VSE077 | 1S-DL-YP-ETC-DVSE-2351-VSE077 | MANSARA CGHS:ID | TG-VSE077A-1 | 19502049 | 400 | 120 | 239 | 0.97 | 96 | 28 | 116 | 38 | 157 | 30 | 122 | 39 | 2019-06-05 20:00 | 37.8 | 3.9 | 179 | Y | 109 | 110 | 81 | 29 |  |  | 5.6 | 94.4 | 556.25 | 596.55 | 705.55 | 664.25 | 163 | 122.3 | 122.3 | 55 | [12 empty] | 719.25 | 0.35 | 0.59 | 0.24
110 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | VASUNDHARA ENCLAVE | 1241 | VSE078 | 1S-DL-YP-ETC-DVSE-2351-VSE078 | ABHIMAYU S/STN 1 CGHS:ID | TG-VSE078A-1 | 19502397 | 630 | 200 | 234 | 0.99 | 122 | 44 | 193 | 26 | 115 | 52 | 232 | 103 | 2019-06-30 22:30 | 14.3 | 0.9 | 259 | B | 101 | 70 | 129 | 59 |  |  | 9.2 | 90.8 | 711.25 | 719.25 | 660.25 | 719.25 | 8 | [15 empty] | 719.25 | 0.35 | 0.48 | 0.19
111 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | VASUNDHARA ENCLAVE | 1241 | VSE078 | 1S-DL-YP-ETC-DVSE-2351-VSE078 | ABHIMAYU S/STN 1 CGHS:ID | TG-VSE078A-2 | 19502398 | 400 | 120 | 235 | 0.97 | 67 | 17 | 74 | 20 | 88 | 31 | 136 | 56 | 2019-06-01 23:30 | 16.6 | 1.1 | 136 | B | 73 | 114 | 113 | 41 | 0.3 | 0.5 | 22.8 | 76.4 | 719.25 | 717.55 | 712.25 | 719.25 |  | 1.3 | 1.3 | [13 empty] | 719.25 | 0.35 | 0.55 | 0.17
112 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | VASUNDHARA ENCLAVE | 1241 | VSE079 | 1S-DL-YP-ETC-DVSE-2351-VSE079 | ABHIMANYU S/STR 2:ID | TG-VSE079A-1 | 19506471 | 400 | 120 | 241 | 0.98 | 98 | 34 | 145 | 29 | 126 | 35 | 154 | 25 | 2019-06-02 23:30 | 18.4 | 1.7 | 170 | B | 103 | 90 | 108 | 18 | 0.1 | 0.1 | 9.9 | 89.9 | 626.19 | 688.19 | 625.19 | 663.19 | 82 | 20 | 20 | 45 | [12 empty] | 708.19 | 11.41 | 0.49 | 0.25
113 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | VASUNDHARA ENCLAVE | 1241 | VSE079 | 1S-DL-YP-ETC-DVSE-2351-VSE079 | ABHIMANYU S/STR 2:ID | TG-VSE079A-2 | 19506475 | 630 | 200 | 241 | 0.99 | 89 | 56 | 257 | 18 | 75 | 14 | 61 | 188 | 2019-06-16 03:00 | 22.2 | 0.8 | 257 | R | 103 | 120 | 77 | 43 | 0.1 |  | 8.7 | 91.2 | 707.55 | 708.25 | 708.25 | 708.25 | 0.3 | [15 empty] | 708.25 | 11.35 | 0.44 | 0.14
114 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | VASUNDHARA ENCLAVE | 1241 | VSE080 | 1S-DL-YP-ETC-DVSE-2351-VSE080 | SOOCHANA:ID | TG-VSE080A-1 | 19502451 | 400 | 120 | 241 | 0.98 | 88 | 30 | 131 | 33 | 143 | 25 | 109 | 29 | 2019-06-11 | 18.2 | 1.7 | 177 | Y | 108 | 118 | 75 | 43 |  |  | 1.4 | 98.6 | 687.25 | 640.55 | 719.25 | 708.25 | 32 | 78.3 | 78.3 | 11 | [12 empty] | 719.25 | 0.35 | 0.5 | 0.22
115 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | VASUNDHARA ENCLAVE | 1241 | VSE081 | 1S-DL-YP-ETC-DVSE-2351-VSE081 | NEW PRAGATI SHEEL:ID | TG-VSE081A-1 | 19502457 | 630 | 200 | 229 | 0.99 | 119 | 43 | 196 | 23 | 103 | 54 | 246 | 126 | 2019-06-10 23:30 | 13.3 | 1.4 | 249 | B | 108 | 58 | 134 | 76 |  |  | 32.3 | 67.7 | 700.56 | 719.26 | 665.56 | 719.26 | 18.3 | [15 empty] | 719.26 | 0.34 | 0.5 | 0.19
116 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | VASUNDHARA ENCLAVE | 1241 | VSE082 | 1S-DL-YP-ETC-DVSE-2351-VSE082 | MANGAL:ID | TG-VSE082A-4 | 19502452 | 630 | 200 | 229 | 0.98 | 103 | 39 | 178 | 31 | 139 | 33 | 150 | 35 | 2019-06-11 23:30 | 21.2 | 1.4 | 188 | B | 81 | 105 | 114 | 33 |  |  | 18.7 | 81.3 | 719.26 | 719.26 | 718.56 | 719.26 | [16 empty] | 719.26 | 0.34 | 0.59 | 0.16
117 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | VASUNDHARA ENCLAVE | 1241 | VSE082 | 1S-DL-YP-ETC-DVSE-2351-VSE082 | MANGAL:ID | TG-VSE082A-2 | 19502455 | 630 | 200 | 229 | 0.99 | 133 | 37 | 166 | 44 | 201 | 52 | 234 | 59 | 2019-06-10 | 15.2 | 1.8 | 267 | B | 92 | 89 | 120 | 31 |  |  | 9.3 | 90.7 | 719.25 | 715.55 | 648.25 | 717.25 |  | 3.3 | 3.3 | 2 | [12 empty] | 719.25 | 0.35 | 0.52 | 0.21
118 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | VASUNDHARA ENCLAVE | 1241 | VSE082 | 1S-DL-YP-ETC-DVSE-2351-VSE082 | MANGAL:ID | TG-VSE082A-1 | 19502456 | 630 | 200 | 234 | 0.99 | 127 | 41 | 181 | 37 | 162 | 48 | 208 | 40 | 2019-06-13 23:30 | 14.7 | 2.3 | 214 | B | 102 | 98 | 100 | 4 |  |  | 5.1 | 94.9 | 715.51 | 718.21 | 697.21 | 718.21 | 3 | 0.3 | 0.3 | 0.3 | [12 empty] | 718.51 | 1.09 | 0.52 | 0.2
119 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | VASUNDHARA ENCLAVE | 1241 | VSE082 | 1S-DL-YP-ETC-DVSE-2351-VSE082 | MANGAL:ID | TG-VSE082A-3 | 19502460 | 630 | 200 | 229 | 0.99 | 140 | 40 | 183 | 52 | 237 | 48 | 219 | 48 | 2019-06-30 23:30 | 15.6 | 1.4 | 246 | B | 99 | 90 | 111 | 21 |  |  | 31 | 69 | 693.55 | 701.55 | 664.55 | 703.25 | 25.3 | 17.3 | 17.3 | 16 | [12 empty] | 719.25 | 0.35 | 0.51 | 0.22
120 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | VASUNDHARA ENCLAVE | 1241 | VSE083 | 1S-DL-YP-ETC-DVSE-2351-VSE083 | SHANTI DOOT:ID | TG-VSE083A-1 | 19504133 | 630 | 200 | 240 | 0.97 | 86 | 18 | 78 | 37 | 163 | 31 | 134 | 75 | 2019-06-12 | 19.8 | 2.3 | 171 | Y | 57 | 124 | 118 | 67 |  |  | 4.4 | 95.6 | 719.25 | 719.25 | 719.25 | 719.25 | [16 empty] | 719.25 | 0.35 | 0.52 | 0.14
121 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | VASUNDHARA ENCLAVE | 1241 | VSE083 | 1S-DL-YP-ETC-DVSE-2351-VSE083 | SHANTI DOOT:ID | TG-VSE083A-2 | 19505826 | 630 | 200 | 238 | 0.98 | 30 | 16 | 70 | 0 | 0 | 14 | 59 | 65 | 2019-06-01 22:30 | 5.6 | 0.2 | 76 | R | 151 | 0 | 149 | 151 | 68.9 | 29.7 | 1.4 |  | 709.26 | 709.26 | 709.26 | 709.26 | [16 empty] | 709.26 | 10.34 | 0.5 | 0.05
122 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | VASUNDHARA ENCLAVE | 1241 | VSE084 | 1S-DL-YP-ETC-DVSE-2351-VSE084 | FANCY:ID | TG-VSE084A-2 | 19502050 | 630 | 200 | 235 | 0.98 | 98 | 32 | 138 | 24 | 106 | 42 | 181 | 66 | 2019-06-13 23:30 | 21.2 | 0.9 | 202 | B | 87 | 88 | 125 | 38 |  |  | 8.2 | 91.8 | 717.41 | 717.41 | 713.11 | 717.41 | [16 empty] | 717.41 | 2.19 | 0.49 | 0.16
123 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | VASUNDHARA ENCLAVE | 1241 | VSE084 | 1S-DL-YP-ETC-DVSE-2351-VSE084 | FANCY:ID | TG-VSE084A-1 | 19502044 | 630 | 200 | 235 | 0.99 | 69 | 12 | 52 | 30 | 129 | 28 | 120 | 73 | 2019-06-15 23:30 | 7.4 | 0.5 | 129 | Y | 42 | 137 | 121 | 95 |  |  | 1.5 | 98.5 | 717.4 | 717.4 | 717.4 | 717.4 | [16 empty] | 717.4 | 2.2 | 0.47 | 0.11
124 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | VASUNDHARA ENCLAVE | 1241 | VSE087 | 1S-DL-YP-ETC-DVSE-2351-VSE087 | ANEKANT:ID | TG-VSE087A-1 | 19502378 | 400 | 120 | 250 | 0.98 | 100 | 49 | 200 | 34 | 141 | 17 | 68 | 115 | 2019-06-30 | 17.4 | 1.4 | 200 | R | 136 | 94 | 70 | 66 |  | 0.5 | 13.2 | 86.3 | 500.42 | 668.12 | 718.42 | 668.12 | 218.3 | 51 | 51 | 51 | [12 empty] | 719.12 | 0.48 | 0.51 | 0.25
125 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | VASUNDHARA ENCLAVE | 1241 | VSE087 | 1S-DL-YP-ETC-DVSE-2351-VSE087 | ANEKANT:ID | TG-VSE087A-2 | 19502376 | 400 | 120 | 250 | 0.98 | 88 | 19 | 81 | 36 | 150 | 32 | 131 | 62 | 2019-06-29 23:30 | 13.5 | 1.7 | 162 | Y | 80 | 119 | 101 | 39 |  |  | 12 | 88 | 719.11 | 618.41 | 664.41 | 706.41 |  | 100.3 | 100.3 | 12.3 | [12 empty] | 719.11 | 0.49 | 0.53 | 0.22
126 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | VASUNDHARA ENCLAVE | 1241 | VSE088 | 1S-DL-YP-ETC-DVSE-2351-VSE088 | NDSE. (SRINIKETAN):ID | TG-VSE088A-2 | 19506814 | 400 | 120 | 250 | 0.98 | 91 | 29 | 116 | 34 | 133 | 28 | 110 | 21 | 2019-06-09 02:00 | 34.7 | 1.1 | 156 | B | 112 | 71 | 117 | 46 | 0.2 | 0.7 | 17.9 | 81.2 | 636.11 | 710.11 | 574.41 | 691.11 | 75 | 1 | 1 | 20 | [12 empty] | 711.11 | 8.49 | 0.5 | 0.23
127 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | VASUNDHARA ENCLAVE | 1241 | VSE089 | 1S-DL-YP-ETC-DVSE-2351-VSE089 | HINDON:ID | TG-VSE089A-1 | 19506131 | 630 | 200 | 244 | 0.98 | 112 | 36 | 153 | 36 | 151 | 39 | 165 | 13 | 2019-06-01 23:30 | 36.6 | 4.2 | 223 | Y | 89 | 104 | 107 | 18 | 0.1 | 0.2 | 20.1 | 79.7 | 710.49 | 709.19 | 710.49 | 710.49 |  | 1.3 | 1.3 | [13 empty] | 710.49 | 9.11 | 0.55 | 0.18
128 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | VASUNDHARA ENCLAVE | 1241 | VSE089 | 1S-DL-YP-ETC-DVSE-2351-VSE089 | HINDON:ID | TG-VSE089A-2 | 19506473 | 630 | 200 | 244 | 0.97 | 135 | 64 | 270 | 34 | 140 | 37 | 156 | 123 | 2019-06-11 23:00 | 48.4 | 2.6 | 270 | R | 126 | 89 | 86 | 40 |  | 0.2 | 15.7 | 84.1 | 564.19 | 709.49 | 710.19 | 704.49 | 146 | 0.3 | 0.3 | 5.3 | [12 empty] | 710.19 | 9.41 | 0.53 | 0.21
129 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | VASUNDHARA ENCLAVE | 1241 | VSE099 | 1S-DL-YP-ETC-DVSE-2351-VSE099 | MANAVASTHALI S/STN:ID | TG-VSE099A-1 | 19500374 | 630 | 200 | 240 | 0.97 | 119 | 39 | 166 | 39 | 168 | 41 | 173 | 6 | 2019-06-30 01:00 | 22.1 | 4.1 | 207 | B | 110 | 89 | 102 | 21 |  |  | 1.1 | 98.9 | 715.09 | 717.09 | 699.09 | 717.39 | 2.3 | 0.3 | 0.3 | [13 empty] | 717.39 | 2.21 | 0.57 | 0.19
130 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | VASUNDHARA ENCLAVE | 1241 | VSE137 | 1S-DL-YP-ETC-DVSE-2351-VSE137 | VISHAL:ID | TG-VSE137A-2 | 19505245 | 400 | 120 | 242 | 0.98 | 41 | 11 | 49 | 16 | 70 | 14 | 59 | 18 | 2019-06-11 23:00 | 17.4 | 0.2 | 85 | Y | 92 | 141 | 67 | 74 |  | 0.2 | 15.5 | 84.3 | 706.11 | 706.11 | 706.11 | 706.11 | [16 empty] | 706.11 | 13.49 | 0.52 | 0.1
131 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | VASUNDHARA ENCLAVE | 1241 | VSE164 | 1S-DL-YP-ETC-DVSE-2351-VSE164 | S/STN-7 VASUNDHRA ENCL. MVR-III :PM(SOM) | TG-VSE164A-1 | 19506313 | 400 | 120 | 247 | 0.9 | 58 | 18 | 75 | 20 | 83 | 19 | 80 | 7 | 2019-06-10 13:30 | 32.2 | -0.6 | 97 | Y | 98 | 89 | 113 | 24 |  | 0.2 | 13.1 | 86.7 | 711.04 | 711.04 | 711.04 | 711.04 | [16 empty] | 711.04 | 8.56 | 0.37 | 0.14
132 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | VASUNDHARA ENCLAVE | 1241 | VSE167 | 1S-DL-YP-ETC-DVSE-2351-VSE167 | MCD SCHOOL VASUNDHARA ENCLAVE:PM | TG-VSE167A-1 | 19504252 | 100 | 40 | 241 | 0.98 | 38 | 12 | 49 | 10 | 40 | 16 | 66 | 23 | 2019-06-06 08:00 | 9.4 | -2.1 | 73 | B | 87 | 94 | 118 | 31 |  |  | 28.7 | 71.3 | 698.25 | 702.25 | 653.25 | 698.25 | 21 | 17 | 17 | 21 |  |  | 9 | [9 empty] | 719.25 | 0.35 | 0.21 | 0.38
133 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | VASUNDHARA ENCLAVE | 1241 | VSE194 | 1S-DL-YP-ETC-DVSE-2351-VSE194 | SS-Vardhman Plaza Market V.Encl | TG-VSE194A-1 | 19504991 | 630 | 200 | 230 | 0.98 | 102 | 33 | 148 | 35 | 157 | 34 | 149 | 8 | 2019-06-26 12:00 | 8.7 | 0.5 | 179 | Y | 96 | 91 | 113 | 22 |  |  | 10.1 | 89.9 | 719.25 | 719.25 | 719.25 | 719.25 | [16 empty] | 719.25 | 0.35 | 0.28 | 0.16
134 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | VASUNDHARA ENCLAVE | 1241 | VSE196 | 1S-DL-YP-ETC-DVSE-2351-VSE196 | Fire Station Dallupura MVR-3 | TG-VSE196A-1 | 19506314 | 400 | 120 | 248 | 0.96 | 25 | 4 | 16 | 17 | 69 | 4 | 18 | 52 | 2019-06-28 21:00 | 7 | -0.7 | 69 | Y | 39 | 176 | 86 | 137 |  | 0.2 | 55.5 | 44.3 | 708.3 | 708.3 | 708.3 | 708.3 | [16 empty] | 708.3 | 11.3 | 0.37 | 0.06
135 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | VASUNDHARA ENCLAVE | 1241 | VSE197 | 1S-DL-YP-ETC-DVSE-2351-VSE197 | SHEED RAJGURU WOMENS COLLEGE V. ENCL. | TG-VSE197A-1 | 19505243 | 400 | 120 | 242 | 0.99 | 31 | 9 | 38 | 6 | 25 | 16 | 68 | 38 | 2019-06-30 23:00 | 8.4 | -0.2 | 71 | B | 148 | 94 | 58 | 90 | 0.1 | 0.1 | 4.5 | 95.3 | 708.41 | 708.41 | 708.41 | 708.41 | [16 empty] | 708.41 | 11.19 | 0.34 | 0.08
136 | 2019-06-01 | 2019-06-30 23:30 | MAYUR VIHAR III | VASUNDHARA ENCLAVE | 1241 | VSE208 | 1S-DL-YP-ETC-DVSE-2351-VSE208 | NEW ASHOK NAGAR POLICE STATION S/STN | TG-VSE208A-1 | 19506765 | 400 | 120 | 249 | 0.95 | 55 | 27 | 112 | 15 | 62 | 13 | 52 | 56 | 2019-06-30 23:30 | 16 | 1.1 | 112 | R | 126 | 97 | 77 | 49 | 0.1 | 0.4 | 21.6 | 77.8 | 707.3 | 708 | 708 | 708 | 0.3 | [15 empty] | 708 | 12 | 0.47 | 0.14