## Complete Report
MIS Report of Distribution Transformer - Jun19
Jun19 1250 YAMUNA VIHAR (Complete Report)
Sn. | Study Period |  | Division Name | Zone | Div Code | Sap Code | Sap Function Code | DT Name | DT Code | Meter Serial No. | KVA Rating | MF | VOLTAGE | POWER FACTOR | Peak Loading Conditions | [8 empty] | Reactive Demand (KVAR) |  | Highest Phase Current |  | % Relative Phase Unbalance |  |  | %Unbalance | % Voltage Unbalance (%Time of total study period) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) | [5 empty] | LF | UF
[15 empty] | Peak KVA | R Phase |  | Y Phase |  | B Phase |  | Neutral Current (AMP) | Date and Time
[16 empty] | KVA | I (AMP) | KVA | I (AMP) | KVA | I (AMP) |  |  | MAX | MIN | Current(AMP) | Phase | R-Ph | Y-Ph | B-Ph | {I(Max)-I(Min)} / I(Average) | >3% | <=3% and >2% | <=2% and >1% | <=1% | < 20% |  |  |  | 20%-40% |  |  |  | 40%-80% |  |  |  | 80%-100% |  |  |  | >100% |  |  |  | ON ( in HH:MI) | OFF ( in HH:MI)
[36 empty] | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer
1 | 2019-06-01 | 2019-06-30 23:30 | YAMUNA VIHAR | SHASTRI PARK | 1250 | SLM071 | 1S-DL-YP-ETC-DYVR-2401-SLM071 | CISF SHASTRI PARK | TG-SLM071A-1 | 19506249 | 100 | 40 | 246 | 0.54 | 77 | 33 | 131 | 29 | 117 | 15 | 60 | 65 | 2019-06-18 10:30 | 72 | -53.5 | 154 | Y | 91 | 136 | 73 | 63 | 0.2 | 2.5 | 50.6 | 46.7 | 530.19 | 433.49 | 584.13 | 557.49 | 68.43 | 143 | 143 | 35.24 | 91.43 | 57.3 | 86.43 | 98.32 | 1 | 54.56 | 1.3 |  |  | 2.3 |  |  | 691.45 | 28.15 | 0.22 | 0.77
2 | 2019-06-01 | 2019-06-30 23:30 | YAMUNA VIHAR | SHASTRI PARK | 1250 | SLM085 | 1S-DL-YP-ETC-DYVR-2401-SLM085 | BELA FARM SHASTRI PARK:PM | TG-SLM085A-1 | 19506603 | 100 | 40 | 247 | 0.8 | 9 | 3 | 13 | 0 | 0 | 6 | 24 | 21 | 2019-06-08 09:00 | 3.7 | -0.4 | 34 | B | 9 | 0 | 291 | 291 |  | 0.3 | 47 | 52.7 | 696.08 | 696.08 | 695.38 | 696.08 | [16 empty] | 696.08 | 23.52 | 0.25 | 0.09
3 | 2019-06-01 | 2019-06-30 23:30 | YAMUNA VIHAR | SHASTRI PARK | 1250 | SLM129 | 1S-DL-YP-ETC-DYVR-2401-SLM129 | Vijay Coat market Shastri Park:Pkg | TG-SLM129A-1 | 19506118 | 630 | 200 | 245 | 0.83 | 31 | 10 | 39 | 18 | 71 | 4 | 14 | 49 | 2019-06-25 18:30 | 23.8 | 0.2 | 90 | R | 95 | 151 | 54 | 97 |  |  | 46.3 | 53.7 | 701.58 | 701.58 | 701.58 | 701.58 | [16 empty] | 701.58 | 18.02 | 0.37 | 0.05