## Underload DTs
MIS Report of Distribution Transformer - Jun19
Jun19 1251 KARAWAL NAGAR (Underload DTs)
Sn. | Study Period |  | Division Name | Zone | Div Code | Sap Code | Sap Function Code | DT Name | DT Code | Meter Serial No. | KVA Rating | MF | VOLTAGE | POWER FACTOR | Peak Loading Conditions | [8 empty] | Reactive Demand (KVAR) |  | Highest Phase Current |  | % Relative Phase Unbalance |  |  | %Unbalance | % Voltage Unbalance (%Time of total study period) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) | [5 empty] | LF | UF
[15 empty] | Peak KVA | R Phase |  | Y Phase |  | B Phase |  | Neutral Current (AMP) | Date and Time
[16 empty] | KVA | I (AMP) | KVA | I (AMP) | KVA | I (AMP) |  |  | MAX | MIN | Current(AMP) | Phase | R-Ph | Y-Ph | B-Ph | {I(Max)-I(Min)} / I(Average) | >3% | <=3% and >2% | <=2% and >1% | <=1% | < 20% |  |  |  | 20%-40% |  |  |  | 40%-80% |  |  |  | 80%-100% |  |  |  | >100% |  |  |  | ON ( in HH:MI) | OFF ( in HH:MI)
[36 empty] | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer
1 | 2019-06-01 | 2019-06-30 23:30 | KARAWAL NAGAR | GOKUL PURI | 1251 | KWL081 | 1S-DL-YP-ETC-DKWL-2451-KWL081 | H BLOCK GANGA VIHAR GALI NO. 8:ID | TG-KWL081A-2 | 19506303 | 630 | 200 | 243 | 0.94 | 83 | 13 | 55 | 33 | 139 | 37 | 154 | 93 | 2019-06-29 23:30 | 33 | 8.2 | 203 | B | 47 | 109 | 144 | 97 |  | 1.4 | 84.6 | 13.9 | 694.5 | 694.5 | 689.5 | 694.5 | [16 empty] | 694.5 | 25.1 | 0.66 | 0.13
2 | 2019-06-01 | 2019-06-30 23:30 | KARAWAL NAGAR | GOKUL PURI | 1251 | KWL109 | 1S-DL-YP-ETC-DKWL-2451-KWL109 | E BL BHAGIRATHI VIHAR(NALE WALA):PLM | TG-KWL109A-1 | 19505762 | 630 | 200 | 236 | 0.96 | 123 | 30 | 129 | 44 | 189 | 49 | 212 | 74 | 2019-06-26 02:00 | 46.4 | 9.8 | 224 | Y | 72 | 114 | 114 | 42 |  | 0.1 | 29.3 | 70.6 | 715.55 | 678.2 | 706.03 | 715.55 |  | 37.35 | 37.35 | [13 empty] | 715.55 | 4.05 | 0.62 | 0.2
3 | 2019-06-01 | 2019-06-30 23:30 | KARAWAL NAGAR | GOKUL PURI | 1251 | KWL241 | 1S-DL-YP-ETC-DKWL-2451-KWL241 | JOHRI PUR TUNDA NAGAR:PL | TG-KWL241A-1 | 19504974 | 400 | 120 | 235 | 0.76 | 36 | 9 | 39 | 6 | 26 | 21 | 91 | 60 | 2019-06-08 12:00 | 13 | -12.4 | 91 | B | 119 | 48 | 132 | 84 |  |  | 16.9 | 83.1 | 713.37 | 713.37 | 713.37 | 713.37 | [16 empty] | 713.37 | 6.23 | 0.17 | 0.09
4 | 2019-06-12 | 2019-06-30 23:30 | KARAWAL NAGAR | KARAWAL NAGAR | 1251 | KWL285 | 1S-DL-YP-ETC-DKWL-2451-KWL285 | Village New Sabha Pur(Boys Sr.School):PM | TG-KWL285A-1 | 19505115 | 400 | 120 | 247 | 0.99 | 20 | 13 | 53 | 4 | 14 | 3 | 13 | 40 | 2019-06-14 12:30 | 10 | -1.1 | 53 | R | 98 | 115 | 87 | 28 |  | 0.1 | 1.9 | 98 | 425.12 | 425.12 | 425.12 | 425.12 | [16 empty] | 425.12 | 30.48 | 0.23 | 0.05
5 | 2019-06-01 | 2019-06-30 23:30 | KARAWAL NAGAR | KARAWAL NAGAR | 1251 | KWL329 | 1S-DL-YP-ETC-DKWL-2451-KWL329 | ROSHAN VIHAR GALI NO. 5:ID | TG-KWL329A-1 | 19506282 | 400 | 120 | 249 | 0.95 | 58 | 8 | 34 | 41 | 166 | 8 | 34 | 132 | 2019-06-12 | 24.1 | 3.6 | 169 | Y | 56 | 198 | 46 | 152 | 0.1 | 0.1 | 36.2 | 63.6 | 708.06 | 642.58 | 708.06 | 708.06 |  | 65.08 | 65.08 | [13 empty] | 708.06 | 11.54 | 0.55 | 0.14
6 | 2019-06-01 | 2019-06-30 23:30 | KARAWAL NAGAR | SONIA VIHAR | 1251 | HVD008 | 1S-DL-YP-ETC-DKWL-2451-HVD008 | D2 MAIN RD 3-1/2 PUSTA SONIA VIHAR:PM | TG-HVD008A-1 | 19504896 | 100 | 40 | 248 | 0.99 | 12 | 2 | 6 | 4 | 18 | 6 | 25 | 16 | 2019-06-06 18:00 | 0.6 | -1.4 | 29 | B | 38 | 109 | 153 | 115 |  |  | 4.2 | 95.8 | 709.04 | 709.04 | 707.34 | 709.04 | [16 empty] | 709.04 | 10.56 | 0.53 | 0.12
7 | 2019-06-01 | 2019-06-30 23:30 | KARAWAL NAGAR | SONIA VIHAR | 1251 | KWL089 | 1S-DL-YP-ETC-DKWL-2451-KWL089 | WAZIRA BAD RAW WATER ST LT :PM | TG-KWL089A-1 | 19504407 | 400 | 120 | 245 | 0.95 | 58 | 15 | 59 | 5 | 18 | 38 | 155 | 121 | 2019-06-12 19:00 | 23.5 | 0.3 | 155 | B | 78 | 36 | 186 | 150 |  | 0.1 | 52.6 | 47.4 | 720 | 720 | 505 | 720 | [16 empty] | 720 | 0 | 0.37 | 0.14
8 | 2019-06-01 | 2019-06-30 23:30 | KARAWAL NAGAR | SONIA VIHAR | 1251 | KWL090 | 1S-DL-YP-ETC-DKWL-2451-KWL090 | LAL FARM HOUSE SABHAPUR:PM | TG-KWL090A-1 | 19506390 | 400 | 120 | 244 | 0.96 | 93 | 12 | 50 | 66 | 265 | 15 | 59 | 211 | 2019-06-04 10:30 | 43.9 | 4.1 | 265 | Y | 94 | 119 | 87 | 32 |  | 0.1 | 17 | 82.9 | 528.02 | 533.44 | 549.02 | 549.02 | 21.3 | 15.18 | 15.18 | 0.3 |  | 0.3 | [10 empty] | 549.32 | 50.28 | 0.47 | 0.23
9 | 2019-06-01 | 2019-06-30 23:30 | KARAWAL NAGAR | SONIA VIHAR | 1251 | KWL250 | 1S-DL-YP-ETC-DKWL-2451-KWL250 | A BLOCK POCKET 6 SONIA VIHAR:PM | TG-KWL250A-1 | 19506041 | 400 | 120 | 246 | 0.95 | 61 | 24 | 95 | 21 | 82 | 17 | 69 | 23 | 2019-06-04 21:30 | 25.3 | 3.7 | 156 | Y | 103 | 137 | 60 | 77 | 46.9 | 0.1 | 24.3 | 28.6 | 691.24 | 690.05 | 691.24 | 691.24 |  | 1.19 | 1.19 | [13 empty] | 691.24 | 28.36 | 0.54 | 0.15
10 | 2019-06-01 | 2019-06-30 23:30 | KARAWAL NAGAR | SONIA VIHAR | 1251 | KWL301 | 1S-DL-YP-ETC-DKWL-2451-KWL301 | BADARPUR KHADAR VILLAGE:O/D | TG-KWL301A-1 | 19506509 | 400 | 120 | 240 | 0.95 | 132 | 64 | 269 | 33 | 139 | 35 | 147 | 126 | 2019-06-09 02:00 | 48.4 | 7 | 269 | R | 149 | 71 | 81 | 78 |  | 0.2 | 45.2 | 54.6 | 274.39 | 688.45 | 676.22 | 673.28 | 408.49 | 0.3 | 0.3 | 15.47 | 5.47 | [11 empty] | 689.15 | 30.45 | 0.47 | 0.33
11 | 2019-06-01 | 2019-06-30 23:30 | KARAWAL NAGAR | SONIA VIHAR | 1251 | KWL327 | 1S-DL-YP-ETC-DKWL-2451-KWL327 | PWD TR. MAIN WAZIRABAD RD (STLT):PM | TG-KWL327A-1 | 19506392 | 100 | 40 | 248 | 0.98 | 15 | 5 | 19 | 5 | 21 | 5 | 19 | 2 | 2019-06-08 04:00 | 4.1 | -0.8 | 23 | Y | 98 | 101 | 101 | 3 |  |  | 4.7 | 95.3 | 698.4 | 698.4 | 698.4 | 698.4 | [16 empty] | 698.4 | 21.2 | 0.56 | 0.15
12 | 2019-06-01 | 2019-06-30 23:30 | KARAWAL NAGAR | SONIA VIHAR | 1251 | KWL345 | 1S-DL-YP-ETC-DKWL-2451-KWL345 | DJB,W-I Rainywell near Yamuna Raw WTP | TG-KWL345A-1 | 19506029 | 400 | 120 | 248 | 0.98 | 125 | 40 | 161 | 42 | 166 | 43 | 171 | 9 | 2019-06-24 17:00 | 38.9 | -0.4 | 174 | B | 100 | 59 | 141 | 82 |  | 0.1 | 21.1 | 78.9 | 701.3 | 701.3 | 701.3 | 701.3 | 1.3 | 1.3 | 1.3 | 1.3 | [12 empty] | 703 | 17 | 0.03 | 0.31