## Complete Report
MIS Report of Distribution Transformer - Jun19
Jun19 1251 KARAWAL NAGAR (Complete Report)
Sn. | Study Period |  | Division Name | Zone | Div Code | Sap Code | Sap Function Code | DT Name | DT Code | Meter Serial No. | KVA Rating | MF | VOLTAGE | POWER FACTOR | Peak Loading Conditions | [8 empty] | Reactive Demand (KVAR) |  | Highest Phase Current |  | % Relative Phase Unbalance |  |  | %Unbalance | % Voltage Unbalance (%Time of total study period) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) |  |  |  | Loading Condition ( in HH:MI) | [5 empty] | LF | UF
[15 empty] | Peak KVA | R Phase |  | Y Phase |  | B Phase |  | Neutral Current (AMP) | Date and Time
[16 empty] | KVA | I (AMP) | KVA | I (AMP) | KVA | I (AMP) |  |  | MAX | MIN | Current(AMP) | Phase | R-Ph | Y-Ph | B-Ph | {I(Max)-I(Min)} / I(Average) | >3% | <=3% and >2% | <=2% and >1% | <=1% | < 20% |  |  |  | 20%-40% |  |  |  | 40%-80% |  |  |  | 80%-100% |  |  |  | >100% |  |  |  | ON ( in HH:MI) | OFF ( in HH:MI)
[36 empty] | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer | R-Ph | Y-Ph | B-Ph | Total Transformer
1 | 2019-06-01 | 2019-06-30 23:30 | KARAWAL NAGAR | GOKUL PURI | 1251 | KWL103 | 1S-DL-YP-ETC-DKWL-2451-KWL103 | MAJOR MALHOTRA FARM HOUSE:PM | TG-KWL103A-1 | 19506634 | 100 | 40 | 250 | 0.84 | 85 | 11 | 44 | 30 | 122 | 44 | 182 | 120 | 2019-06-28 12:00 | 10 | -36.1 | 207 | B | 70 | 103 | 126 | 56 | 3.2 | 14.6 | 50.9 | 31.3 | 1.3 |  |  |  | 539.06 | 270.16 | 270.16 | 233.19 | 162.53 | 364.43 | 471.44 | 464.4 |  | 65 | 110.57 | 5.3 |  | 3.3 | 55 |  | 703.29 | 16.31 | 0.6 | 0.85
2 | 2019-06-01 | 2019-06-30 23:30 | KARAWAL NAGAR | GOKUL PURI | 1251 | KWL241 | 1S-DL-YP-ETC-DKWL-2451-KWL241 | JOHRI PUR TUNDA NAGAR:PL | TG-KWL241A-1 | 19504974 | 400 | 120 | 235 | 0.76 | 36 | 9 | 39 | 6 | 26 | 21 | 91 | 60 | 2019-06-08 12:00 | 13 | -12.4 | 91 | B | 119 | 48 | 132 | 84 |  |  | 16.9 | 83.1 | 713.37 | 713.37 | 713.37 | 713.37 | [16 empty] | 713.37 | 6.23 | 0.17 | 0.09
3 | 2019-06-01 | 2019-06-30 23:30 | KARAWAL NAGAR | GOKUL PURI | 1251 | KWL245 | 1S-DL-YP-ETC-DKWL-2451-KWL245 | CHAMAN PARK:PM | TG-KWL245A-1 | 19506572 | 100 | 40 | 242 | 0.83 | 49 | 2 | 8 | 24 | 99 | 23 | 99 | 91 | 2019-06-28 21:00 | 27.1 | -0.4 | 99 | Y | 114 | 101 | 85 | 29 | 0.9 | 6.3 | 78.2 | 14.7 | 553.28 | 568.46 | 629.04 | 596.55 | 126.09 | 119.4 | 119.4 | 93.31 | 11.49 | 3 | 1.3 | 1 | [8 empty] | 691.26 | 28.34 | 0.19 | 0.49
4 | 2019-06-01 | 2019-06-30 23:30 | KARAWAL NAGAR | SONIA VIHAR | 1251 | KWL124 | 1S-DL-YP-ETC-DKWL-2451-KWL124 | JELE SINGH KOTHI TUKMEERPUR VILLAGE:PM | TG-KWL124A-1 | 19506720 | 400 | 120 | 248 | 0.84 | 350 | 108 | 466 | 126 | 548 | 116 | 500 | 71 | 2019-06-26 12:00 | 185.5 | -159 | 548 | Y | 102 | 100 | 97 | 5 |  | 0.1 | 12.8 | 87.1 |  |  |  |  | 305.51 | 336.06 | 336.06 | 329.36 | 387.57 | 354.12 | 335.15 | 363.12 | 1 | 4.3 | 1.3 | 2 |  |  |  |  | 694.48 | 25.12 | 0.48 | 0.88